## Instructions
Unsewered Area Needs
Documentation Form
Clean Water Revolving Fund Project Priority List
Doc Type: Priority Points/Admin. Checklist
Project Information
Project name: |  | MPCA Engineer:
Contact name: |  | Contact phone number:
Form completed by: |  | MN SSTS license number:
Date:
Instructions
The Unsewered Area Needs Documentation form is designed to document wastewater needs for project applicants requesting Clean Water Revolving Fund financial assistance for wastewater collection and treatment facilities improvements in unsewered areas of Minnesota. It is part of a process to encourage project applicants to evaluate all wastewater collection and treatment alternatives that are prudent and feasible. This form should be submitted with the applicant’s request for placement on the Project Priority List per Minn. R. 7077.0115, subp. 3.
The Minnesota Pollution Control Agency (MPCA) defines wastewater treatment need in unsewered areas as the inability of subsurface sewage treatment systems (SSTS) to meet the compliance criteria in Minn. R. 7080.1500 or the required setbacks from water supply infrastructure, buildings, property lines, and the high water level of nearby public waters.
The Unsewered Area Needs Documentation form must be completed by a Certified Inspector (Minn. R. 7083.0750). Preliminary site investigations in accordance with Minn. R. 7080.1710 are not required in order to complete a planning evaluation to determine needs. Compliance inspections in accordance with Minn. R. 7082.0700, subp. 2 is an acceptable method, but not required. A physical site investigation may not be necessary at SSTS locations. Reasonable documentation of each system’s condition must be provided. In addition to this form, applicants must provide a scaled map identifying each SSTS site location in the project service area.
Section A (System condition per Minn. R. 7080 and 7082)
The following options are available in the drop down menu. Select the appropriate option based on the description below.
ITPHS-Imminent threat to public health or safety (Minn. R. 7080.1500, subp. 4A).
Failure to protect GW-Cesspools, seepage pits and/or systems lacking three (3) feet of vertical separation from seasonal high groundwater or bedrock (Minn. R. 7080.1500, subp. 4B). Type V systems defined in Minn. R. 7080.2400 that fail consistently.
Setback issues-Properties that cannot conform to setback requirements from water supply wells or piping, buildings, property lines, or high water level of public waters. (Minn. R. 7080.2150, subp. 2F)
Conforming system-SSTS system is in conformance.
Section B (Methods of determining project need)
The following options are available in the drop down menu. Select the primary method of determination based on the description below.
Visual site inspection-A visual site inspection to document obvious threats to public health and safety, such as residential connections to a drain tile, overflow pipes, cesspools, or other unacceptable discharge locations.
Soil survey data review-A review of existing soil survey data to reasonably conclude if appropriate wastewater treatment technologies are being used on site. For example, seasonal high groundwater conditions may dictate the need for a mound system. If there are no mounds, the systems are considered to be failing.
Site investigation with soil borings-A site investigation including enough soil borings to create a soils map of the area. Complete an evaluation of the soil conditions to determine compatibility with existing wastewater treatment systems. For example, the soils map may dictate the need for a mound system. If there are no mounds, the systems are considered to be failing.
Review of government records-A review of local government records of the systems. If none exist, the system is unlikely to be in compliance. Existing records should be verified for accuracy.
Review of plat maps-A review of plat maps and other records to determine if any code setbacks, such as distance between SSTS and potable water wells or surface water, cannot be met based on lot size. Systems on lots with inadequate size for setbacks should be considered noncompliant.
Compliance inspection per Minn. R. 7082.0700, subp. 2-A compliance inspection per Minn. R. 7082.0700, subp. 2 is completed.
Other-Please explain method in separate submittal.

## Form
Unsewered Area Needs Documentation Form
Clean Water Revolving Fund Project Priority List
Doc Type: Priority Points/Admin. Checklist
Site Location (address, plat number, unique numbering system, or owner name) | Existing System Condition (see Section A on page 1) | Documentation of Need and Method of Determination (see Section B on page 1) | Is one or more of the non-conforming SSTS discharging within 500 feet of an impaired water or ORVW? | Residential or Non-Residential Property | Total | ITPHS | GW | Setback | Conform |  |  |  |  | RES | NON
count
[5 empty] | 0 | 0 | 0 | 0 | 0 | ITPHS | Visual site inspection | Yes | Residential | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[5 empty] | 0 | 0 | 0 | 0 | 0 | Failure to protect GW | Soil survey data review | No | Non-Residential | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[5 empty] | 0 | 0 | 0 | 0 | 0 | Setback issues | Site investigation with soil borings |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[5 empty] | 0 | 0 | 0 | 0 | 0 | Conforming system | Review of government records |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[5 empty] | 0 | 0 | 0 | 0 | 0 |  | Review of plat maps |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[5 empty] | 0 | 0 | 0 | 0 | 0 |  | Compliance inspection per Minn. R. 7082.0700, subp. 2 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[5 empty] | 0 | 0 | 0 | 0 | 0 |  | Other |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[5 empty] | 0 | 0 | 0 | 0 | 0 |  |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[5 empty] | 0 | 0 | 0 | 0 | 0 |  |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[5 empty] | 0 | 0 | 0 | 0 | 0 |  |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[5 empty] | 0 | 0 | 0 | 0 | 0 |  |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[5 empty] | 0 | 0 | 0 | 0 | 0 |  |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[5 empty] | 0 | 0 | 0 | 0 | 0 |  |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[5 empty] | 0 | 0 | 0 | 0 | 0 |  |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[5 empty] | 0 | 0 | 0 | 0 | 0 |  |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[5 empty] | 0 | 0 | 0 | 0 | 0 |  |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[5 empty] | 0 | 0 | 0 | 0 | 0 |  |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[5 empty] | 0 | 0 | 0 | 0 | 0 |  |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[5 empty] | 0 | 0 | 0 | 0 | 0 |  |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[5 empty] | 0 | 0 | 0 | 0 | 0 |  |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[5 empty] | 0 | 0 | 0 | 0 | 0 |  |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[5 empty] | 0 | 0 | 0 | 0 | 0 |  |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[5 empty] | 0 | 0 | 0 | 0 | 0 |  |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[5 empty] | 0 | 0 | 0 | 0 | 0 |  |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[5 empty] | 0 | 0 | 0 | 0 | 0 |  |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[5 empty] | 0 | 0 | 0 | 0 | 0 |  |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[5 empty] | 0 | 0 | 0 | 0 | 0 |  |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[5 empty] | 0 | 0 | 0 | 0 | 0 |  |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[5 empty] | 0 | 0 | 0 | 0 | 0 |  |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[5 empty] | 0 | 0 | 0 | 0 | 0 |  |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[5 empty] | 0 | 0 | 0 | 0 | 0 |  |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[5 empty] | 0 | 0 | 0 | 0 | 0 |  |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[5 empty] | 0 | 0 | 0 | 0 | 0 |  |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[5 empty] | 0 | 0 | 0 | 0 | 0 |  |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[5 empty] | 0 | 0 | 0 | 0 | 0 |  |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[5 empty] | 0 | 0 | 0 | 0 | 0 |  |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[5 empty] | 0 | 0 | 0 | 0 | 0 |  |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[5 empty] | 0 | 0 | 0 | 0 | 0 |  |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[5 empty] | 0 | 0 | 0 | 0 | 0 |  |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[5 empty] | 0 | 0 | 0 | 0 | 0 |  |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[5 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Residential Systems | Non Residential Systems | All Systems
ITPHS | 0 | 0 | 0
Failure to protect GW | 0 | 0 | 0
Setback issues | 0 | 0 | 0
Conforming systems | 0 | 0 | 0
TOTAL | 0 | 0 | 0
Page Number:
Of Total Pages:
Note on B58: Enter sheet number here.
Note on B59: Enter total number of pages here.