|  | UST alternative fuel compatibility form Underground Storage Tanks (UST) Program Doc Type: Application Review |
| --- | --- |

Instructions:  This form is to be completed and submitted to the Minnesota Pollution Control Agency (MPCA) to verify tank system components are compatible with the alternative fuels stored. This form must be completed if tank systems use blends of fuels greater than 10 percent ethanol or 20 percent biodiesel. The tank, pipe, and dispenser information should be completed by someone knowledgeable of the tank system in question. Note: Tanks with interior lining will not be approved for alternative fuel storage.

Submittal:  To submit this form, complete and save the form to your computer then attach the form to an email message, using “Alternative fuel form” as the subject line to undergroundtanks.pca@state.mn.us.

| ## Site information |  |  |  |  |  |  |  |  |  |  |  |  |  |  | Owner information |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Site ID#: |  |  |  |  |  |  |  |  |  |  |  |  |  |  | Name: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Facility name: |  |  |  |  |  |  |  |  |  |  |  |  |  |  | Company name: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Address: |  |  |  |  |  |  |  |  |  |  |  |  |  |  | Address: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| City: |  |  |  |  |  |  |  |  |  |  | Zip code: |  |  |  | City: |  |  |  |  |  |  |  |  |  |  | Zip code: |  |  |  |
| County: |  |  |  |  |  |  |  |  |  |  |  |  |  |  | Phone: |  |  |  |  |  |  |  |  |  | Fax: |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | Email: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| ## Contractor information |  |  |  |  |  |  |  |  |  |  |  |  |  | ## Tank information |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Contractor name: |  |  |  |  |  |  |  |  |  |  |  |  |  | Size (gal.) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Address: |  |  |  |  |  |  |  |  |  |  |  |  |  | Manufacturer: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| City: |  |  |  |  |  |  |  |  |  |  |  |  |  | Model/Brand: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| State: |  |  |  |  |  |  |  |  |  | Zip code: |  |  |  | Tank material: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Phone: |  |  |  |  |  |  |  |  |  |  |  |  |  | Tank single /double wall: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  | Installation date (mm/dd/yyyy): |  |  |  |  |  |  |  |  |  |  |  |  |  |  |

## Tank leak detection method

Automatic tank gauge	 Interstitial monitoring	 Inventory control

Manual tank gauging	 Statistical inventory control

| Ethanol percentage: | % | Biodiesel percentage: | % |  |
| --- | --- | --- | --- | --- |

Identify the Manufacturer, Model/Brand, and whether the piece of equipment is Underwriters Laboratories (UL) listed or Manufacturer approved for storing alternative fuel.

|  |  |  | UL/Manufacturer approved? |  |  |
| --- | --- | --- | --- | --- | --- |
| Tank | Manufacturer | Model/Brand | UL (Y/N) | UL number | Man. (Y/N) |
| Spill bucket |  |  | Yes No |  | Yes No |
| Overfill |  |  | Yes No |  | Yes No |
| Drop tube |  |  | Yes No |  | Yes No |
| Submersible pump/ Suction pump |  |  | Yes No |  | Yes No |
| Leak detection probe |  |  | Yes No |  | Yes No |
| Sump sensors |  |  | Yes No |  | Yes No |

| Piping |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Manufacturer: |  |  | Model/Brand: |  |  |  |
| Pipe material single/double wall: |  |  |  |  | Installation date (mm/dd/yyyy): |  |

|  |  |  | UL/Manufacturer approved? |  |  |
| --- | --- | --- | --- | --- | --- |
| Pipe construction material | Manufacturer | Model/Brand | UL (Y/N) | UL number | Man. (Y/N) |
| Pipe fittings/ Valve material |  |  | Yes No |  | Yes No |
| Gaskets/Seals |  |  | Yes No |  | Yes No |
| Pipe sealant/ Adhesive |  |  | Yes No |  | Yes No |
| Flex connector |  |  | Yes No |  | Yes No |
| Line leak detector |  |  | Yes No |  | Yes No |
| Flow restrictor |  |  | Yes No |  | Yes No |

|  |  |  | UL/Manufacturer approved? |  |  |
| --- | --- | --- | --- | --- | --- |
| Dispenser information | Manufacturer | Model/Brand | UL (Y/N) | UL number | Man. (Y/N) |
| Dispenser piping |  |  | Yes No |  | Yes No |
| Dispenser sump |  |  | Yes No |  | Yes No |
| Dispenser sump sensor |  |  | Yes No |  | Yes No |
| Gaskets/Seals |  |  | Yes No |  | Yes No |
| Blending valve |  |  | Yes No |  | Yes No |
| Check valve |  |  | Yes No |  | Yes No |
| Meter |  |  | Yes No |  | Yes No |
| Emergency/ Shear valve |  |  | Yes No |  | Yes No |
| Fuel filters |  |  | Yes No |  | Yes No |
| Break-away |  |  | Yes No |  | Yes No |
| Nozzle(s)/Swivel(s) |  |  | Yes No |  | Yes No |
| Hose(s) |  |  | Yes No |  | Yes No |

Comments (Maximum 750 characters approximately):

## Certification

I hereby certify that I have personally examined the tank system components and/or reviewed installation documentation, verifying the type of equipment installed.

I agree - By typing your names below, you certify the above statements to be true and correct, to the best of my knowledge, and that this information can be used for the purpose of processing this form.  Note: This needs to be checked before the form will submit.

| Name of owner or owner’s authorized representative: |  |  |  |  | Tank contractor: |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Name: |  |  |  |  | Name: |  |  |  |
|  |  | (This document has been electronically signed.) |  |  |  |  | (This document has been electronically signed.) |  |
| Title: |  |  |  |  | Title: |  |  |  |
| Date (mm/dd/yyyy): |  |  |  |  | Date (mm/dd/yyyy): |  |  |  |
|  |  |  |  |  | MPCA contractor #: |  |  |  |