FEEDLOT PERMIT APPLICATION CHECKLIST

wq-f3-01

NPDES        CONSTRUCTION        INTERIM

APPLICATION COMPLETE(C)/INCOMPLETE(I):	Application      Application Fee     Aerial Photo/Site Sketch      AEP     ERP      AMP      O&M      MMP    Public Notice ___ (date: _____________________________)              Public Meeting  (date: ______________________)      Plans & Specs      Soils Info      Inspection (date:__________)      Other__________________________________________________________________________________________________

Additional Review needed – forwarded to: ______________________________________________Date forwarded: _____________

Additional Review needed – forwarded to: ______________________________________________Date forwarded: _____________

Additional Review needed – forwarded to: ______________________________________________Date forwarded: _____________

---------------------------------------------------------------------------------------------------------------------------------------------------------------

APPLICATION  COMPLETE – ISSUE:	  NPDES/Gen	 CSF Permit	 INT Permit

Permit Number:______________________

===============================================================================================

FEEDLOT PERMIT APPLICATION CHECKLIST

Owner:  _______________________     Operator____________________________	Reviewed By:  _________	Date:  ________

Qtr:_______ Sec:  _____	 Twnshp:  _______________________________	 County:  ___________________________________

Animal Units on site:	Before: ___________ After:  ___________   Total Increase/Decrease: ____________________

Animal types & number________________________________________________________________________________________

OK      INCOMPLETE 	1.  Is the facility registered?  (Registration Number: ______________________ )

OK      INCOMPLETE	2.  Did the applicant sign the application?

N/A     YES 	 	3.  If the site is owned by a Limited Liability Partnership (LLP)?

OK      INCOMPLETE		If Yes, are all partners listed?

N/A     YES 		4.  Is there an existing feedlot permit or certificate? # _________________

OK      INCOMPLETE		If so, were all conditions of the permit or certificate met?

OK      YES 		5.  Is there a complaint file? (YES indicates potential problems)

OK      INCOMPLETE		Comment:_______________________________________________________________

OK      YES 		6.  Problems due to soil type or high water table?

OK      INCOMPLETE		Comments:______________________________________________________________

NO     YES 		7.  Is the existing or proposed site within a sensitive area?

If YES, check all that apply:

Shoreland (No new sites allowed) (No new LMSA unless correcting a pollution hazard) (Expansion allowed up to 1000 AU)

Floodplain (No construction allowed unless it is correcting a pollution hazard)

State or federal wild or scenic river

MN River Project riverbend area

Mississippi River headwaters area

Drinking water supply management area (Requirements vary, see Feedlot Construction Setbacks from open water and wells)

1000’ from karst features (No new construction within 300’ of a sink hole)

OK      INCOMPLETE	7A.  Is the proposed project acceptable?

N/A     YES 		8.  Is site within 300’ of a sinkhole?

If YES, no new construction.

N/A      YES 		9.  Is the proposed structure within 100’ of a private well?

If YES, check all that apply:

New animal holding area (Minimum setback 100’)

New manure storage area (Minimum setback 100’ deep well, 200’ shallow well)

Expanded animal holding area (Minimum setback 50’ deep well, 100’ shallow well)

Expanded manure storage area (Minimum setback 100’ deep well, 200’ shallow well)

OK      INCOMPLETE	9A.  Is the proposed project meeting MDH well setbacks?

Well Type:	Deep Well	Shallow Well	Unkown

____________Minimum Distance from animal holding area to the well.

____________Minimum Distance from manure storage area to well.

Facility has rural water.

NA      YES 		10.  Is site within 1000’ of a community water supply well?

If YES, it must meet the one of the following:

___ DWSMA is defined as Vulnerable – Minimum 1000’ setback from well if site is in DWSMA boundary or 200’

setback from well if site is outside DWMA boundary

___ DWSMA is defined as Not Vulnerable – must meet well setbacks described in #9

___ DWSMA Not Delineated – Minimum setback of 1000’

OK      INCOMPLETE	10A.  Is the proposed project acceptable?

N/A      YES 		11.  Is site within 1000’ of any surface tile intakes?

If YES, what is the shortest distance? ________

OK      INCOMPLETE	11A.  Is the proposed project acceptable?

N/A      YES	 	12.  Are there any EXISTING and/or PROPOSED liquid manure storage areas?

NA     		 	13.  For PROPOSED liquid manure storage areas:   Earthen Liner	Poured Concrete		 				Composite Liner		Geosynthetic Liner	Slurrystore

Other _________________________________________________________

OK      INCOMPLETE 	Are plans and specs included?

Who is the Engineer? ______________________________________________________________________________

Complete appropriate checklist.

NA     		 	14.  For EXISTING liquid manure storage areas:   Earthen Liner	Poured Concrete		 				Composite Liner		Geosynthetic Liner	Slurrystore

Other _________________________________________________________

OK     NO 		 Is the structure(s) permitted?

Permit Number: ________________

OK      NO		Is the structure the same as it was permitted for without alterations?

If NO to either of the last two questions check all of the following that apply:

a. Plans are available for the structure(s) that were signed by an engineer.

b. There are plans to reconstruct the structure(s).	      When?___________

c. The structure(s) will be closed.	When?_______________

d. A soil investigation was done by an engineer or soil scientist.

Date of investigation? _________________________

OK      INCOMPLETE	14A. Does the Existing LMSA meet the minimum requirements of Ch. 7020?

N/A      YES 		15.    Are there any open lots on this site?

If YES, check all that apply:

a. There is an existing runoff control plan.

b. There is a proposed runoff control plan.

c. A zero rating has been achieved on the FLEval.

d. A FLEval needs to be run to determine runoff potential. (Application is Incomplete until FLEval is done)

e. The open lots are not a potential pollution hazard.

e. The facility has signed the open lot agreement.

OK      INCOMPLETE	15A.  Does the proposed project meet water quality discharge standards?

N/A     YES 		16.  Are there any stockpile sites either on the feedlot site or at a field site?

If YES, is the stockpile:	PERMANENT		SHORT  TERM

OK      INCOMPLETE	16A. Does the permanent stockpile have runoff controls in place?

N/A     YES 		17.  Does the facility have milk house waste?

NO      YES 		17A. Is it a potential pollution hazard?

OK      INCOMPLETE	17B. Are there plans proposed to correct problem?

N/A     YES 		18.  Does the facility have process wastewater runoff? (Non allowed for NPDES Sites)

NO      YES 		18A. Is it a potential pollution hazard?

OK      INCOMPLETE	18B. Are there plans proposed to correct problem?

OK     INCOMPLETE	19.  Other, specify:  ___________________________________________________

OK      INCOMPLETE 	20.  Was an aerial photo and site sketch submitted?

OK      INCOMPLETE 	21.  If the site is >300 a.u. & in a non-delegated county, did the county hold public meeting?

Meeting Date? _______________________

OK      INCOMPLETE 	21A.Have we received a copy of the minutes from the meeting?

Facility is located in a delegated county.

OK      INCOMPLETE	 22.  If site is greater than 500 AU capacity, have neighbors within 5000’ been notified?

What method was used to notify the public?     Publication in newspaper

Delivery by 1st class mail	  Delivery in person

County conditional use  	   County variance request	 30-day public notice for EAW

What was the date of the notification?  __________________________________

OK      INCOMPLETE 	22A. Have we received proper verification?

Facility has less than 500 AU capacity, no public notification required.

N/A     YES		23.  Is a mandatory EAW required?

OK      INCOMPLETE	23A. Has an EAW been prepared and received a negative declaration?

OK      INCOMPLETE 	24.  Does the Air Emissions Plan list all potential sources of odor?

OK      INCOMPLETE	24A. Is the Odor Management Plan Completed? (Pg. 2)

OK      INCOMPLETE 	25.  Is the Emergency Response Plan filled out completely?

OK      INCOMPLETE 	26.  Is the Animal Mortality Plan filled out completely?

What method is used?	Rendering	Composting	Incinerator	Burial

OK      INCOMPLETE 	27.  Is the Operations and Maintenance Plan complete?

N/A     YES		28.  Is a manure management plan required?

If YES, check all that apply:	 A plan has been submitted.                          A plan will be required by the Permit

It is Transferred Ownership of Manure.        See appropriate MMP Checklist.

OK      INCOMPLETE	28A.  Does the MMP meet minimum requirements of Ch. 7020?