|  |  |  |  |  |  |  |  |  | Air Performance Test Form Performance Test Frequency Plan Instructions |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| ## Upon receiving the performance test frequency plan, the Minnesota Pollution Control Agency will issue a review letter determining the performance test frequency of the unit. The performance-testing frequency becomes effective when the Minnesota Pollution Control Agency review letter is received by the facility. The new testing frequency will be incorporated into the facility’s permit in the next permit amendment. |  |  |  |  |  |  |  |  |  |
| ## The Performance Test Frequency Form, and other correspondence related to performance testing, may be addressed to: |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  | ## Minnesota Pollution Control Agency |  |
|  |  |  |  |  |  |  |  | ## Air Quality Compliance Tracking Coordinator |  |
|  |  |  |  |  |  |  |  | ## 520 Lafayette Road North |  |
|  |  |  |  |  |  |  |  | ## St Paul MN 55154-4194 |  |
| ## General Information for the Performance Test Frequency Plan |  |  |  |  |  |  |  |  |  |
| ## Part 1. |  |  | ## Facility Information |  |  |  |  |  |  |
|  | ## Please provide the following information for all performance test frequency plans: |  |  |  |  |  |  |  |  |
|  |  | ## A) |  | ## The company name |  |  |  |  |  |
|  |  |  |  |  | ## 1) | ## Please include Minnesota Pollution Control Agency-assigned Air Quality File number (AQ File No.: xxxx) |  |  |  |
|  |  |  |  |  |  |  | ## File numbers can be found at the following Web site: www.pca.state.mn.us/publications/air-aqfilenumbers.xls |  |  |
|  |  |  |  |  | ## 2) | ## Please include Minnesota Pollution Control Agency–assigned Air Quality Permit No. (xxxxxxx-xxx) |  |  |  |
|  |  |  |  |  | ## 3) | ## Complete address |  |  |  |
|  |  |  |  |  | ## 4) | ## Phone and fax numbers, e-mail address |  |  |  |
|  |  | ## B) |  | ## The name and address of the emission facility (if different from the company name and address) |  |  |  |  |  |
|  |  |  |  |  | ## 1) | ## Name and title of the contact person |  |  |  |
|  |  |  |  |  | ## 2) | ## Street address |  |  |  |
|  |  |  |  |  | ## 3) | ## Phone and fax numbers, e-mail address |  |  |  |
|  |  | ## C) |  | ## Contact information for the company |  |  |  |  |  |
|  |  |  |  |  | ## 1) | ## Name and title of the company contact |  |  |  |
|  |  |  |  |  | ## 2) | ## Complete address if different from the company |  |  |  |
|  |  |  |  |  | ## 3) | ## Phone and fax numbers, e-mail address |  |  |  |

Note:	Please consider the environment and avoid printing out the instructions to this form if at all possible. Thank you.

| ## Part 2. |  |  |  |  |  | ## Test Frequency Plan Guidance |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | ## A) |  |  | ## Testing frequency for emission units |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  | ## Please use the following equation to determine testing frequency |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  | ## Emission unit equation: |  |  |  |  | ## Test Result |  |  |  | ## x |  | ## 100 |  |  | ## = | ## Test result as percent of limit (%) |  |  |  |
|  |  |  |  |  |  |  |  |  |  | ## Limit |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  | ## When computations are completed, select one of the proposed testing frequencies listed in Part 2A on the form. If there is any additional information you would like to share about the testing, please use the comments lines at the end of Part 2A on the form. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | ## Please note: The emission unit shall be given in name and in EU number as found in the facility permit. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | ## B) |  |  |  | ## Testing frequency for control equipment |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | ## Please use the following equation to determine testing frequency |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | ## Control equipment equation: |  |  |  |  |  | ## 100 – Test result |  |  |  |  | ## x | ## 100 |  |  | ## = | ## Test result as percent of limit (%) |  |
|  |  |  |  |  |  |  |  |  |  |  |  | ## 100 - Limit |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | ## When computations are completed, select one of the proposed testing frequencies listed in Part 2B on the form. If there is any additional information you would like to share about the testing, please use the comments lines at the end of Part 2B on the form. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | ## Please note: The control equipment unit shall be given in name and in CE number as found in the facility permit. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | ## C) |  |  |  | ## Testing frequency table for Sections A & B |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | ## The table below contains the Minnesota Pollution Control Agency (MPCA) guidance for testing frequency. The MPCA reserves the right to deviate from the performance testing frequency guidance. Factors such as performance testing history and the enforcement history of the unit may impact the required testing frequency of a unit. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  | ## As general guidance, if: |  |  |  |  |  | ## Then: |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  | ## Test results  90 percent of limit |  |  |  |  |  | ## Performance test due every 12 months |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  | ## 60 percent ≤ of test results  90 percent of limit |  |  |  |  |  | ## Performance test due every 36 months |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  | ## Test results  60 percent of limit |  |  |  |  |  | ## Performance test due every 60 months |  |  |  |  |  |  |  |  |
|  | ## D) |  |  |  | ## Additional notes for Sections A & B |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  | 1) |  |  |  | Make sure the units (e.g. lb/hr) of the emission limit and the units of the test results match. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  | 2) |  |  |  | Choosing which limit or which equation to use when more than one limit applies: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  | Where compliance has been demonstrated with more than one limit for the same pollutant on a given unit, the testing frequency shall be determined using the test result and corresponding limit that results in the more stringent testing frequency. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  | 3) |  |  |  | Submitting a testing frequency plan for more than one pollutant on the same unit: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  | If you are required to submit a test frequency plan for more than one pollutant on one unit, you must submit an equation for each pollutant, even if the equations result in the same proposed testing frequency. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |

|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | Air Performance Test Form Performance Test Frequency Plan Form |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| ## Upon receiving the performance test frequency plan, the Minnesota Pollution Control Agency will issue a review letter determining the performance test frequency of the unit. The performance-testing frequency becomes effective when the Minnesota Pollution Control Agency review letter is received by the facility. The new testing frequency will be incorporated into the facility’s permit in the next permit amendment. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| ## The Performance Test Frequency Form, and other correspondence related to performance testing, may be addressed to: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | ## Minnesota Pollution Control Agency |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | ## Air Quality Compliance Tracking Coordinator |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | ## 520 Lafayette Road North |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | ## St Paul, MN 55154-4194 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Part 1. |  |  |  |  |  |  |  |  | General Information |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| A) |  |  |  | Facility information |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| ## Facility name: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | ## AQ #: |  |  |  |  |  |  |  |  |  |  |
| ## Address: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | ## Permit #: |  |  |  |  |  |  |  |  |  |  |
| ## City: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | ## State: |  |  |  |  |  |  |  |  | ## Zip code: |  |
| ## Phone: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | ## Fax: |  |  |  |  |  |  |  |  |  |  |
| ## E-mail address: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| ## Business Name (if different): |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | ## Phone: |  |  |  |  |  |  |  |  |  |  |
| Address: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | ## Fax: |  |  |  |  |  |  |  |  |  |  |
| ## City: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | ## State: |  |  |  |  |  |  |  |  | ## Zip code: |  |
| ## E-mail address: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| B) |  |  |  | Facility contact information |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Name: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | Title: |  |  |  |  |  |  |  |  |  |  |
| Phone: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | Fax: |  |  |  |  |  |  |  |  |  |  |
| Email address: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Signature: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | Date: |  |  |  |  |  |  |  |  |  |  |
| Summary of Directions |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | 1) |  |  |  | For performance testing frequency of an emission unit (EU), use 2(A). Example: Boiler 1 (EU001) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | 2) |  |  |  | For performance testing frequency of a control equipment (CE) item, use 2(B). Example RTO#2 (CE002) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | 3) |  |  |  | Please clearly fill in the equations including the calculated result. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | a) |  |  |  |  |  | Make sure units (e.g. lb/hr) of the emission limit and the units of the results from the performance test match. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | b) |  |  |  |  |  | If compliance has been demonstrated with more than one limit for a given unit and pollutant, choose the testing frequency that results in the more stringent testing frequency. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | c) |  |  |  |  |  | If a test frequency plan for more than one pollutant for a given unit is required, please complete an equation for each result for each pollutant. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |

## Note:  The MPCA reserves the right to deviate from the performance test frequency guidance.

| ## Part 2. |  | ## Proposed Performance Testing Frequency |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
|  | ## A) | ## Testing frequency for an emission unit |  |  |  |  |
|  | ## Emission unit (EU) |  | ## Test date | ## Pollutant tested | ## Applicable limit | ## Test result |

|  |  | ## EU testing frequency equation |  |  |  |  |  |  |  |  | ## Calculation |  |  |  |  |  |  | ## Results |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | ## Testing result |  |  | ## x 100 = |  |  | ## Test result as percent of limit (%) |  |  |  |  |  |  | ## x 100 = | ## % |  | ## % |  |
|  |  | ## Limit |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Proposed Testing Frequency |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  | ## Performance test due every 12 months |  |  |  |  | ## Test results  90 percent of limit |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  | ## Performance test due every 36 months |  |  |  |  | ## 60 percent ≤ of test results  90 percent of limit |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  | ## Performance test due every 60 months |  |  |  |  | ## Test results  60 percent of limit |  |  |  |  |  |  |  |
|  |  |  | ## Comments: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | ## B) |  |  | ## Testing Frequency for control equipment |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | ## Control equipment (CE) |  |  |  |  |  |  |  | ## Test date | ## Pollutant Tested |  |  |  | ## Applicable limit |  |  |  | ## Test result |  |

|  | ## CE testing frequency equation |  |  |  |  |  |  |  |  | ## Calculation |  |  |  |  |  | ## Results |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | ## 100 – Test Result |  |  | ## x |  | ## 100 | ## = | ## Test result as percent of limit (%) |  |  |  | ## x 100 = | ## % |  |  | ## % |  |  |
|  | ## 100 - Limit |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| ## Proposed testing frequency |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | ## Performance test due every 12 months |  |  |  | ## Test results  90 percent of limit |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | ## Performance test due every 36 months |  |  |  | ## 60 percent ≤ of test results  90 percent of limit |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | ## Performance test due every 60 months |  |  |  | ## Test results  60 percent of limit |  |  |  |  |  |  |  |  |  |
|  |  | ## Comments: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |

## The MPCA reserves the right to deviate from the performance test frequency guidance.

For additional testing frequencies, you may fill out additional “Part 2: Proposed Performance Test Frequency” forms (pg 2 of this form).

Additional information, including performance testing forms, may be found at: http://www.pca.state.mn.us/air/performancetest.html.