|  | Industrial Land Discharge of Process Wastewater Application SDS Permit Program Doc Type: Permit Application |
| --- | --- |

## The State Disposal System (SDS) Permit Program regulates wastewater discharges to land. This application applies to industrial facilities that treat process wastewater for disposal by land application. Any other discharge types will require a different permit application.

## Complete the application by typing or printing in black ink. Attach additional sheets as necessary. For more information, please contact the Minnesota Pollution Control Agency (MPCA) at:  In Metro Area: 651-296-6300 or Outside Metro Area: 800-657-3864.

| Permittee name: |  | Permit number: | MN |
| --- | --- | --- | --- |

## Facility Information

| 1. | Principal facility activity: |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 2. | Product(s) produced: |  |  |  |  |  |  |
| 3. | Amount of product produced per Unit Time (such as tons/year, kilograms/day)*. |  |  |  |  |  |  |
|  | Average: |  |  |  |  | Maximum: |  |
| 4. | Raw material(s) consumed: |  |  |  |  |  |  |
| 5. | Amount of product consumed per Unit Time (such as tons/year, kilograms/day)*. |  |  |  |  |  |  |
|  | Average: |  |  |  |  | Maximum: |  |
|  | *Provide both daily maximum and long-term monthly average expected during the five-year permit term. If an effluent limitation guideline applies and is expressed in terms of production (or other measure of operation) please report the expected actual production rates in the units used in the applicable effluent guideline. Consumptive use and/or production rates should be in sufficient detail so as to aid in the development of technology-based effluent limitations. For new discharges, actual production shall be estimated using projected production. |  |  |  |  |  |  |
| 6. | Standard Industrial Classification (SIC) Code Number (list all that apply): |  |  |  |  |  |  |
| 7. | If established, please indicate what you believe to be the applicable federal effluent limitation guideline(s) for your waste stream(s): 40CFR |  |  |  |  |  |  |
| 8. | What date did the facility initiate operation? |  |  |  |  |  |  |

## Water Supply

| 9. | What is the source of the intake water supply for the facility? |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  |  |  |  |  | Rate of supply (gallons/day) |
| Municipal water supply, city name: |  |  |  |  |  |
| Ground water, intake location: |  |  |  |  |  |
| Surface water, name: |  |  |  |  |  |
| 10. | If this is a surface or ground water intake, please provide the Minnesota Department of Natural Resources (DNR) Water Appropriation Permit Number: |  |  |  |  |
| 11. | Is the intake water supply chlorinated or otherwise disinfected? Yes No |  |  |  |  |
| 12. | Is the intake water supply treated with a scale and/or corrosion inhibitor? Yes No |  |  |  |  |

## Wastewater Treatment

| 13. | How does the facility dispose of sewage (sanitary wastewater)? |
| --- | --- |

| 14. | Does the facility generate process wastewater? Yes No |  |  |
| --- | --- | --- | --- |
|  | If yes, the process wastewater from the facility is disposed of to: (check all that apply) |  |  |
| Municipal storm sewer |  | Land |  |
| Sanitary sewer |  | Surface water: |  |
| Stormwater retention basin or pond |  | Other (specify): |  |
| Septic tank/drainfield |  |  |  |
| 15. | Provide a complete description of the existing or proposed wastewater treatment system, including the land treatment system. For existing facilities, indicate what changes, if any, have occurred since the last permit was issued. |  |  |
| 16. | What products, by-products, and wastes are stored at the facility? Describe all storage facilities. |  |  |
| 17. | Completely describe the type, amount, and fate of all residual solids, sludge, silage, and by-products generated from plant operations and/or wastewater treatment. |  |  |
| 18. | Provide the flow of wastewater to be land applied. (If this is an existing facility use flow data from the last 5 years) |  |  |

| Flow (gallons) | Average | Maximum | Design |
| --- | --- | --- | --- |
| Daily |  |  |  |
| Monthly |  |  |  |
| Annually |  |  |  |

| 19. | Provide the number of days of storage at peak production rate: |  |
| --- | --- | --- |
| 20. | Complete the table below for each land discharge site. Attach a map with the location of each site. |  |

| Existing/ Proposed | Site name/ID (LA-001,etc.) | Legal description (Township/Range/Section/Quarter) | County | Acreage used | Leased/ Owned | If leased, owners name and mailing address |
| --- | --- | --- | --- | --- | --- | --- |

| 21. | For each site, indicate the crop type and how the crop is managed (include crop yields, crop rotations over the past five years and timing of each harvest). |
| --- | --- |

| Site name/ID (LA-001, etc.) | Crop type | Crop management |
| --- | --- | --- |

| 22. | For each site, indicate the application system (number and size of pumps, center pivot, stationary solid set, hand move solid set, wheel roll, traveling gun, ridge and furrow, other; length and size of force-main; length and size of irrigation pipe). |
| --- | --- |

| Site name/ID (LA-001, etc.) | Application system |
| --- | --- |

| 23. | For each site, indicate the runoff protection measures (dike, collection basin, respraying equipment, other). Attach a map indicating the location and specifications of all runoff protection measures. |
| --- | --- |

| Site name/ID (LA-001, etc.) | Runoff protection measures |
| --- | --- |

| 24. | For each site, indicate all soil types encountered and information on the slope, depth to groundwater or bedrock and any other information. Attach a soil map and soil boring logs. |
| --- | --- |

| Site name/ID (LA-001, etc.) | Soil types | Soil information |
| --- | --- | --- |

| 25. | Are any draintiles present on any of the sites? Yes No |  |  |
| --- | --- | --- | --- |
|  | a. | If yes, provide the minimum depth of tiled area: |  |
|  | b. | Provide a map of the locations of existing tiles, tile inlets, tile discharge points, monitoring locations for sampling the tile line discharges, and any monitoring devices present in the tile system. |  |

## Groundwater Monitoring

| 26. | Are any groundwater monitoring wells or lysimeters present at the facility? Yes No |
| --- | --- |
|  | If yes, complete the following table. Attach a map identifying well locations. |

| Local name/MPCA identifying number | Unique well number | Well location | Upgradient or downgradient | Depth of water table |
| --- | --- | --- | --- | --- |

| 27. | Have there been limit exceedances in any of the monitoring wells? Yes No |  |  |  |
| --- | --- | --- | --- | --- |
|  | a. | If yes, describe: |  |  |
|  | b. | Is there a plan to address the exceedances? |  |  |

## Chemical Additives

| 28. | List below all chemical additives that are used or proposed to be used at the facility. This includes the process reagents, flocculants, descalants, corrosion inhibitors, biocides, wastewater treatment chemical additives, chlorine or other disinfectants, detergents, cleaning products, chemical dust suppressants, freeze conditioning agents, etc. |
| --- | --- |

| Product Name | Location of chemical addition | Frequency of addition | Average rate of use (weight or volume per year) |
| --- | --- | --- | --- |

Attach the Material Safety Data Sheets, complete product labels and any other information on chemical composition, aquatic toxicity, human health, and environmental fate for each chemical additive.

An Additional Chemical Additives Attachment is available on the Minnesota Pollution Control Agency (MPCA) Web site at http://www.pca.state.mn.us/water/permits/index.html if more space is needed.

## Water Quality Sample Results

| 29. | Attach a list of all pollutants known or reasonably believed to be present at each facility discharge point and provide sample results for those pollutants. Pollutants may include, but are not limited to, total suspended solids, biochemical oxygen demand, pH, fecal coliform, temperature (heat), nutrients (phosphorus, ammonia, nitrate, nitrite), metals, salts, cyanide, residual chlorine, fluoride, oil and grease, polychlorinated biphenyls, phenols, polynuclear aromatic hydrocarbons, volatile organic compounds, pesticides and/or radioactivity. Clearly indicate the date, location where sample was taken, types of wastewater sampled, and method(s) of sampling (e.g. grab, composite) for each sample. At a minimum, sample results must be provided for total suspended solids (TSS), biochemical oxygen demand (BOD), fecal coliform (if believed present or sanitary wastes will be discharged), pH, and total phosphorus, irrespective of what might be required by an existing permit. If this is an application for reissuance of an existing permit, review your existing NPDES/SDS permit to see if it has special testing requirements as part of the application for reissuance process. |
| --- | --- |
| 30. | Certified laboratory analyzing samples: |

| Laboratory | Sample type (water or soil) | Minnesota Department of Health certification number |
| --- | --- | --- |

## Stormwater

| 31. | Is the facility covered by an MPCA stormwater NPDES permit? Yes No |  |  |  |
| --- | --- | --- | --- | --- |
|  | If yes, indicate the permit number (if stormwater discharges are authorized under the stormwater general permit give unique identifying number rather than general permit number): |  |  |  |
| 32. | Does stormwater contact any raw or processed materials, finished products, industrial waste, byproducts, or any other type of materials at the facility? Yes No |  |  |  |
|  | If yes, describe these materials: |  |  |  |
| 33. | Is any vehicle maintenance, transportation equipment cleaning, or airport deicing conducted at the facility? Yes No |  |  |  |
| 34. | Indicate where stormwater from the facility discharges to: |  |  |  |
| 35. | Summarize any treatment or best management practices that are used to regulate stormwater discharges at the facility: |  |  |  |

## Attachments

Pond Attachment: If your facility has a pond treatment component (i.e., primary, secondary, aerated, polishing, cooling, etc.), complete the Pond Attachment.

Review the application and ensure all requested items are submitted with this application.

Please make a copy for your records.

Refer to the Transmittal Form for mailing instructions.