# Phosphorus Management Plan

| Facility name: | Date: |
| --- | --- |
| Preparer: | Telephone: |

## Step 1: Facility Description and Flow Schematic

1.	 Facility description from NPDES permit or engineering design documents.

2.	 Flow schematic from engineering design documents or sketch (include or attach).

3.	 Design data from NPDES permit or engineering design documents.

- Average wet weather flow or average annual flow.

- BOD design capacity.

- TSS design capacity.

## Step 2: 	WWTF's Influent and Effluent Phosphorus Concentrations

Used the Excel spreadsheet for Tables 1A or 1B to record data.

Table 1A: Mechanical System

WWTF Calendar Month Average Influent and Effluent Data for Years       and

|  | Year: |  |  |  |  |  | Year: |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | Influent |  |  | Effluent |  |  | Influent |  |  | Effluent |  |  |
|  | Flow (MGD) | Conc. (mg/L) | Mass (kg/day) | Flow (MGD) | Conc. (mg/L) | Mass (kg/day) | Flow (MGD) | Conc. (mg/L) | Mass (kg/day) | Flow (MGD) | Conc. (mg/L) | Mass (kg/day) |
| Jan |  |  |  |  |  |  |  |  |  |  |  |  |
| Feb |  |  |  |  |  |  |  |  |  |  |  |  |
| Mar |  |  |  |  |  |  |  |  |  |  |  |  |
| Apr |  |  |  |  |  |  |  |  |  |  |  |  |
| May |  |  |  |  |  |  |  |  |  |  |  |  |
| Jun |  |  |  |  |  |  |  |  |  |  |  |  |
| Jul |  |  |  |  |  |  |  |  |  |  |  |  |
| Aug |  |  |  |  |  |  |  |  |  |  |  |  |
| Sep |  |  |  |  |  |  |  |  |  |  |  |  |
| Oct |  |  |  |  |  |  |  |  |  |  |  |  |
| Nov |  |  |  |  |  |  |  |  |  |  |  |  |
| Dec |  |  |  |  |  |  |  |  |  |  |  |  |
| Annual average |  |  |  |  |  |  |  |  |  |  |  |  |

| Summary Data |  | Formula |
| --- | --- | --- |
| Annual influent flow | MG/year | Annual average influent flow (MGD) x 365 |
| Annual effluent flow | MG/year | Annual average effluent flow (MGD) x 365 (if available) |
| Annual influent phosphorus load | kg/year | Annual influent flow (MG) x Annual average influent phosphorus concentration (mg/L) x 3.785 |
| Annual effluent phosphorus load | kg/year | Annual effluent flow (MG) x Annual average effluent phosphorus concentration (mg/L) x 3.785 |
| Phosphorus percent removal | % | [Annual average concentration (mg/L) - Annual average effluent concentration (mg/L)] / Annual average influent concentration (mg/L) x 100 |

Table 1B: Pond System

WWTF Calendar Month or Quarter Average Influent and Effluent Data for Years       and

|  | Year: |  |  |  |  |  | Year: |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | Influent |  |  | Effluent |  |  | Influent |  |  | Effluent |  |  |
|  | Flow (MGD) | Conc. (mg/L) | Mass (kg/day) | Flow (MG) | Conc. (mg/L) | Mass (kg/mo) | Flow (MGD) | Conc. (mg/L) | Mass (kg/day) | Flow (MG) | Conc. (mg/L) | Mass (kg/mo) |
| Jan |  |  |  |  |  |  |  |  |  |  |  |  |
| Feb |  |  |  |  |  |  |  |  |  |  |  |  |
| Mar |  |  |  |  |  |  |  |  |  |  |  |  |
| Apr |  |  |  |  |  |  |  |  |  |  |  |  |
| May |  |  |  |  |  |  |  |  |  |  |  |  |
| Jun |  |  |  |  |  |  |  |  |  |  |  |  |
| Jul |  |  |  |  |  |  |  |  |  |  |  |  |
| Aug |  |  |  |  |  |  |  |  |  |  |  |  |
| Sep |  |  |  |  |  |  |  |  |  |  |  |  |
| Oct |  |  |  |  |  |  |  |  |  |  |  |  |
| Nov |  |  |  |  |  |  |  |  |  |  |  |  |
| Dec |  |  |  |  |  |  |  |  |  |  |  |  |
| Annual average |  |  |  |  |  |  |  |  |  |  |  |  |

| Summary Data |  | Formula |
| --- | --- | --- |
| Annual influent flow | MG/year | Annual average flow (MGD) x 365 |
| Annual effluent flow | MG/year | Sum of monthly effluent flow values (MG) |
| Annual influent phosphorus load | kg/year | Total annual flow (MG) x Annual average influent phosphorus concentration (mg/L) x 3.785 |
| Annual effluent phosphorus load | kg/year | Total annual flow (MG) x Annual average effluent phosphorus concentration (mg/L) x 3.785 |
| Phosphorus percent removal | % | [Annual average concentration (mg/L) - Annual average effluent concentration (mg/L)] / Annual average influent concentration (mg/L) x 100 |

## Step 3: WWTF's Phosphorus Reduction Potential

### Patterns and trends.

Evaluation of past and present WWTF operations to determine the operating procedures that maximize phosphorus removal.

### Recommended action for WWTF based on treatment at comparable facilities.

Effluent Phosphorus Levels: Average Annual Concentration

| My WWTF | Comparable WWTF Systems (from Tables 2A or 2B) | Recommended action |
| --- | --- | --- |
| mg/L | mg/L |  |

Influent Phosphorus Levels: Average Annual Concentration

| My WWTF | Comparable WWTF Systems (from Tables 2A or 2B) | Recommended action |
| --- | --- | --- |
| mg/L | mg/L |  |

## Step 4: Phosphorus Reduction Goals for WWTF

### WWTF effluent reduction goal.

| Concentration (mg/L) The wastewater treatment plant will meet: mg/L discharge by (year) from all sources. | and/ or | Mass load (kg/day) Given current flow data, the plant will meet: kg/day discharge by (year) from all sources. |
| --- | --- | --- |

Mass load using kg/day is not necessarily relevant for ponds.

### WWTF influent reduction goal.

| Concentration (mg/L) The wastewater treatment plant will meet: mg/L by (year) from all sources. | and/ or | Mass load (kg/day) Given current flow data, the plant will meet: kg/day by (year) from all sources. |
| --- | --- | --- |

## Step 5: 	Optimizing the WWTF: WWTF percent removal goal.

WWTF will achieve annual average % removal by (year).

## Step 6: Phosphorus Reduction Potential of Users

Used the Excel spreadsheet for Table 3 to record data.

Table 3: Summary of Phosphorus Sources

| Year: | Walk-through inventory | Sampling results |  |  |  | Assessment |
| --- | --- | --- | --- | --- | --- | --- |
| Businesses (industrial, commercial, institutional) | Phosphorus sources | G or C* Manhole # | Flow (MGD) | Phosphorus (mg/L) | Total mass load (kg/day) | Reduction potential high, medium or low |
| Municipal sources | Phosphorus sources | G or C* Manhole # | Flow (MGD) | Phosphorus (mg/L) | Total mass load (kg/day) | Reduction potential high, medium or low |
| Satellite communities | Phosphorus sources | G or C* Manhole # | Flow (MGD) | Phosphorus (mg/L) | Total mass load (kg/day) | Reduction potential high, medium or low |
| Domestic (population served #) | Phosphorus sources | G or C* Manhole # | Flow (MGD) | Phosphorus (mg/L) | Total mass load (kg/day) | Reduction potential high, medium or low |
|  |  | Total all |  |  |  |  |

*Grab (G) or composite (C). Manhole # if one applies.

### Effluent goals for either one or multiple industrial, commercial and institutional users.

| 1. Effluent goal for one industrial, commercial or institutional user |  |  |
| --- | --- | --- |
| Concentration (mg/L) By (year), this business will meet an individual allocation of mg/L total phosphorus discharge to the city sewer, a goal that is expected to help the WWTF meet its influent goal previously set. | and/or | Mass load (kg/day) By (year), this business will meet an individual allocation of kg/day to the city sewer, a goal that is expected to help the WWTF meet its influent goal previously set. |
| -OR- |  |  |
| 2. Effluent goal for multiple industrial, commercial and institutional users |  |  |
| Concentration (mg/L) By (year), businesses will meet individual allocations ranging between mg/L and mg/L total phosphorus discharge to the sewer, a range that is expected to meet a total allowable phosphorus of mg/L. | and/or | Mass load (kg/day) By (year), businesses will meet individual allocations ranging between and kg/day to the city sewer, a range that is expected to meet a total allowable phosphorus of kg/day. |

## Step 7:	Implementation Plan to Meet Phosphorus Reduction and Removal Goals

### Phosphorus Reduction Strategies

1. Businesses—industrial, commercial and institutional users:

Past five years:

Next five years:

2.	 Municipal sources:

Past five years:

Next five years:

3. Satellite communities:

Past five years:

Next five years:

4. Domestic:

Past five years:

Next five years:

### Phosphorus Removal Strategies

My WWTF.

Past five years:

Next five years:

Signature of preparer 									Date

________________________________________________________________		_____________

Signature of principle executive officer or authorized agent				Date

________________________________________________________________		_____________