|  | Discharge Evaluation Report Stabilization Ponds National Pollutant Discharge Elimination System (NPDES) Permit Program Doc Type: Discharge Monitoring Report |
| --- | --- |

## Instructions:  This form needs to be completed if a discharge occurs during a “Problem Discharge Period” or to an ice-covered receiving water. Effluent, upstream and downstream sample results, to be included on this form, must be from two samples per every seven days of discharge. Samples must be taken three to four days apart. Submit these forms with the Discharge Monitoring Reports (DMRs). For detailed guidance on the completion of this form, refer to the Stabilization Pond Discharge Guidance document on the Minnesota Pollution Control Agency (MPCA) Wastewater webpage at http://www.pca.state.mn.us/enzqb31.

## Facility Information

| Facility name: |  | Year(s) constructed: |  |
| --- | --- | --- | --- |
| Operator name: |  | Design flow (MGD): |  |
| Phone number: |  | Design BOD capacity (mg/L): |  |

MGD = million gallons per day	mg/L = milligrams per liter

List numbers and types of cells, cell sizes, and operating depths (minimum to maximum):

| Aerated cells: |  |  |  |
| --- | --- | --- | --- |
| Primary(s): |  |  |  |
| Secondary(s): |  |  |  |
| Are the ponds operated in: |  | Series Parallel When? |  |

Hydraulic Capacity Evaluation (For dates, please use the format mm/dd/yyyy.)

| Date of last flow meter calibration: |  |  | Dates of previous discharge(s): |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Volume of previous discharge (million gallons/MG): |  |  |  |  |  |  |

Influent flow rates (last six months)

| Month | Flow (MGD) |
| --- | --- |
| Total average: |  |

Pond levels after previous discharge (inches)

| Primary(s): |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Secondary(s): |  |  |  |  |  |

City Well(s)

| Total volume pumped last six months: |  | MG |
| --- | --- | --- |
| Monthly average: |  | MGD |

Collection system bypasses

| Volumes | Dates (mm/dd/yyyy) |
| --- | --- |

| Precipitation total last six months: |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Unusual storms (inches/date): |  |  |  |  |  |  |  |  |  |
| Does the collection system have excessive infiltration (groundwater)? Yes No |  |  |  |  |  |  |  |  |  |
| If yes, list sources (sump pumps, deteriorated pipe, etc.): |  |  |  |  |  |  |  |  |  |
| Does the collection system have excessive inflow (surface water)? Yes No |  |  |  |  |  |  |  |  |  |
| If yes, list sources (storm sewers, tile lines, etc.): |  |  |  |  |  |  |  |  |  |
| Does the city have a “Sump Pump” Ordinance? Yes No |  |  |  |  |  |  | If yes, is it enforced? Yes No |  |  |
| Provide dates if the collection system has been: Televised date: |  |  |  |  |  |  |  | Smoke tested: |  |
| Describe investigation results: |  |  |  |  |  |  |  |  |  |
| Have problems been corrected – explain: |  |  |  |  |  |  |  |  |  |

Organic Capacity Evaluation

Influent samples (last four quarterly samples)

| Sample dates (mm/dd/yyyy): |  |  |  |  |
| --- | --- | --- | --- | --- |
| Influent flow (MGD): |  |  |  |  |
| CBOD5 (mg/L): |  |  |  |  |
| TSS (mg/L): |  |  |  |  |
| pH: |  |  |  |  |

CBOD5 = Five-Day Carbonaceous Biochemical Oxygen Demand	TSS = Total Suspended Solids

mgd = million gallons per day	pH = potential of Hydrogen

Any significant industrial users of the wastewater facility? Yes No

If yes, does the city have Industrial User Agreements with them? Yes No

If yes, are the industries in compliance with the agreements? Yes No

Discharge evaluation

| Date discharge began: |  |  |  |  | Date discharge ended: |  |
| --- | --- | --- | --- | --- | --- | --- |
| Volume discharged (MG): |  |  |  |  | Pond discharge rate (CFS): |  |
| Receiving water ice cover (%): |  |  |  |  | Dilution ratio: |  |
| Receiving water flow rate (CFS): |  |  |  |  |  |  |

CFS = Cubic feet per second

Effluent quality

| Sample dates (mm/dd/yyyy): |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| CBOD5 (mg/L): |  |  |  |  |  |  |
| TSS (mg/L): |  |  |  |  |  |  |
| pH: |  |  |  |  |  |  |
| Fecal Coliform: |  |  |  |  |  |  |
| Dissolved Oxygen (mg/L): |  |  |  |  |  |  |
| Total Phosphorus (mg/L): |  |  |  |  |  |  |

| Receiving water quality (Upstream sampling station) Location: |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Sample dates (mm/dd/yyyy): |  |  |  |  |  |  |  |
| Dissolved Oxygen (mg/L): |  |  |  |  |  |  |  |
| pH: |  |  |  |  |  |  |  |
| Fecal Coliform: |  |  |  |  |  |  |  |
| Total Phosphorus (mg/L): |  |  |  |  |  |  |  |

| Receiving water quality (Downstream sampling station) Location: |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Sample dates (mm/dd/yyyy): |  |  |  |  |  |  |  |
| Dissolved Oxygen (mg/L): |  |  |  |  |  |  |  |
| pH: |  |  |  |  |  |  |  |
| Fecal Coliform: |  |  |  |  |  |  |  |
| Total Phosphorus (mg/L): |  |  |  |  |  |  |  |