|  | UST automatic tank gauge inspection form Underground Storage Tanks (UST) Program Doc Type: Compliance Certification |
| --- | --- |

Purpose: This form is for docuemnting the inspection of the automatic tank gauge ( ATG). See PEI/RP1200, Section 8 for inspection procedures.

## Facility information

| Facility name: |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Facility address: |  |  |  |  |  |  |  |  |  |  | Facility ID#: |  |  |
| City: |  |  |  |  |  |  |  | State: |  |  |  | Zip code: |  |
| Owner name: |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Mailing address: |  |  |  |  |  |  |  |  |  |  |  |  |  |
| City: |  |  |  |  |  |  |  | State: |  |  |  | Zip code: |  |
| Phone: |  |  |  |  |  | Fax: |  |  | Email: |  |  |  |  |

## Testing information

| 1. Tank number |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 2. Product stored |  |  |  |  |  |  |  |  |  |
| 3. Tank volume, gallons |  |  |  |  |  |  |  |  |  |
| 4. Tank diameter, inches |  |  |  |  |  |  |  |  |  |
| 5. ATG brand and model |  |  |  |  |  |  |  |  |  |
| 6. After removing the ATG probe from the tank, has it been inspected and any damaged or missing parts replaced? |  | Yes No | Yes No |  | Yes No | Yes No |  | Yes No | Yes No |
| 7. Float moves freely on the shaft without binding? |  | Yes No | Yes No |  | Yes No | Yes No |  | Yes No | Yes No |
| 8. Does the fuel float level agree with the value programmed into the console? |  | Yes No | Yes No |  | Yes No | Yes No |  | Yes No | Yes No |
| 9. Does the water float level agree with the value programmed into the console? |  | Yes No | Yes No |  | Yes No | Yes No |  | Yes No | Yes No |
| 10. Inch level from bottom of shaft when 90% alarm is triggered. |  |  |  |  |  |  |  |  |  |
| 11. Does inch level at which the overfill alarm activates correspond with the value programmed in the gauge? |  | Yes No | Yes No |  | Yes No | Yes No |  | Yes No | Yes No |
| 12. Inch level from the bottom when the water float first triggers an alarm. |  |  |  |  |  |  |  |  |  |
| 13. Does inch level at which the water float alarm activates correspond with value programmed in the gauge? |  | Yes No | Yes No |  | Yes No | Yes No |  | Yes No | Yes No |
| 14. ATG probe cap, seals, communication cable and battery backup are in good condition? |  | Yes No | Yes No |  | Yes No | Yes No |  | Yes No | Yes No |
| 15. Any residual buildup on floats has been removed? |  | Yes No | Yes No |  | Yes No | Yes No |  | Yes No | Yes No |
| 15. Visual and audible alarms are tested and functioning correctly? |  | Yes No | Yes No |  | Yes No | Yes No |  | Yes No | Yes No |
| 16. Correct set-up parameters are input and third-party certification conditions verified? |  | Yes No | Yes No |  | Yes No | Yes No |  | Yes No | Yes No |
| If any answers are “No” indicates a failure. |  |  |  |  |  |  |  |  |  |
| Test results: |  | Pass Fail | Pass Fail |  | Pass Fail | Pass Fail |  | Pass Fail | Pass Fail |
| Comments: |  |  |  |  |  |  |  |  |  |  |
| Testing company name: |  |  |  |  | Tester’s name: |  |  |  |  |  |
| Date (mm/dd/yyyy): |  |  |  |  | Tester’s signature: |  |  |  |  |  |