|  | UST secondary containment sump annual inspection form Underground Storage Tanks (UST) Program Doc Type: Compliance Certification |
| --- | --- |

Purpose:  This form is for documenting the inspection of submersible turbine pump (STP) sumps, transition sumps and dispenser sumps.

## Facility information

| Facility name: |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Facility address: |  |  |  |  |  |  |  |  |  |  | Facility ID#: |  |  |
| City: |  |  |  |  |  |  |  | State: |  |  |  | Zip code: |  |
| Owner name: |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Mailing address: |  |  |  |  |  |  |  |  |  |  |  |  |  |
| City: |  |  |  |  |  |  |  | State: |  |  |  | Zip code: |  |
| Phone: |  |  |  |  |  | Fax: |  |  | Email: |  |  |  |  |

## Testing information

| 1. Tank number |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 2. Product stored |  |  |  |  |  |  |  |  |  |  |
| 3. Tank volume, gallons |  |  |  |  |  |  |  |  |  |  |
| 4. Dispenser ID# |  |  |  |  |  |  |  |  |  |  |
| 5. Are the sump lids, gaskets and seals present and in good condition? |  | Yes No | Yes No |  |  | Yes No |  | Yes No | Yes No | Yes No |
| 6. Is the sump free of fuel, water or debris? |  | Yes No | Yes No |  |  | Yes No |  | Yes No | Yes No | Yes No |
| 7. Is the sump free of cracks, holes, bulges, or other defects? |  | Yes No | Yes No |  |  | Yes No |  | Yes No | Yes No | Yes No |
| 8. Is the interstice on secondarily contained piping in the STP sump open? |  | Yes No | Yes No |  |  | Yes No |  | Yes No | Yes No | Yes No |
| 9. Is the sump sensor properly positioned at the bottom of the sump and operating according to the manufacturer’s specifications? |  | Yes No NA | Yes No NA |  |  | Yes No NA |  | Yes No NA | Yes No NA | Yes No NA |
| 10. Within the past twelve months has the sump sensor passed a functionality test? |  | Yes No NA | Yes No NA |  |  | Yes No NA |  | Yes No NA | Yes No NA | Yes No NA |
| 11. Are penetration fittings and entry boots intact, secure and free of damage? |  | Yes No | Yes No |  |  | Yes No |  | Yes No | Yes No | Yes No |
| 12. Are the STP components, meters, piping and flexible connectors free of leaks or seeps? |  | Yes No | Yes No |  |  | Yes No |  | Yes No | Yes No | Yes No |
| 13. Are piping and flexible connectors installed according to the manufacturer’s specifications (not kinked, twisted or cracked)? |  | Yes No | Yes No |  |  | Yes No |  | Yes No | Yes No | Yes No |
| 14. Are electrical junction boxes and seal-offs sealed, free of corrosion and in good condition? |  | Yes No | Yes No |  |  | Yes No |  | Yes No | Yes No | Yes No |
| 15. If the sump is double-walled has the interstitial sensor passed a functionality test within the past twelve months? |  | Yes No NA | Yes No NA |  |  | Yes No NA |  | Yes No NA | Yes No NA | Yes No NA |
| A “No” in any line indicates a failure. |  |  |  |  |  |  |  |  |  |  |
| Test results: |  | Pass Fail | Pass Fail |  |  | Pass Fail |  | Pass Fail | Pass Fail | Pass Fail |
| Comments: |  |  |  |  |  |  |  |  |  |  |
| Testing company name: |  |  |  | Tester’s name: |  |  |  |  |  |  |
| Date (mm/dd/yyyy): |  |  |  |  | Tester’s signature: |  |  |  |  |  |