|  |  |
| --- | --- |
| Minnesota Pollution Control Agency (MPCA), 520 Lafayette Road North, St. Paul, MN 55155-4194 | UST automatic tank gauge inspection formUnderground Storage Tanks (UST) ProgramDoc Type: Compliance Certification |

Purpose:This form is for docuemnting the inspection of the automatic tank gauge ( ATG). See PEI/RP1200, Section 8 for inspection procedures.

## Facility information

|  |  |
| --- | --- |
| Facility name: |       |
| Facility address: |       | Facility ID#: |       |
| City: |       | State: |       | Zip code: |       |
| Owner name: |       |
| Mailing address: |       |
| City: |       | State: |       | Zip code: |       |
| Phone: |       | Fax: |       | Email: |       |

## Testing information

|  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| 1. Tank number |       |       |       |       |       |       |
| 2. Product stored |       |       |       |       |       |       |
| 3. Tank volume, gallons |       |       |       |       |       |       |
| 4. Tank diameter, inches |       |       |       |       |       |       |
| 5. ATG brand and model |       |       |       |       |       |       |
| 6. After removing the ATG probe from the tank, has it been inspected and any damaged or missing parts replaced? | [ ]  Yes [ ]  No | [ ]  Yes [ ]  No  | [ ]  Yes [ ]  No  | [ ]  Yes [ ]  No  | [ ]  Yes [ ]  No  | [ ]  Yes [ ]  No  |
| 7. Float moves freely on the shaft without binding? | [ ]  Yes [ ]  No | [ ]  Yes [ ]  No | [ ]  Yes [ ]  No | [ ]  Yes [ ]  No | [ ]  Yes [ ]  No | [ ]  Yes [ ]  No |
| 8. Does the fuel float level agree with the value programmed into the console? | [ ]  Yes [ ]  No | [ ]  Yes [ ]  No | [ ]  Yes [ ]  No | [ ]  Yes [ ]  No | [ ]  Yes [ ]  No | [ ]  Yes [ ]  No |
| 9. Does the water float level agree with the value programmed into the console? | [ ]  Yes [ ]  No | [ ]  Yes [ ]  No | [ ]  Yes [ ]  No | [ ]  Yes [ ]  No | [ ]  Yes [ ]  No | [ ]  Yes [ ]  No |
| 10. Inch level from bottom of shaft when 90% alarm is triggered. |       |       |       |       |       |       |
| 11. Does inch level at which the overfill alarm activates correspond with the value programmed in the gauge? | [ ]  Yes [ ]  No  | [ ]  Yes [ ]  No  | [ ]  Yes [ ]  No  | [ ]  Yes [ ]  No  | [ ]  Yes [ ]  No  | [ ]  Yes [ ]  No  |
| 12. Inch level from the bottom when the water float first triggers an alarm. |       |       |       |       |       |       |
| 13. Does inch level at which the water float alarm activates correspond with value programmed in the gauge? | [ ]  Yes [ ]  No | [ ]  Yes [ ]  No | [ ]  Yes [ ]  No | [ ]  Yes [ ]  No | [ ]  Yes [ ]  No | [ ]  Yes [ ]  No |
| 14. ATG probe cap, seals, communication cable and battery backup are in good condition? | [ ]  Yes [ ]  No | [ ]  Yes [ ]  No | [ ]  Yes [ ]  No | [ ]  Yes [ ]  No | [ ]  Yes [ ]  No | [ ]  Yes [ ]  No |
| 15. Any residual buildup on floats has been removed? | [ ]  Yes [ ]  No | [ ]  Yes [ ]  No | [ ]  Yes [ ]  No | [ ]  Yes [ ]  No | [ ]  Yes [ ]  No | [ ]  Yes [ ]  No |
| 15. Visual and audible alarms are tested and functioning correctly? | [ ]  Yes [ ]  No | [ ]  Yes [ ]  No | [ ]  Yes [ ]  No | [ ]  Yes [ ]  No | [ ]  Yes [ ]  No | [ ]  Yes [ ]  No |
| 16. Correct set-up parameters are input and third-party certification conditions verified? | [ ]  Yes [ ]  No | [ ]  Yes [ ]  No | [ ]  Yes [ ]  No | [ ]  Yes [ ]  No | [ ]  Yes [ ]  No | [ ]  Yes [ ]  No |
| **If any answers are “No” indicates a failure.** |  |  |  |  |  |  |
| **Test results:** | [ ]  Pass [ ]  Fail | [ ]  Pass [ ]  Fail | [ ]  Pass [ ]  Fail | [ ]  Pass [ ]  Fail | [ ]  Pass [ ]  Fail | [ ]  Pass [ ]  Fail |
| **Comments:**      |
| Testing company name: |       | Tester’s name: |       |
| Date (mm/dd/yyyy): |       | Tester’s signature: |  |