|  | Pre-Mitigation Attachment A Diagnostic Checklist Remediation Program Vapor Intrusion/Mitigation Doc Type: Site Inspection Information |
| --- | --- |

## Instructions:  This checklist is to be completed by the contractor conducting pre-mitigation diagnostic testing prior to installation of a sub-slab depressurization (SSD) system as a building control for vapor mitigation. A copy of the completed checklist should be included in Appendix D of the Property Summary Report (PSR) which documents vapor mitigation activities completed for the property.

1.	General site and contractor information

| 1.1 | Site name: |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1.2 | MPCA site ID number: |  |  |  |  |  |  |  |  |
| 1.3 | Property address: |  |  |  |  |  |  |  |  |
| 1.4 | Property owner name: |  |  |  |  |  |  |  |  |
| 1.5 | Property owner phone/email: |  |  |  |  |  |  |  |  |
| 1.6 | Date of pre-mitigation diagnostic testing (mm/dd/yyyy): |  |  |  |  |  |  |  |  |
| 1.7 | Installation contractor name: |  |  |  |  |  |  |  |  |
| 1.8 | Installation contractor phone/email: |  |  |  |  |  |  |  |  |

2.	Backdraft testing

Procedures for checking combustion appliance backdrafting can be found in section 11.5 of EPA, 1993.

| 2.1 | Check the ambient air within the building with a multi-gas meter and photo-ionization detector (PID) for potential environments of concern and provide the highest observed readings for the following: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | Oxygen: |  |  |  | Lower explosive limit (LEL): |  |  |  |  |  |  | Carbon Monoxide: |  |  |  |
|  | Hydrogen Sulfide: |  |  |  |  | PID: |  | Location of highest readings (room): |  |  |  |  |  |  |  |
| 2.2 | Identify all combustion appliances present in the building: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Clothes dryer Water heater Central furnace Gravity furnace Floor furnace Wood fireplace Gas fireplace Space heater Boiler Wood stove Gas stove |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Other (specify): |  |  |  |  |  |  |  | Primary fuel type: |  |  |  |  |  |  |
| 2.3 | Which of the appliances identified above have natural draft exhaust: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 2.4 | Which of the appliances identified above have mechanical/forced exhaust: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 2.5 | Were backdrafting conditions observed in any of the combustion appliances identified above? Yes No |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 2.6 | Is yes, which appliances: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 2.7 | If backdrafting conditions were observed, was the property owner and tenant(s) notified? Yes No |  |  |  |  |  |  |  |  |  |  |  |  |  |  |

3.	Outside make-up air

| 3.1 | Is outside make-up air currently provided for all rooms containing a combustion appliance? Yes No |  |  |  |
| --- | --- | --- | --- | --- |
| 3.2 | If no, was outside make-up air installed? Yes No (Outside make-up air shall be installed prior to conducting any further pre-mitigation diagnostic testing) |  |  |  |
| 3.3 | Make-up air installation date (mm/dd/yyyy): |  | Make-up air installed by: |  |
| 3.4 | Were all the required permits obtained for the outside make-up air installation work? Yes No |  |  |  |
| 3.5 | Were backdraft conditions (see section 2 above) rechecked after make-up air was installed? Yes No |  |  |  |

4.	Utility information

It is the installation contractor’s responsibility to confirm locations of underground and in-floor utilities prior to conducting floor slab or excavation work.

| 4.1 | Were utility locations confirmed prior to floor slab or excavation work? Yes No |
| --- | --- |
| 4.2 | Explain how utility locations were confirmed: |

5.	Sealing of potential vapor intrusion points

At a minimum, identify and seal the following openings, if present:

|  | Cold Joint Utility Penetrations Sump Baskets Expansion Joints Un-trapped floor drains to soil |  |
| --- | --- | --- |
|  | Cracks/holes greater than 1/32 inch wide Other (specify): |  |

6.	Confirm all proposed suction points, fan location(s) and system piping routes with the property owner

Prior to selecting suction points consider the site conceptual model (SCM) including soil type, depth to groundwater, location and source of vapors (soil and/or groundwater) evidence of infiltration (groundwater or surface water).

7.	Test suction point information

Illustrate test suction point locations on scaled floor plan in Section 10. (Reminder: The exhaust for the suction point fan shall be discharged to outside air during pre-mitigation diagnostic testing.)

| 7.1 | Is an existing vapor barrier present? Yes No |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| 7.2 | Total number of test suction points installed: |  |  |  |  |
| 7.3 | Diameter of test suction point(s): |  |  |  |  |
| 7.4 | Volume of soil removed (loose) from each test suction point: |  |  |  | yard3 or feet3 |

8.	PFE Test Point Information

Illustrate pressure field extension (PFE) test point locations on scaled floor plan in Section 10.

| 8.1 | Total number of pre-mitigation PFE test points completed: |  |  |
| --- | --- | --- | --- |
| 8.2 | Approximate total square footage of building footprint: |  |  |
| 8.3 | Was pre-mitigation PFE testing conducted with all combustion appliances and exhaust fan/venting appliances operating and all outside windows and doors closed to provide “worst-case” conditions? Yes No |  |  |
| 8.4 | Did all of the pre-mitigation PFE test points demonstrate a pressure differential greater than or equal to the MPCA default pressure differential (3 pascals in winter/5 pascals in summer)? Yes No |  |  |
| 8.5 | Document pre-mitigation PFE test point measurements on the summary table in Section 9. |  |  |
| 8.6 | Were the PFE test points temporarily sealed and left in place for future testing? Yes No |  |  |
| 8.6 | Were the PFE test points permanently sealed upon completion of diagnostic testing? Yes No |  |  |

9.	Fan selection information based on pre-mitigation diagnostic testing results

| 9.1 | Number of fans required based on diagnostics: |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| 9.2 | Fan make/model: |  |  |  |  |
| 9.3 | Maximum Wattage: |  |  |  |  |
| 9.4 | Fan manufacturer’s specifications for maximum CFM and pressure: |  |  |  |  |

10.	Summary of pre-mitigation PFE diagnostic testing measurements

| 10.1 | Site ID number: |  |  |  |
| --- | --- | --- | --- | --- |
| 10.2 | Property address: |  |  |  |
| 10.3 | Person completing measurements: |  |  |  |

| PFE test point location ID | Pressure differential between sub-slab and indoor space (inches of water column to 0.0001”) | Pressure differential between sub-slab and indoor space (Pascals to 0.1) | Date (mm/dd/yyyy) | Time |
| --- | --- | --- | --- | --- |
|  |  |  |  | am pm |
|  |  |  |  | am pm |
|  |  |  |  | am pm |
|  |  |  |  | am pm |
|  |  |  |  | am pm |
|  |  |  |  | am pm |
|  |  |  |  | am pm |
|  |  |  |  | am pm |
|  |  |  |  | am pm |
|  |  |  |  | am pm |
|  |  |  |  | am pm |
|  |  |  |  | am pm |
|  |  |  |  | am pm |
|  |  |  |  | am pm |
|  |  |  |  | am pm |
|  |  |  |  | am pm |
|  |  |  |  | am pm |
|  |  |  |  | am pm |
|  |  |  |  | am pm |
|  |  |  |  | am pm |
|  |  |  |  | am pm |
|  |  |  |  | am pm |
|  |  |  |  | am pm |
|  |  |  |  | am pm |
|  |  |  |  | am pm |
|  |  |  |  | am pm |
|  |  |  |  | am pm |
|  |  |  |  | am pm |
|  |  |  |  | am pm |
|  |  |  |  | am pm |
|  |  |  |  | am pm |
|  |  |  |  | am pm |
|  |  |  |  | am pm |
|  |  |  |  | am pm |
|  |  |  |  | am pm |
|  |  |  |  | am pm |
|  |  |  |  | am pm |
|  |  |  |  | am pm |
|  |  |  |  | am pm |
|  |  |  |  | am pm |
|  |  |  |  | am pm |

| Notes: To convert inches of water to Pascals, multiply by 249. |  |
| --- | --- |
| Make and model of manometer used for PFE diagnostic testing: |  |

11.	Floor plan of basement/lowest level

Include locations of: sealed cracks, openings and utility penetrations, crawl spaces, sumps, suction points, utility lines and PFE test points.

| Scale: | North |  | (circle one) |
| --- | --- | --- | --- |