|  | Post-Mitigation Attachment C Diagnostic Checklist Remediation Program Vapor Intrusion/Mitigation Doc Type: Site Inspection Information |
| --- | --- |

## Instructions:  This checklist is to be completed by the contractor conducting post-mitigation diagnostic testing after installation of a sub-slab depressurization (SSD) system as a building control for vapor mitigation. A copy of the completed checklist should be included in Appendix D of the Property Summary Report (PSR) which documents vapor mitigation activities completed for the property.

1.	General site and property information

| 1.1 | Site name: |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1.2 | MPCA site ID number: |  |  |  |  |  |  |  |  |
| 1.3 | Property address: |  |  |  |  |  |  |  |  |
| 1.4 | Property owner name: |  |  |  |  |  |  |  |  |
| 1.5 | Property owner phone/email: |  |  |  |  |  |  |  |  |
| 1.6 | Date of pre-mitigation diagnostic testing (mm/dd/yyyy): |  |  |  |  |  |  |  |  |
| 1.7 | Installation contractor name: |  |  |  |  |  |  |  |  |
| 1.8 | Installation contractor phone/email: |  |  |  |  |  |  |  |  |

2.	Post-mitigation pressure field extension (PFE) test point information

| 2.1 | Total number of post-mitigation PFE test points: |  |  |
| --- | --- | --- | --- |
|  | (Illustrate locations of PFE test points on the Floor Plan in Section 5) |  |  |
| 2.2 | Approximate total square footage of building footprint: |  |  |
| 2.3 | Was post-mitigation PFE testing conducted with all combustion appliances and exhaust fan/venting appliances operating and all exterior windows and doors closed to provide “worst-case” conditions? Yes No |  |  |
| 2.4 | Did all of the post-mitigation PFE test points demonstrate a pressure differential greater than or equal to the MPCA default pressure differential (3 pascals in winter/5 pascals in summer)? Yes No |  |  |
| 2.5 | Document post-mitigation PFE test point measurements on the Section 4 summary table. |  |  |

3.	Backdraft testing

Procedures for checking combustion appliance backdrafting can be found in section 11.5 of EPA, 1993.

| 3.1 | Check the ambient air within the building with a multi-gas meter and photo-ionization detector (PID) for potential environments of concern and provide the highest observed readings for the following: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | Oxygen: |  |  |  | Lower explosive limit (LEL): |  |  |  |  |  |  | Carbon Monoxide: |  |  |  |
|  | Hydrogen Sulfide: |  |  |  |  | PID: |  | Location of highest readings (room): |  |  |  |  |  |  |  |
| 3.2 | Identify all combustion appliances present in the building: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Clothes dryer Water heater Central furnace Gravity furnace Floor furnace Wood fireplace Gas fireplace Space heater Boiler Wood stove Gas stove |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Other (specify): |  |  |  |  |  |  |  | Primary fuel type: |  |  |  |  |  |  |
| 3.3 | Which of the appliances identified above have natural draft exhaust: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 3.4 | Which of the appliances identified above have mechanical/forced exhaust: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 3.5 | Were backdraft conditions identified in any of the identified combustion appliances during the post-mitigation backdraft testing? Yes No |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 3.6 | If post-mitigation backdraft conditions were identified, notify the property owner immediately and turn off the active vapor mitigation system until the backdraft conditions are corrected. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |

4.	Summary of post-mitigation PFE diagnostic testing measurements

| 4.1 | Site ID number: |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| 4.2 | Property address: |  |  |  |  |
| 4.3 | Person completing measurements: |  |  |  |  |
| 4.4 | Make and model of manometer used for PFE diagnostic testing: |  |  |  |  |

| PFE test point location ID | Pressure differential between sub-slab and indoor space (inches of water column to 0.0001”) | Pressure differential between sub-slab and indoor space (Pascals to 0.1) | Date (mm/dd/yyyy) | Time |
| --- | --- | --- | --- | --- |
|  |  |  |  | am pm |
|  |  |  |  | am pm |
|  |  |  |  | am pm |
|  |  |  |  | am pm |
|  |  |  |  | am pm |
|  |  |  |  | am pm |
|  |  |  |  | am pm |
|  |  |  |  | am pm |
|  |  |  |  | am pm |
|  |  |  |  | am pm |
|  |  |  |  | am pm |
|  |  |  |  | am pm |
|  |  |  |  | am pm |
|  |  |  |  | am pm |
|  |  |  |  | am pm |
|  |  |  |  | am pm |
|  |  |  |  | am pm |
|  |  |  |  | am pm |
|  |  |  |  | am pm |
|  |  |  |  | am pm |
|  |  |  |  | am pm |
|  |  |  |  | am pm |
|  |  |  |  | am pm |
|  |  |  |  | am pm |
|  |  |  |  | am pm |
|  |  |  |  | am pm |
|  |  |  |  | am pm |
|  |  |  |  | am pm |
|  |  |  |  | am pm |
|  |  |  |  | am pm |
|  |  |  |  | am pm |
|  |  |  |  | am pm |
|  |  |  |  | am pm |
|  |  |  |  | am pm |
|  |  |  |  | am pm |
|  |  |  |  | am pm |
|  |  |  |  | am pm |
|  |  |  |  | am pm |
|  |  |  |  | am pm |
|  |  |  |  | am pm |

Note: To convert inches of water to Pascals, multiply by 249.

5.	Floor plan of basement/lowest level

Include locations of: suction points and post-mitigation PFE test points.

| 5.1 | Site ID number: |  |  |  |
| --- | --- | --- | --- | --- |
| 5.2 | Property address: |  |  |  |
| 5.3 | Person completing measurements: |  |  |  |

| Scale: | North |  | (circle one) |
| --- | --- | --- | --- |