## Project info
fdfd
| Section B. System inputs |  |  |  |  | Project Type |  | Existing System | [6 empty] | Proposed System | [9 empty] | Applicant notes (optional)
| Enter all information requested for each system. Scroll to column AA for all fields. See the definitions, refrigerant examples, and project example tabs below. |  |  |  |  | System reference ID | Type of conversion | Type of existing system | If you selected "other" existing system, please describe: | HVAC-R system? | Refrigeration only: Name of refrigerant | Refrigeration only: Refrigerant charge | Name of HVAC refrigerant | HVAC refrigerant charge | Type of proposed system | If you selected "other" existing system, please describe: | Number of identical primary refrigeration systems | Name of primary refrigerant | Primary refrigerant charge, per system |  | Name of secondary refrigerant | If you selected "other" secondary refrigerant, please describe: | Secondary refrigerant charge |  | Is there anything else you would like us to know about the equipment or project?
| Facility information |  |  |  |  | One ID per unique existing system (e.g. 1, 2, 3) | Partial or full | Select from the drop-down |  | (Yes/No) | See 'refrigerant examples' tab | (lb) | See 'refrigerant examples' tab | (lb) | Select from the drop-down |  |  | See 'refrigerant examples' tab | (lb) | (oz) | Cascade or secondary loop systems only |  | (lb) | (oz)
| Organization name |  |  |  |  | Enter an ID | Choose one | Choose one |  | Choose one |  |  |  |  | Choose one | [5 empty] | Choose one
| Project location address |  |  |  |  | Enter an ID | Choose one | Choose one |  | Choose one |  |  |  |  | Choose one | [5 empty] | Choose one
| Facility type | Choose one |  |  |  | Enter an ID | Choose one | Choose one |  | Choose one |  |  |  |  | Choose one | [5 empty] | Choose one
[6 empty] | Enter an ID | Choose one | Choose one |  | Choose one |  |  |  |  | Choose one | [5 empty] | Choose one
|  |  |  | Existing systems being replaced | Proposed systems | Enter an ID | Choose one | Choose one |  | Choose one |  |  |  |  | Choose one | [5 empty] | Choose one
| Linear feet of cases |  | (ft) |  |  | Enter an ID | Choose one | Choose one |  | Choose one |  |  |  |  | Choose one | [5 empty] | Choose one
| Cubic feet of walk-in |  | (ft3) |  |  | Enter an ID | Choose one | Choose one |  | Choose one |  |  |  |  | Choose one | [5 empty] | Choose one
| Cold storage only: Cooling load |  | (ton) |  |  | Enter an ID | Choose one | Choose one |  | Choose one |  |  |  |  | Choose one | [5 empty] | Other, please name:
| Total charge all equipment being replaced |  | (lb) |  |  | Enter an ID | Choose one | Choose one |  | Choose one |  |  |  |  | Choose one | [5 empty] | Choose one
[6 empty] | Enter an ID | Choose one | Choose one |  | Choose one |  |  |  |  | Choose one | [5 empty] | Choose one
| Color key |  |  |  |  | Enter an ID | Choose one | Choose one |  | Choose one |  |  |  |  | Choose one | [5 empty] | Choose one
| Required input |  |  |  |  | Enter an ID | Choose one | Choose one |  | Choose one |  |  |  |  | Choose one | [5 empty] | Choose one
| Not applicable |  |  |  |  | Enter an ID | Choose one | Choose one |  | Choose one |  |  |  |  | Choose one | [5 empty] | Choose one
| Optional |  |  |  |  | Enter an ID | Choose one | Choose one |  | Choose one |  |  |  |  | Choose one | [5 empty] | Choose one
[6 empty] | Enter an ID | Choose one | Choose one |  | Choose one |  |  |  |  | Choose one | [5 empty] | Choose one
| Need help? |  |  |  |  | Enter an ID | Choose one | Choose one |  | Choose one |  |  |  |  | Choose one | [5 empty] | Choose one
| The Minnesota Technical Assistance Program (MnTAP) is available for general assistance with your application. |  |  |  |  | Enter an ID | Choose one | Choose one |  | Choose one |  |  |  |  | Choose one | [5 empty] | Choose one
| MnTAP help is free, and they can help you understand and locate eligible equipment and review your application for completeness. |  |  |  |  | Enter an ID | Choose one | Choose one |  | Choose one |  |  |  |  | Choose one | [5 empty] | Choose one
| Contact Ashwin Nambudiripad, Associate Engineer, at ashwin@umn.edu or 612-624-4653. |  |  |  |  | Enter an ID | Choose one | Choose one |  | Choose one |  |  |  |  | Choose one | [5 empty] | Choose one
| Ultimately, you may need to work with a contractor to design a new system and get system characteristics, such as refrigerant charge. |  |  |  |  | Enter an ID | Choose one | Choose one |  | Choose one |  |  |  |  | Choose one | [5 empty] | Choose one
Natural refrigerants in retail food refrigeration and cold storage  Larger systems application
Greater than 300 lbs.
Fiscal Year 2027
Doc Type: Grant Application
p-f2-79c-fy27 (Revised 6/2/26)

## Definitions
Definitions
Cold storage: A refrigerated facility or warehouse, or refrigeration system such as for walk-in coolers or freezers, used for the temperature-controlled storage of food and beverages intended for human or animal consumption. This sector includes but is not limited to NAICS codes starting with 493.
Full conversion: 100% replacement of an existing refrigeration system using a refrigerant with a global warming potential (GWP) greater than 1300 with an eligible refrigerant.
Partial conversion: Conversion of an existing refrigeration system using a refrigerant with a global warming potential (GWP) greater than 1300 to an indirect system (cascade or secondary loop system). The indirect system in a partial replacement must be able to use some of the existing refrigeration system equipment and must use an eligible refrigerant.
Retail food refrigeration: Retail food refrigeration includes equipment designed to store and display chilled or frozen goods for commercial sale or use, and may include equipment at a school or institutional cafeteria. This sector includes but is not limited to North American Industrial Classification Codes (NAICS) 445110 and 452311.
Existing System Information
System Reference ID: Assign an ID# to the system being replaced (e.g. 1, 2, 3).
Existing refrigerant name (refrigeration only): Type of refrigerant used in the existing refrigeration system. For example, R-22, R-507, R-404a. Remember, the existing refrigerant must have a GWP greater than 1300.
Existing refrigerant charge: The quantity of high-GWP refrigerant in the existing equipment at full charge. Full charge is the amount of refrigerant required for normal operating characteristics and conditions.
Existing linear feet of case: The existing linear feet of refrigerated display cases connected to the refrigeration systems that will be replaced, if applicable.
Existing cubic feet of walk in: The existing cubic feet of refrigerated walk-in cooler or freezer space connected to the refrigeration system that will be replaced, if applicable.
Existing cooling load tons: The existing tons of cooling load required by the process that will be replaced, if applicable.
Cooling load ton (for cold storge only): The refrigeration system's applied rate of heat transfer measured in tons at the cooling coils and heat exchanges OR the system capacity at applied conditions, whichever is less. The cooling loan tons can be calculated by the cooling coils and other process heat exchanger specifications or by engineering analysis.
Proposed System Information
Proposed primary refrigerant name: Type of refrigerant used in the proposed refrigeration system. In the case of an indirect system (cascade or secondary loop), the primary refrigerant is the refrigerant that provides cooling to the secondary cooling loop.
Proposed primary refrigerant charge: For full replacements, the pounds of natural refrigerant that will be in the proposed system at full charge. For indirect replacements, the pounds of primary refrigerant that will be in the proposed system at full charge.
Proposed secondary refrigerant name: For indirect systems (cascade or secondary loop) only, the natural refrigerant that is replacing the existing high global warming potential refrigerant.
Proposed secondary refrigerant charge: For indirect systems (cascade or secondary loop) only, the pounds of natural refrigerant that will be in the proposed system at full charge.
System descriptions
Cascade system: Consists of two independent refrigeration systems that share a common cascade heat exchanger. Each system uses a different refrigerant that is most suitable for the given temperature range.
Central plant system (direct system): A custom-built refrigeration system that is typically used in large, refrigerated warehouses. Central plant systems deliver cool air to the refrigerated space through evaporators, which are typically suspended from the ceiling in the refrigerated space. The evaporators are connected through a piping network to multiple compressors located in a central machine room, and a condenser, which is typically mounted outside near the compressor. Central plant systems may have a direct or indirect (secondary loop) design. Direct systems circulate a primary refrigerant throughout the refrigerated space. In an indirect system, a primary refrigerant cools a secondary refrigerant in the machine room, and the secondary refrigerant is then circulated throughout the refrigerated space.
Centralized direct expansion (DX) system: The compressors are mounted together and share suction and discharge refrigeration lines that run throughout the store, feeding refrigerant to the cases and coolers. The compressors are in a separate machine room, either in the back of the store or on its roof, while the condensers are usually air-cooled and hence are placed outside to reject heat.
Micro-distributed system with water loop: Cases are self-contained with a sealed refrigeration unit; cases are connected to a water-loop system to eject heat outside the store.
Packaged systems are self-contained. • In cold storage warehouses, they combine evaporator, compressor, and condenser in one frame. They are commonly installed on the roof of a refrigerated warehouse above the air-cooling units that are within the refrigerated space. • In walk-in coolers and freezers, you may see packaged refrigeration systems (i.e., an evaporator and condensing unit in one frame) mounted on the roof or wall of a walk-in.
Remote condensing unit(s): Are composed of one (and sometimes two) compressor(s), one condenser, and one receiver assembled into a single unit, normally located external to the sales area. This equipment is connected to one or more nearby evaporator(s) used to cool food and beverages stored in display cases and/or walk-in storage rooms.
Secondary loop system: Is where a primary refrigerant is used in the central machinery room to cool a secondary heat transfer fluid, which is circulated to the display cases in the sales area.
Self contained cases (no water loop): Self-contained or stand-alone refrigeration cases house all refrigeration components (e.g., evaporator, cooling coil, compressor, and condenser) within their structure. They are charged with refrigerant at the factory and typically require only an electricity supply to begin operation.

## Refrigerant examples
Existing systems |  |  | Proposed systems
The existing system(s) must be charged with refrigerant(s) with a global warming potential(s) > 1300. |  |  | Eligible replacement refrigerants must be natural refrigerants.
If your existing refrigerant is not listed below, you can verify its GWP at |  |  | Natural refrigerants
https://www.epa.gov/climate-hfcs-reduction/technology-transitions-gwp-reference-table |  |  | Occur in nature’s biological and chemical cycles without human intervention.
or do an internet search. |  |  | These materials include ammonia, carbon dioxide, natural hydrocarbons (e.g. propane), water, and air.
Some examples are listed below.
| Common refrigerants | GWP
| HFC-134a | 1430 |  | Natural refrigerants | GWP
| R-409A | 1558 |  | R-170 (Ethane) | 1
| HCFC-22 | 1810 |  | R-290 (Propane) | 3
| R-417C | 1820 |  | R-600a (Isobutane) | 3
| R-407A | 2110 |  | R-717 (Ammonia) | 0
| R-427A | 2140 |  | R-718 (Water) | 0
| R-438A | 2270 |  | R-729 (Air) | 0
| R-422D | 2730 |  | R-744 (Carbon dioxide) | 1
| R-408A | 3152
| R-404A | 3920
| R-507 | 3990
| R-507A | 3990
| R-502 | 4657
| CFC-12 | 12500
| R-448A | 1387
| R-449A | 1400
| R-449B | 1412

## Example retail_full conversion
Natural refrigerants in retail food refrigeration and cold storage
Section 2. System inputs (Example retail, full conversion) |  |  |  |  | Project Type |  | Existing System | [6 empty] | Proposed System | [9 empty] | Applicant notes (optional)
Enter all information requested for each system. See the definitions, refrigerant examples, and project example tabs. |  |  |  |  | System reference ID | Type of conversion | Type of existing system | If you selected "other" existing system, please describe: | HVAC-R system? | Refrigeration only: Name of refrigerant | Refrigeration only: Refrigerant charge | Name of HVAC refrigerant | HVAC refrigerant charge | Type of proposed system | If you selected "other" existing system, please describe: | Number of identical primary refrigeration systems | Name of primary refrigerant | Primary refrigerant charge, per system |  | Name of secondary refrigerant | If you selected "other" secondary refrigerant, please describe: | Secondary refrigerant charge |  | Is there anything else you would like us to know about the equipment or project?
Facility information |  |  |  |  | One ID per unique existing system (e.g. 1, 2, 3) | Partial or full | Select from the drop-down |  | (Yes/No) | See 'refrigerant examples' tab | (lb) | See 'refrigerant examples' tab | (lb) | Select from the drop-down |  |  | See 'refrigerant examples' tab | (lb) | (oz) | Cascade or secondary loop systems only |  | (lb) | (oz)
Organization name | One Stop Grocery, LLC |  |  |  | 1 | Full conversion | Centralized DX system |  | No | R-404a | 301 |  |  | Self contained cases (no water loop) |  | 8 | R-290 | 0.27 |  | R-718 (Water) |  | 25
Project location address | 123 Main St,, Luverne, MN |  |  |  | 1 | Full conversion | Centralized DX system |  | No | R-404a | 301 |  |  | Packaged system |  | 1 | R-290 |  | 4.4 | Choose one |  |  |  | The packaged system is for our walk-in cooler.
Facility type | Retail food refrigeration |  |  |  | Enter an ID | Choose one | Choose one |  | Choose one |  |  |  |  | Choose one | [5 empty] | Choose one
[5 empty] | Enter an ID | Choose one | Choose one |  | Choose one |  |  |  |  | Choose one | [5 empty] | Choose one
|  |  | Existing systems being replaced | Proposed systems | Enter an ID | Choose one | Choose one |  | Choose one |  |  |  |  | Choose one | [5 empty] | Choose one
Linear feet of cases |  | (ft) | 83 | 87 | Enter an ID | Choose one | Choose one |  | Choose one |  |  |  |  | Choose one | [5 empty] | Choose one
Cubic feet of walk-in |  | (ft3) | 1200 | 1200 | Enter an ID | Choose one | Choose one |  | Choose one |  |  |  |  | Choose one | [5 empty] | Choose one
Cold storage only: Cooling load |  | (ton) |  |  | Enter an ID | Choose one | Choose one |  | Choose one |  |  |  |  | Choose one | [5 empty] | Choose one
Total charge all equipment being replaced |  | (lb) | 301 |  | Enter an ID | Choose one | Choose one |  | Choose one |  |  |  |  | Choose one | [5 empty] | Choose one
[5 empty] | Enter an ID | Choose one | Choose one |  | Choose one |  |  |  |  | Choose one | [5 empty] | Choose one
About the facility |  |  |  |  | Enter an ID | Choose one | Choose one |  | Choose one |  |  |  |  | Choose one | [5 empty] | Choose one
One Stop Grocery, LLC has a medium-temperature compressor rack system using R-404a that cools 83 linear feet of cases and a 10x12x10 walk in cooler. The rack system has a full charge of 301 lbs. They are proposing to replace the rack system with eight 4-door self-contained, air cooled, cases using propane, and a self-contained unit using R-290 for the walk-in. They are replacing 100% of the rack system with natural refrigerants so it's a full conversion. The existing compressor rack system is not integrated with an HVAC system. Designating the existing centralized DX system as #1 tells us the same system (the central DX) is being replaced with a couple different types of equipment. Each new self-contained case uses .27 lbs of refrigerant. The length of new cases will total 87 ft. The self-contained unit for the walk-in has 4.4 oz of refrigerant. The size of the walk-in will remain the same at 1,200 ft3. |  |  |  |  | Enter an ID | Choose one | Choose one |  | Choose one |  |  |  |  | Choose one | [5 empty] | Choose one
[5 empty] | Enter an ID | Choose one | Choose one |  | Choose one |  |  |  |  | Choose one | [5 empty] | Choose one
[5 empty] | Enter an ID | Choose one | Choose one |  | Choose one |  |  |  |  | Choose one | [5 empty] | Choose one
[5 empty] | Enter an ID | Choose one | Choose one |  | Choose one |  |  |  |  | Choose one | [5 empty] | Choose one
[5 empty] | Enter an ID | Choose one | Choose one |  | Choose one |  |  |  |  | Choose one | [5 empty] | Choose one
[5 empty] | Enter an ID | Choose one | Choose one |  | Choose one |  |  |  |  | Choose one | [5 empty] | Choose one
[5 empty] | Enter an ID | Choose one | Choose one |  | Choose one |  |  |  |  | Choose one | [5 empty] | Choose one
[5 empty] | Enter an ID | Choose one | Choose one |  | Choose one |  |  |  |  | Choose one | [5 empty] | Choose one
[5 empty] | Enter an ID | Choose one | Choose one |  | Choose one |  |  |  |  | Choose one | [5 empty] | Choose one
Note on Q6: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: I added the description of the proposed system.

## Example cold storage
Natural refrigerants in retail food refrigeration and cold storage
Section B. System inputs (Example, cold storage) |  |  |  |  | Project Type |  | Existing System | [6 empty] | Proposed System | [9 empty] | Applicant notes (optional)
Enter all information requested for each system. See the definitions, refrigerant examples, and project example tabs. |  |  |  |  | System reference ID | Type of conversion | Type of existing system | If you selected "other" existing system, please describe: | HVAC-R system? | Refrigeration only: Name of refrigerant | Refrigeration only: Refrigerant charge | Name of HVAC refrigerant | HVAC refrigerant charge | Type of proposed system | If you selected "other" existing system, please describe: | Number of identical primary refrigeration systems | Name of primary refrigerant | Primary refrigerant charge, per system |  | Name of secondary refrigerant | If you selected "other" secondary refrigerant, please describe: | Secondary refrigerant charge |  | Is there anything else you would like us to know about the equipment or project?
Facility information |  |  |  |  | One ID per unique existing system (e.g. 1, 2, 3) | Partial or full | Select from the drop-down |  | (Yes/No) | See 'refrigerant examples' tab | (lb) | See 'refrigerant examples' tab | (lb) | Select from the drop-down |  |  | See 'refrigerant examples' tab | (lb) | (oz) | Cascade or secondary loop systems only |  | (lb) | (oz)
Organization name | Reliable Storage |  |  |  | ID# 1 | Full conversion | Central plant (direct system) |  | No | R-404a | 1240 |  |  | Central plant (direct system) |  | 1 | Carbon dioxide | 1450 |  | Choose one
Project location address | 123 Main St, International Falls, MN |  |  |  | Enter an ID | Choose one | Choose one |  | Choose one |  |  |  |  | Choose one | [5 empty] | Choose one
Facility type | Cold storage |  |  |  | Enter an ID | Choose one | Choose one |  | Choose one |  |  |  |  | Choose one | [5 empty] | R-717 (Ammonia) |  | 2
[5 empty] | Enter an ID | Choose one | Choose one |  | Choose one |  |  |  |  | Choose one | [5 empty] | Choose one
|  |  | Existing systems being replaced | Proposed systems | Enter an ID | Choose one | Choose one |  | Choose one |  |  |  |  | Choose one | [5 empty] | Choose one
Linear feet of cases |  | (ft) | 0 | 0 | Enter an ID | Choose one | Choose one |  | Choose one |  |  |  |  | Choose one | [5 empty] | Choose one
Cubic feet of walk-in |  | (ft3) | 0 | 0 | Enter an ID | Choose one | Choose one |  | Choose one |  |  |  |  | Choose one | [5 empty] | Choose one
Cold storage only: Cooling load |  | (ton) | 50 | 50 | Enter an ID | Choose one | Choose one |  | Choose one |  |  |  |  | Choose one | [5 empty] | Choose one
Total charge all equipment being replaced |  | (lb) | 800 |  | Enter an ID | Choose one | Choose one |  | Choose one |  |  |  |  | Choose one | [5 empty] | Choose one
[5 empty] | Enter an ID | Choose one | Choose one |  | Choose one |  |  |  |  | Choose one | [5 empty] | Choose one
About the facility |  |  |  |  | Enter an ID | Choose one | Choose one |  | Choose one |  |  |  |  | Choose one | [5 empty] | Choose one
Reliable Storage's existing system is a custom built, central plant using 1,240 lbs of R-404a. They would like to upgrade the system and install a system using carbon dioxide. Since they are replacing 100% of the central plant, it's a full conversion. They anticipate the full charge for the new system will be 1,450 lbs of CO2. The existing refrigeration system isn't integrated with the HVAC system. The cooling load ton will remain the same at 50 tons. |  |  |  |  | Enter an ID | Choose one | Choose one |  | Choose one |  |  |  |  | Choose one | [5 empty] | Choose one
[5 empty] | Enter an ID | Choose one | Choose one |  | Choose one |  |  |  |  | Choose one | [5 empty] | Choose one
[5 empty] | Enter an ID | Choose one | Choose one |  | Choose one |  |  |  |  | Choose one | [5 empty] | Choose one
[5 empty] | Enter an ID | Choose one | Choose one |  | Choose one |  |  |  |  | Choose one | [5 empty] | Choose one
[5 empty] | Enter an ID | Choose one | Choose one |  | Choose one |  |  |  |  | Choose one | [5 empty] | Choose one
[5 empty] | Enter an ID | Choose one | Choose one |  | Choose one |  |  |  |  | Choose one | [5 empty] | Choose one
[5 empty] | Enter an ID | Choose one | Choose one |  | Choose one |  |  |  |  | Choose one | [5 empty] | Choose one
[5 empty] | Enter an ID | Choose one | Choose one |  | Choose one |  |  |  |  | Choose one | [5 empty] | Choose one
[5 empty] | Enter an ID | Choose one | Choose one |  | Choose one |  |  |  |  | Choose one | [5 empty] | Choose one

## Example retail_part conversion
Natural refrigerants in retail food refrigeration and cold storage
Section 2. System inputs (Example retail, partial conversion) |  |  |  |  | Project Type |  | Existing System | [6 empty] | Proposed System | [9 empty] | Applicant notes (optional)
Enter all information requested for each system. See the definitions, refrigerant examples, and project example tabs. |  |  |  |  | System reference ID | Type of conversion | Type of existing system | If you selected "other" existing system, please describe: | HVAC-R system? | Refrigeration only: Name of refrigerant | Refrigeration only: Refrigerant charge | Name of HVAC refrigerant | HVAC refrigerant charge | Type of proposed system | If you selected "other" existing system, please describe: | Number of identical primary refrigeration systems | Name of primary refrigerant | Primary refrigerant charge, per system |  | Name of secondary refrigerant | If you selected "other" secondary refrigerant, please describe: | Secondary refrigerant charge |  | Is there anything else you would like us to know about the equipment or project?
Facility information |  |  |  |  | One ID per unique existing system (e.g. 1, 2, 3) | Partial or full | Select from the drop-down |  | (Yes/No) | See 'refrigerant examples' tab | (lb) | See 'refrigerant examples' tab | (lb) | Select from the drop-down |  |  | See 'refrigerant examples' tab | (lb) | (oz) | Cascade or secondary loop systems only |  | (lb) | (oz)
Organization name | Sir Eatsalot Grocery |  |  |  | System A | Partial conversion | Centralized DX system |  | No | R-507A | 800 |  |  | Cascade system |  | 1 | R-507A | 400 |  | R-744 (Carbon dioxide) |  | 200
Project location address | 123 Main St, Two Harbors, MN |  |  |  | Enter an ID | Choose one | Choose one |  | Choose one |  |  |  |  | Choose one | [5 empty] | Choose one
Facility type | Retail food refrigeration |  |  |  | Enter an ID | Choose one | Choose one |  | Choose one |  |  |  |  | Choose one | [5 empty] | R-717 (Ammonia) |  | 2
[5 empty] | Enter an ID | Choose one | Choose one |  | Choose one |  |  |  |  | Choose one | [5 empty] | Choose one
|  |  | Existing systems being replaced | Proposed systems | Enter an ID | Choose one | Choose one |  | Choose one |  |  |  |  | Choose one | [5 empty] | Choose one
Linear feet of cases |  | (ft) | 110 | 120 | Enter an ID | Choose one | Choose one |  | Choose one |  |  |  |  | Choose one | [5 empty] | Choose one
Cubic feet of walk-in |  | (ft3) | 0 | 0 | Enter an ID | Choose one | Choose one |  | Choose one |  |  |  |  | Choose one | [5 empty] | Choose one
Cold storage only: Cooling load |  | (ton) |  |  | Enter an ID | Choose one | Choose one |  | Choose one |  |  |  |  | Choose one | [5 empty] | Choose one
Total charge all equipment being replaced |  | (lb) | 800 |  | Enter an ID | Choose one | Choose one |  | Choose one |  |  |  |  | Choose one | [5 empty] | Choose one
[5 empty] | Enter an ID | Choose one | Choose one |  | Choose one |  |  |  |  | Choose one | [5 empty] | Choose one
About the facility |  |  |  |  | Enter an ID | Choose one | Choose one |  | Choose one |  |  |  |  | Choose one | [5 empty] | Choose one
Sir Eatsalot Grocery has a direct expansion system using R-507A for its frozen food cases. It's current charge size is 800 lbs. 110 linear ft of existing cases would be replaced. The system isn't connected to any walk-ins. They plan to install a secondary loop system that will use CO2. Because it's an indirect system (e.g. secondary loop) replacing some, but not all, of the existing refrigerant, it's a partial conversion. They will continue to use some of their existing refrigerant, 507a, as the primary refrigerant, but will be able to reduce the amount to 400 lbs. The secondary refrigerant, CO2, will have a 200 lb charge. The new casing will measure 120 linear feet. |  |  |  |  | Enter an ID | Choose one | Choose one |  | Choose one |  |  |  |  | Choose one | [5 empty] | Choose one
[5 empty] | Enter an ID | Choose one | Choose one |  | Choose one |  |  |  |  | Choose one | [5 empty] | Choose one
[5 empty] | Enter an ID | Choose one | Choose one |  | Choose one |  |  |  |  | Choose one | [5 empty] | Choose one
[5 empty] | Enter an ID | Choose one | Choose one |  | Choose one |  |  |  |  | Choose one | [5 empty] | Choose one
[5 empty] | Enter an ID | Choose one | Choose one |  | Choose one |  |  |  |  | Choose one | [5 empty] | Choose one
[5 empty] | Enter an ID | Choose one | Choose one |  | Choose one |  |  |  |  | Choose one | [5 empty] | Choose one
[5 empty] | Enter an ID | Choose one | Choose one |  | Choose one |  |  |  |  | Choose one | [5 empty] | Choose one
[5 empty] | Enter an ID | Choose one | Choose one |  | Choose one |  |  |  |  | Choose one | [5 empty] | Choose one
[5 empty] | Enter an ID | Choose one | Choose one |  | Choose one |  |  |  |  | Choose one | [5 empty] | Choose one

## Data validation (hidden)
Facility type | Project Type | Existing System Type | HVAC-R System? (Yes/No) | Proposed System Type | Proposed secondary refrigerant | Units for refrigerant charge (lb or oz)
Choose one | Choose one | Choose one | Choose one | Choose one | Choose one | Choose one
Retail food refrigeration | Full conversion | Centralized DX system | Yes | Cascade system | R-170 (Ethane) | lb
Cold storage | Partial conversion | Remote condensing unit | No | Centralized DX system | R-290 (Propane) | oz
|  | Packaged system |  | Central plant (direct system) | R-600a (Isobutane)
|  | Central plant (direct system) |  | Micro-distributed system with water loop | R-717 (Ammonia)
|  | Other, please describe. |  | Packaged system | R-718 (Water)
|  |  |  | Remote condensing unit | R-729 (Air)
|  |  |  | Secondary loop system | R-744 (Carbon dioxide)
|  |  |  | Self contained cases (no water loop) | Glycol
|  |  |  | Other, please describe. | Other, please name:
Note on L3: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Removed pentane (R-601) as an option because I didn’t see it as a snap approved substitute for retail food systems, cold storage warehouses, residential refrigerators, chillers, or a couple other categories.