|  | Monthly walkthrough inspection form Underground Storage Tanks (UST) Program Doc Type: Compliance Certification |
| --- | --- |

Purpose: This form is to be used to document the monthly walkthrough inspections.

## Facility information

| Facility name: |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Facility address: |  |  |  |  |  | Facility ID#: |  |  |  |
| City: |  |  |  | State: |  |  | Zip code: |  |  |

## Testing information

| 1. Tank number |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| 2. Product stored |  |  |  |  |  |  |
| 3. Tank volume, gallons |  |  |  |  |  |  |
| Spill buckets |  |  |  |  |  |  |
| 4. Is the spill bucket cover in good condition? | Yes No | Yes No | Yes No | Yes No | Yes No | Yes No |
| 5. Is the spill bucket free of fuel, water or debris? | Yes No | Yes No | Yes No | Yes No | Yes No | Yes No |
| 6. Is the spill bucket free of cracks, holes, bulges, or other defects? | Yes No | Yes No | Yes No | Yes No | Yes No | Yes No |
| 7. Is the riser cap secure and in good condition? | Yes No | Yes No | Yes No | Yes No | Yes No | Yes No |
| 8. Is the drop tube free of obstructions? | Yes No | Yes No | Yes No | Yes No | Yes No | Yes No |
| 9. If the spill bucket is double-walled is the interstice free of leaks? | Yes No NA | Yes No NA | Yes No NA | Yes No NA | Yes No NA | Yes No NA |
| 10. If “No” answered for any line from 4-9 have corrective actions been completed?* | Yes No NA | Yes No NA | Yes No NA | Yes No NA | Yes No NA | Yes No NA |
| Dispensers |  |  |  |  |  |  |
| 11. Is the dispenser sump free of fuel, water or debris? | Yes No | Yes No | Yes No | Yes No | Yes No | Yes No |
| 12. Is the dispenser sump free of cracks, holes, bulges, or other defects? | Yes No NA | Yes No NA | Yes No NA | Yes No NA | Yes No NA | Yes No NA |
| 13. Are the piping, flexible connectors and meters free of leaks or seeps? | Yes No | Yes No | Yes No | Yes No | Yes No | Yes No |
| 14. Is hanging hardware free of leaks or seeps? | Yes No | Yes No | Yes No | Yes No | Yes No | Yes No |
| 15. If the dispenser sump is double-walled is the interstice free of leaks? | Yes No NA | Yes No NA | Yes No NA | Yes No NA | Yes No NA | Yes No NA |
| 16. Are shear valves securely anchored? | Yes No | Yes No | Yes No | Yes No | Yes No | Yes No |
| 17. If “No” answered for any line from 11-16 have corrective actions been completed?* | Yes No NA | Yes No NA | Yes No NA | Yes No NA | Yes No NA | Yes No NA |
| Submersible turbine pump sumps |  |  |  |  |  |  |
| 18. Is the STP sump free of fuel, water or debris? | Yes No | Yes No | Yes No | Yes No | Yes No | Yes No |
| 19. Is the STP sump free of cracks, holes, bulges or other defects? | Yes No NA | Yes No NA | Yes No NA | Yes No NA | Yes No NA | Yes No NA |
| 20. Are the STP components, piping and flexible connectors free of leaks or seeps? | Yes No | Yes No | Yes No | Yes No | Yes No | Yes No |
| 21. If the STP sump is double-walled is the interstice free of leaks? | Yes No NA | Yes No NA | Yes No NA | Yes No NA | Yes No NA | Yes No NA |
| 22. If “No” answered for any line from 18-21 have corrective actions been completed?* | Yes No NA | Yes No NA | Yes No NA | Yes No NA | Yes No NA | Yes No NA |

| Release detection equipment |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| 23. Is the release detection equipment operating with any alarms? | Yes No | Yes No | Yes No | Yes No | Yes No | Yes No |
| 24. Is the release detection equipment operating with any unusual operating conditions? | Yes No | Yes No | Yes No | Yes No | Yes No | Yes No |
| 25. Do release detection records indicate a passing test? | Yes No | Yes No | Yes No | Yes No | Yes No | Yes No |
| 26. Are release detection records current? | Yes No | Yes No | Yes No | Yes No | Yes No | Yes No |
| 27. Is the gauging stick in good condition? | Yes No NA | Yes No NA | Yes No NA | Yes No NA | Yes No NA | Yes No NA |
| 28. Has the UST been checked for the presence of water? | Yes No | Yes No | Yes No | Yes No | Yes No | Yes No |
| 29. What is the level of water in the UST? |  |  |  |  |  |  |
| 30. If Yes answered for lines 23 – 24 or No answered for lines 25 – 28, have corrective actions been completed?* | Yes No NA | Yes No NA | Yes No NA | Yes No NA | Yes No NA | Yes No NA |

*Describe corrective actions taken in the comments section.

Comments:

| Company: |  |  | Print Inspectors name: |  |  |
| --- | --- | --- | --- | --- | --- |
| Date (mm/dd/yyyy): |  |  | Signature: |  |  |