|  | Class B Operator Checklist Underground Storage Tank Program Doc Type: Regulated Party Response |
| --- | --- |

## Instructions:  Each month the designated Class B Operator is required to validate the following requirements have been met. You can attach records to the back of this report as necessary. This checklist is meant to be used as a guideline for Class B Operators; other formats may also be used.

## Facility Information

| Facility name: |  |  |  |  |  |  |  | Date performed:: |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Facility address: |  |  |  |  |  |  |  |  |  |  |  |
| City: |  |  |  | State: |  |  | Zip code: |  |  |  |  |
| Designated Class B Operator: |  |  |  |  |  | Date passed exam: |  |  |  |  |  |
| Class B Operator signature: |  |  |  |  |  | Phone: |  |  |  |  |  |

| ## Tank Release Detection |  | Yes | No | N/A |
| --- | --- | --- | --- | --- |
| Type (check all that apply): ATG SIR Manual Interstitial monitoring |  |  |  |  |
| 1. Has a passing result been obtained at least once this month? |  |  |  |  |
| 2. Have any inconclusive tests been investigated? |  |  |  |  |
| 3. Has interstitial sensor been tested at least annually? |  |  |  |  |
| 4. Have failed result been reported to the State Duty Officer? |  |  |  |  |
| 5. Have release detection results been maintained for ten years? |  |  |  |  |
| Piping Release Detection |  | Yes | No | N/A |
| Type (check all that apply): Pressurized Suction None |  |  |  |  |
| 6. Has the annual line leak detector function test been performed? |  |  |  |  |
| Contractor and date performed: |  |  |  |  |
| 7. If using a sump sensor, have alarms been investigated? |  |  |  |  |
| 8. Has interstitial (sump) sensor been tested at least annually? |  |  |  |  |
| 9. Have pressurized lines been tightness tested at least annually? |  |  |  |  |
| Contractor and date performed: |  |  |  |  |
| 10. Have release detection results been maintained for ten years? |  |  |  |  |
| Other Release Detection |  | Yes | No | N/A |
| 11. Have tank and dispenser sumps been checked at least monthly? |  |  |  |  |
| 12. Was water/product/debris properly removed and disposed of? |  |  |  |  |
| 13. Has sump sensor been tested at least annually? |  |  |  |  |
| 14. Have spills been reported to the State Duty Officer? |  |  |  |  |
| 15. Have logs of sump checks been retained for at least ten years? |  |  |  |  |
| Spill and Overfill Prevention |  | Yes | No | N/A |
| 16. Are spill buckets properly functioning? |  |  |  |  |
| 17. Is overfill device in place and properly functioning? |  |  |  |  |

| Cathodic Protection |  | Yes | No | N/A |
| --- | --- | --- | --- | --- |
| Type (check all that apply): Sacrificial notes Impressed current Lined None |  |  |  |  |
| 18. Is cathodic protection on tanks in place and operating properly? |  |  |  |  |
| 19. Is cathodic protection on piping in place and operating properly? |  |  |  |  |
| 20. Impressed current – rectifier been checked property every 60 days? |  |  |  |  |
| Including recording amps and volts. |  |  |  |  |
| 21. Has cathodic protection testing been conducted as appropriate? |  |  |  |  |
| Contractor date of test: |  |  |  |  |
| 22. Have cathodic protection tests been submitted to the MPCA? |  |  |  |  |
| 23. Have cathodic protection test results been retained? |  |  |  |  |
| 24. Have repairs to cathodic protection been retested within six months? |  |  |  |  |
| Operator Training Records |  | Yes | No | N/A |
| 25. Have all Class C operators been trained? |  |  |  |  |

Comments and items requiring follow-up action: