Documenting Hazardous Waste Container Inspections

All hazardous waste generators in Minnesota must inspect containers holding hazardous waste at their site every calendar week and keep records of the inspections. Though satellite accumulation containers located at the point where the waste is generated are an exception to this requirement, to protect employees and minimize spill risks, the Minnesota Pollution Control Agency (MPCA) recommends that these containers also be included in a site’s hazardous waste container inspections. For more information regarding hazardous waste accumulation and containers, see MPCA fact sheet #w-hw1-04-05, Label and Store Hazardous Waste at: http://www.pca.state.mn.us/publications/w-hw1-04-05.pdf.

You may document your container inspections using any reasonable method; however this fact sheet contains one suggested format for container inspection records and minimum necessary information to include in them. Inspection records may be kept in hardcopy or electronic format.

Find an electronically fillable version of this record at: http://www.pca.state.mn.us/publications/w-hw2-41.doc.

An easy-printing version is available at: at: http://www.pca.state.mn.us/publications/w-hw2-41.pdf.

More information

Guidance and requirements in this fact sheet were compiled from Minnesota Rules, Chapter 7045. To review Minnesota Rules, visit the Office of the Revisor of Statutes at https://www.revisor.mn.gov/pubs.

Your metropolitan county and the MPCA have staff available to answer waste management questions. For more information, contact your metropolitan county hazardous waste office or your nearest MPCA regional staff. For information about reducing your generation of used oil and related wastes, contact the Minnesota Technical Assistance Program (MnTAP). Report spills of hazardous waste immediately to the Minnesota Duty Officer.

| Metro County Hazardous Waste Offices Anoka 763-422-7093 Carver 952-361-1800 Dakota 952-891-7557 Hennepin 612-348-3777 Ramsey 651-266-1199 Scott 952-496-8475 Washington 651-430-6655 Websites http://www.co.[county].mn.us Minnesota Technical Assistance Program Toll free 1-800-247-0015 Metro 612-624-1300 Website http://www.mntap.umn.edu Small Business Environmental Assistance Toll free 1-800-657-3938 Metro 651-282-6143 Website……….. http://www.pca.state.mn.us/sbeap/ | Minnesota Pollution Control Agency Toll free (all offices) 1-800-657-3864 Brainerd 218-828-2492 Detroit Lakes 218-847-1519 Duluth 218-723-4660 Mankato 507-389-5977 Marshall 507-537-7146 Rochester 507-285-7343 St. Paul 651-296-6300 Willmar 320-214-3786 Website http://www.pca.state.mn.us Minnesota Duty Officer Toll free 1-800-422-0798 Metro 651-649-5451 |
| --- | --- |

- Hazardous Waste Container Inspection Record					(at least once each calendar week)

| - Site name |  |  |  |  | - Site HWID |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| - Site address |  |  |  |  | - Area inspected |  |  |  |
| - Inspection - date | - Inspector - name (print) | - Issues - noted | - Inspector - signature | - Corrective - action |  | - Completion - date |  | - Minimum necessary container & storage area checks: - Any sign of spills/leaks - All containers in good condition (no rust/cracks/damage) - Every container closed with lids/access points fastened (gravity alone is insufficient) - Every container legibly labeled with words ‘Hazardous Waste’ - Every container legibly labeled with clear description of contents - Every containers legibly labeled with the accumulation start date - All containers ‘in date’ for site generator size - Total volume accumulated below limit for site generator size - Aisle space between containers enough to reach all sides - Fire extinguisher in area, tag current, and gauge reading green - Spill kit in area, accessible, and stocked - Eyewash, if required in area, accessible and test tag current - Emergency communication method accessible and working - Secondary containment functional - Incompatible wastes/materials physically separated - Outdoor storage secured and roofed (not tarped) |

- For detailed hazardous waste container requirements, see MPCA fact sheet #w-hw1-04-05, Label and Store Hazardous Waste at: http://www.pca.state.mn.us/publications/w-hw1-04-05.pdf.