|  | Gas management plan checklist Solid Waste Permit Program Doc Type: Permit Application |
| --- | --- |

Instructions:  This checklist walks through the mandatory components of a gas management plan. A gas management plan is an essential part of the permit application.

Instructions for completing a gas management plan:

Applicants must submit a gas management plan. A complete gas management plan includes this checklist, information required in this checklist, and the entirety of any document the applicant may choose to reference. Information required in this checklist is extensive and must be discussed in depth. Do not provide outdated information.

Applicants should thoroughly review all applicable rules, statutes and guidance documents for further details and requirements. Minnesota rules can be found at https://www.revisor.mn.gov/rules/, Minnesota statutes can be found at https://www.revisor.mn.gov/statutes/, and Minnesota Pollution Control Agency (MPCA) guidance can be found at https://www.pca.state.mn.us/business-with-us/solid-waste-permits.

Applicants should discuss all applicable MPCA guidance documents and include justification if the facility does not follow the guidance provided.

Applicants must address each item in the checklist and record the discussion’s location in the first column below. Do not leave blanks. If the rule does not apply, write “n/a” for “not applicable.”

Applicants must submit the gas management plan via Online Services located at https://www.pca.state.mn.us/about-mpca/online-services. Acceptable file formats are Adobe PDF (.pdf) or Microsoft Word Documents (.doc and .docx).

Name the plan using the facility’s permit number and name. For example: SW-405 St. Louis Co. Gas management plan.

| Document page number(s) | Minnesota Rules (Minn. R.) citation | Minnesota Rule requirement | MPCA use only: Technical review |
| --- | --- | --- | --- |
|  | 7035.2815, subp. 11 | Describe how the gas monitoring, collection, and treatment system will prevent the concentration of any explosive gas from exceeding: its lower explosion limit at the property boundary; and 25 percent of its lower explosion limit in and around facility structures or any other on-site monitoring point. |  |
|  | 7035.2815, subp. 11(A) | Describe how the gas monitoring system will be capable of monitoring gas build-up in a facility structure and at the property boundary. |  |
|  | 7035.2815, subp. 11(A) | Include a statement to follow the established monitoring requirements (including water quality parameters that indicate gas migration) in the permit, closure document, order, or stipulation agreement. |  |
|  | 7035.2815, subp. 11(A) | Describe how the following monitoring methods will be conducted: field inspection to detect odors and signs of vegetative stress; and portable or in-place probes to monitor explosive gases. |  |
|  | 7035.2815, subp. 11(B) | Indicate where the gas monitoring probes are placed. Probes must be placed: between the disposal site and on-site structures or property lines; no closer to the property line than the compliance boundary defined in Minn. R. 7035.2815, subp. 4(C), to allow for installation of control measures. |  |
|  | 7035.2815, subp. 11(B) | Describe the need for monitoring probes based on the waste characteristics, fill size, surrounding soils, water table, and proximity to occupied buildings. If it is believed monitoring probes are unnecessary or infeasible, describe the reasons to support this belief. |  |
|  | 7035.2815, subp. 11(C) | Describe how the probe depths and locations are based on the soils, site geology, depth of fill, water table, and depth of frost. |  |
|  | 7035.2815, subp. 11(D) | Design and construct the necessary number and placement of gas vents to release gas pressure in the fill area to prevent ruptures of the cover system and to encourage vertical gas migration. |  |
|  | 7035.2815, subp. 11(E) | Describe how the gas control system extends below the facility to the water table or to a subsurface soil capable of impeding the movement of gas. |  |
|  | 7035.2815, subp. 11(E) | Indicate where the gas control system is located. The gas control system must be adjacent to the fill area. |  |
|  | 7035.2815, subp. 11(F) | Describe how the size of the gas collection system is based on the volume and type of waste to be received at the site. |  |
|  | 7035.2815, subp. 11(F) | Determine the need for a gas collection system and discuss in the engineering report how the need was determined. The determination will be reviewed during the permit review process and again at closure. |  |
|  | 7035.2815, subp. 11(G) | Describe how the gas monitoring program will: include sampling and analysis for the amount and type of gas generated; account for variation in gas generation and migration due to climatic conditions; account for variation in the amount of waste in place at the facility and the length of time the waste has been in place. |  |
|  | 7035.2815, subp. 11(G) | Include the monitoring program in the operations manual for the facility, detailing the techniques to be used to monitor gas at the site. |  |