|  | SWPPP Template for Feedlot Construction Activities Stormwater Pollution Prevention Plan (SWPPP) Doc Type: Stormwater Pollution Prevention Plan |
| --- | --- |

## Instructions:  All feedlot construction that disturbs one or more acres must develop a SWPPP. This Stormwater Pollution Prevention Plan (SWPPP) Template is intended to provide a means for feedlot construction sites to comply with the General Stormwater Permit for Construction Activity. The Minnesota General Stormwater Permit for Construction Activity (MN R100001) available is from Minnesota Pollution Control Agency (MPCA) website at http://www.pca.state.mn.us/water/stormwater/index.html.

## Construction at my feedlot does not include land disturbing activities, or disturbs less than one acre of land; therefore, a SWPPP is not required. (Completion of this form is not required if checked)

## Note: 	Applications for NPDES feedlot permits using the online application system require the inclusion of a SWPPP even though it may not technically be required. To satisfy that requirement upload this page of the SWPPP template with the above box checked.

- General construction activity information

| Project name: |  |  |  |  |  |  |  |  |  |  | Registration Number: |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Project location: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| County: |  |  |  | Township: |  |  |  |  |  |  |  |  |  | Section: |  |  |  |  | ¼ Sect.: |  |  |
| Total number of acres to be disturbed: |  |  |  |  |  |  | (tenths of an acre) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Estimated construction start date: |  |  |  |  |  |  |  |  | Estimated construction end date: |  |  |  |  |  |  |  |  |  |  |  |  |
| Pre-construction acres of impervious surface: |  |  |  |  |  |  |  |  |  | (tenths of an acre) |  |  | Examples of impervious surface include: |  |  |  |  |  |  |  |  |
| Post-construction acres of impervious surface: |  |  |  |  |  |  |  |  |  | (tenths of an acre) |  |  | - Parking lots - Rooftops - Driveways |  |  |  |  | - Other concrete, asphalt, or gravel areas |  |  |  |
| Total new impervious surface acres (Post – Pre): |  |  |  |  |  |  |  |  |  | (tenths of an acre) |  |  |  |  |  |  |  |  |  |  |  |

- Receiving waters

List all waters within one mile (nearest straight line distance) that are likely to receive stormwater runoff from the project site either during or after construction:

Receiving waters within one mile of project property edge:

| ## Water body ID1 | ## Name of water body | ## Type (ditch, pond, wetland, fen, lake, stream, river) | ## Special water?1 (See Stormwater Permit Appendix A) | ## Impaired Water?1,2 (See Stormwater Permit Appendix A) |
| --- | --- | --- | --- | --- |
|  |  |  | ## Yes No | ## Yes No |
|  |  |  | ## Yes No | ## Yes No |
|  |  |  | ## Yes No | ## Yes No |
|  |  |  | ## Yes No | ## Yes No |

1 	Water body ID and special and impaired waters information can be obtained with the Construction Stormwater Special Waters search tool available on the MPCA website at: http://pca-gis02.pca.state.mn.us/CSW/index.html.

2 	Impaired water for the following pollutant(s) or stressor(s): phosphorus, turbidity, dissolved oxygen, or biotic impairment

Wetland impacts:

Will construction result in any potential adverse impacts to wetlands, including excavation, degradation of water quality, draining, filling, permanent inundation or flooding, conversion to a stormwater pond?     Yes    No

If yes, describe below impacts and mitigation measures that will be taken to address the impacts and attach to this SWPPP, copies of permits or approvals from an official state wide wetland program issued specifically for this project or site:

- Project plans and maps

Attach to this SWPPP site maps and/or plan sheets that depict the following features:

- The project location and construction limits.

- Location and type of all receiving waters, including wetlands, drainage ditches, stormwater ponds or basins, etc. that will receive runoff from the project. Use arrows showing the direction of flow and distance to the water body.

- Existing and final grades, including dividing lines and direction of flow for all pre and post-construction stormwater runoff drainage areas located within the project limits.

- Soil types at the site.

- Locations of impervious surfaces.

- Locations of areas not to be disturbed (e.g., buffer zones, wetlands, etc.).

- Steep slope locations.

- Locations of areas where construction will be phased to minimize duration of exposed soils.

- Locations of all temporary and permanent erosion and sediment controls.

- Standard details for erosion and sediment control Best Management Practices (BMPs) to be installed at the site.

- Portions of the site that drain to a public water with Minnesota Department of Natural Resources (DNR) work in water restrictions for fish spawning timeframes.

- Locations of Buffer zones.

- Locations of potential pollution-generating activities.

- Temporary erosion prevention practices

Indicate/describe the types of temporary erosion prevention BMPs expected to be implemented on this site during construction:

| Check dams Rip rap Construction phasing Vegetative buffers Terracing Erosion blankets Minimize soil disturbance |  |
| --- | --- |
| Other (Describe): |  |
| Describe below installation techniques, procedures, and timelines for implementation of erosion prevention practices (Include estimated quantity of materials): |  |

- Temporary sediment control practices

Indicate/describe the methods of sediment control BMPs to be implemented at this site during construction to minimize sediment impacts to surface waters, including tile intakes:

| Silt fence Rock construction entrance Vegetative buffers Fiber logs Construction phasing Minimize soil disturbance/compaction |  |
| --- | --- |
| Other (Describe): |  |
| Describe below installation techniques, procedures, and timelines for implementation of temporary sediment control practices (Include estimated quantity of materials): |  |

Dewatering:

Describe below measures to be used to treat/dispose of turbid or sediment-laden water and method to prevent erosion or scour of discharge points when dewatering is required at the site:

Temporary sediment basin:

When the project includes 10 or more acres draining to a common location (5 acres or more if the site is within 1 mile of a special or impaired water) a temporary sediment basin required. Attach to this SWPPP plans for design and construction of the basin.

- Permanent stormwater management system

When the project results in one acre or more acres of new impervious surfaces a permanent stormwater management system is required. Indicate which option will be employed at the facility:

Option 1: 	A water quality volume of one inch of runoff from the cumulative new impervious surfaces will be collected and contained within a permitted feedlot component such as a liquid manure storage area or vegetated infiltration area.

Option 2: A separate stormwater management system will be constructed and will account for the following:

- a water quality volume of one inch of runoff from the cumulative new impervious surfaces must be retained on site through infiltration unless site specific circumstances are not favorable for the use of infiltration. 
Common instances when infiltration is not favorable include:

  - Karst susceptibility

  - High water table

  - Soils with large clay content (i.e., 60%+)

  - Soils in hydrologic group D

- If infiltration of stormwater is not favorable, identify the alternative method to handle stormwater:

| Sedimentation Basin Filtration Combination of Practices |  |
| --- | --- |
| Other (Describe): |  |

- Attach design parameters for the planned permanent stormwater management system, including

  - location

  - basin depth

  - volume calculations

  - design of pre-treatment devices

  - outlet configurations

  - discharge rate calculation

  - timing of installation

For more design information consult the Minnesota Stormwater Manual on the MPCA website at http://stormwater.pca.state.mn.us/index.php/Main_Page.

- For infiltration or filtration systems attach information about soil type and distance to the seasonal water table or bedrock (from bottom of the basin) in the location of the infiltration or filtration system.

- For projects that discharge to trout streams, including tributaries to trout streams, attach a method of incorporating temperature controls into the permanent stormwater management system:

- Additional considerations (as applicable)

Impaired waters:

Attach to this SWPPP any additional BMPs or other specific construction related implementation activities identified in an approved Total Maximum Daily Load and Waste Load Allocations.

Special waters:

Describe below any additional stormwater mitigation measures that will be implemented when discharge is to special waters:

Environmental review:

Describe below any stormwater mitigation measures that will be implemented, as a result of an environmental review, endangered or threatened species review or archeological site review:

Karst:

Describe below any additional (or different) stormwater management measures required for karst or drinking water supply management areas to protect groundwater standards:

- Pollution prevention management measures

Indicate/describe practices for storage and disposal of the following to minimize exposure to stormwater:

- solid waste

- pesticides, herbicides, insecticides, fertilizers, treatment chemical, and landscape materials

- hazardous materials or toxic waste (e.g., oil, fuel, hydraulic fluids, paint solvents, petroleum-based products, wood preservative, additives, curing compounds, and acids)

- building products with a potential to leach pollutants

| Store in areas protected from precipitation and dispose of materials in accordance with applicable rules and regulations |  |
| --- | --- |
| Other (Describe): |  |

Sanitary wastes

Indicate/describe management of sanitary wastes:

| Temporary facilities will be used and waste disposed of in accordance with applicable rules and regulations and the facilities will be located away from the active construction area to minimize accidental tipping by equipment. |  |
| --- | --- |
| Existing permanent facilities currently exist at/near the construction site and will be available to construction personnel |  |
| Other (Describe): |  |

Vehicle Wastes

Wastes related to vehicles will be handled as follows:

- Materials will be on hand to minimize effects from spills related to re-fueling of equipment. Spills will be cleaned up promptly and reported to the Minnesota Duty Officer as required.

- Runoff from exterior vehicle washing will be routed to in-place control structures. No engine de-greasing will take place.

Concrete washout

Concrete washout will take place in accordance with the guidance provided in the MPCA’s concrete, paint, stucco, and other washout guidance facsheet available at http://www.pca.state.mn.us/index.php/view-document.html?gid=7397.

- Inspections and Records

Construction BMPs:

Identify the trained* individual(s) responsible for installing, supervising, repairing, inspecting, and maintaining erosion prevention and sediment control BMPs at the site:

| Company name: |  |  |  | Site contact: |  |
| --- | --- | --- | --- | --- | --- |
| Phone: |  |  | Email: |  |  |

* Attach training documentation

Permanent stormwater management system:

Identify individual(s) responsible for operation and maintenance of permanent stormwater controls at the site:

Feedlot operator     Other:

| Company name: |  |  |  | Site contact: |  |
| --- | --- | --- | --- | --- | --- |
| Phone: |  |  | Email: |  |  |

Inspections procedures and recordkeeping

All inspections and record keeping procedures will follow the requirements specified in the Minnesota General Stormwater Permit for Construction Activity (MN R100001).

- Final Stabilization

Indicate/describe the methods of final stabilization to be implemented following completion of construction activites:

| Uniform perennial vegetative cover (70% of expected final growth before removal of temporary measures) Permanent stormwater controls are installed and functional (if system is required required) |  |
| --- | --- |
| Other (Describe): |  |