|  | Industrial Stormwater Inspection Checklist NPDES/SDS Industrial Stormwater Permit National Pollutant Discharge Elimination System (NPDES)/ State Disposal System (SDS) Doc Type: Permit Evaluation |
| --- | --- |

## Inspection results    Corrective actions

Instructions:  All regulated industrial facilities must have stormwater permit coverage or certify for No Exposure. Use this inspection checklist guidance document to determine the compliance status of your facility. Corrective actions should be promptly made if the facility is out of compliance. A review of the facility’s Stormwater Pollution Prevention Plan (SWPPP) and this checklist prior to the inspection is recommended. Keep this completed document for your records.

Facility Information

| Facility name: |  | Facility ID no.: |  |
| --- | --- | --- | --- |
| Facility address: |  |
| City: |  | State: | MN | Zip code: |  |
| Owner name: |  | Owner phone number: |  |
| Operator name: |  | Operator phone number: |  |
| Contact name at inspection: |  | Contact phone number: |  |
| Inspection date (mm/dd/yyyy): |  | Time: |  | a.m. p.m. |
| Weather conditions: | Clear Rain Partly cloudy Snow |
| Facility conditions: | Dry Runoff Saturated Semi-saturated Frozen |
| Type of inspection: | Complaint Routine Termination Closure Desk review |

| Applicable permit coverage | Y | N | Violation group |
| --- | --- | --- | --- |
| 1.0 Has the facility submitted an NPDES/SDS General Industrial Stormwater Permit Application or for No Exposure exclusion? (Minn. R. 7090.3010) |  |  | If no, see Table 1, Sections 1 and 2. |
| 1.1 Has the facility reviewed their General Permit or No Exposure exclusion application for accuracy? |  |  | If no, go to Facility Updates section |

Permit – See Section A	 No Exposure – See Section B	 Unpermitted facility – See Section C

| Facility updates | Y | N |
| --- | --- | --- |
| Have there been any of the following changes to the facility since your last inspection? |  |  |
| Narrative Activities |  |  |
| Standard Industrial Code(s) (SIC) |  |  |
| Industrial Activities and significant materials |  |  |
| Facility address or contact information |  |  |
| Acreage of Industrial Activities |  |  |
| Discharge location (regulated Municipal Separate Storm Sewer Systems [MS4] discharge or surface water discharge) |  |  |
| Monitoring location(s) |  |  |
| 2.1 If yes, have the changes been submitted to the Minnesota Pollution Control Agency on the Change form? |  |  |

Section A:  Permit Requirements

| SWPPP (Note: See Appendix A on page 8 for a complete SWPPP checklist) | Y | N | Violation group |
| --- | --- | --- | --- |
| 3.0 Does the facility have a SWPPP? |  |  | If no, see Table 1, Section 2. |
| 3.1 Have all industrial activities been properly identified? |  |  | If no, see Table 1, Section 3. |
| 3.2 Does the SWPPP contain: locations of Best Management Practices (BMPs), drains and inlets? |  |  | If no, see Table 1, Section 3. |
| 3.3 Does the permittee have a current facility map detailing, flow direction, BMP identification, and list the direction for the receiving waters from the facility? |  |  | If no, see Table 1, Section 3. |
| 3.4 Are all significant materials identified including pollutants contributed by each significant material? |  |  | If no, see Table 1, Section 3. |
| Inspector comments/corrective actions: |

| BMPs/Control measures | Y | N | Violation group |
| --- | --- | --- | --- |
| 4.0 Has the permittee implemented BMPs to reduce or eliminate exposure of pollutants from its stormwater discharges? |  |  | If no, see Table 1, Section 4. |
| 4.1a Are the BMPs implemented at the facility adequately maintained? |  |  | If no, see Table 1, Section 4. |
| 4.1b Do they appear to be managing industrial stormwater discharges properly? |  |  | If no, see Table 1, Section 4. |
| 4.2 Is the permittee properly conducting and recording inspections? (Once each month with at least one during a runoff event/once per year, depending on sector.) |  |  | If no, see Table 1, Section 4. |
| 4.3 Do inspections records contain all areas of the facility, such as storage, loading, by products, etc.? |  |  | If no, see Table 1, Section 4. |
| 4.4 Were BMPs’ effectiveness /function evaluated? |  |  | If no, see Table 1, Section 4. |
| 4.5 Were BMP maintenance issues being addressed in a timely manner? |  |  | If no, see Table 1, Section 4. |
| 4.6 Are employees trained on stormwater control measures (performing, reviewing, maintaining, etc.) and were this recorded? |  |  | If no, see Table 1, Section 4. |
| Inspector comments/corrective actions: |

| Monitoring | Y | N | Violation group |
| --- | --- | --- | --- |
| 5.0 Is each benchmark monitoring location being monitored for the parameters required by the permit? |  |  | If no, see Table 1, Section 5. |
| 5.1 Are corrective actions/changes being implemented in response to averaged benchmark monitoring exceedances? |  |  | If no, see Table 1, Section 5. |
| 5.2 If applicable, is each effluent monitoring location being monitored for the parameters required by the permit? |  |  | If no, see Table 1, Section 6. |
| 5.3 If applicable, Are corrective actions/changes being implemented in response to the effluent monitoring exceedances? |  |  | If no, see Table 1, Section 6. |
| Inspector comments/corrective actions: |

| Miscellaneous | Y | N | Violation group |
| --- | --- | --- | --- |
| 6.0 Are the sector-specific requirements addressed and included within the SWPPP? (see Part VII of permit) |  |  | If no, see Table 1, Section 1. |
| 6.1 If applicable, are there mobile activities documented within the SWPPP? |  |  | If no, see Table 1, Section 2. |
| 6.2 If applicable, does the facility have a complete mercury minimization plan? |  |  | If no, see Table 1, Section 3. |
| 6.3 If using a benchmark monitoring waiver, is there a demonstration in the SWPPP? |  |  | If no, see Table 1, Section 4. |
| Inspector comments/corrective actions: |

Section B:  Environmental Impact

| Discharges | Y | N | Violation group |
| --- | --- | --- | --- |
| 7.0 Have there been non-stormwater mixed with industrial discharges to the unsaturated zone (infiltration), or to surface water? (see 7.3 below) |  |  | If no, see Table 1, Sections 7, 8, 9, and 10. |
| 7.1 Did site inspection observations or field monitoring results indicate there was evidence that a pollutant was present in surface water, and/or has caused a nuisance condition (discolored water of the state, obnoxious odors, etc.)? |  |  | If yes, see Table 1, Sections 8 and 10. |
| 7.2 For each unpermitted discharge, did the Regulated Party comply with the following: |  |  |  |
| 7.2a Immediately notify the Minnesota Pollution Control Agency? |  |  | If no, see Table 1, Section 10. |
| 7.2b Rapidly and as thoroughly as possible recover discharged material? |  |  | If no, see Table 1, Section 3. |
| 7.2c Take immediate action to minimize and abate pollution of waters of the state? |  |  | If no, see Table 1, Section 10. |
| 7.3 Does the site have a non-stormwater discharge and did the Regulated Party submit plans and receive an NPDES permit from the MPCA prior to commencing the operation (discharge) of a wastewater disposal system? |  |  | If no, see Table 1, Section 11. |
| Inspector comments/corrective actions: |

Section C:  No Exposure Exclusion

| Questions | Example/Notes | Y | N | Violation group |
| --- | --- | --- | --- | --- |
| 8.0 Are regulated activities/ materials exposed to stormwater? | Consider mobility and exposure to rain/snow. |  |  | If yes, see Table 1, Section 1. |
| 8.1 Is machinery or equipment currently being used, stored or cleaned outdoors and unsheltered? | Examples: Equipment or vehicle wash areas, or garbage/waste compactors with leaking hydraulic lines, contents of the compactor leaking onto the ground. |  |  | If yes, see Table 1, Section 1. |
| 8.2 Is there evidence (residuals) of leaks or spills? | Examples: Vehicles needing repair, areas of hydraulic fluid/fuel spillage, including materials or residuals on the ground or in stormwater inlets from spills or leaks. |  |  | If yes, see Table 1, Section 1. |
| 8.3 Are there materials/products or evidence of previous spills or leaks from previous facility owners? | Examples: A new owner takes over a facility and the previous owner had industrial materials/products stored or managed outside. Look for gasoline stains or oil-sodden soil |  |  | If yes, see Table 1, Section 1. |

| Questions | Example/Notes | Y | N | Violation group |
| --- | --- | --- | --- | --- |
| 8.4 Are there any leaking vehicles? Is there any leaking equipment? | Examples: Leaking forklifts, trolleys, automated machinery or any other material handling equipment (except adequately maintained vehicles). |  |  | If yes, see Table 1, Section 1. |
| 8.5 Are products loaded or unloaded outdoors or outside storm-resistant shelters at this facility, including fueling activities? | Examples: Totes, drums, raw materials needed for process (with the potential to have a release into stormwater) or fueling of vehicles and equipment Includes diesel pumps and valve systems which have no exposure). |  |  | If yes, see Table 1, Section 1. |
| 8.6 Are materials or products stored outdoors that are not intended for outdoor use? | Examples: broken or contaminated pallets, coal. Examples of materials intended for outdoor use include but are not limited to: new cars, street signage, culverts, and weather resistant metals. Materials should not have residual oils, hydraulic fluids, or process waste left on them, or able to oxidize (i.e., metals) or soluble in water (i.e., salt). Aggregate materials, such as stockpiled sand and gravel, are considered significant materials Other often- missed significant materials include: salt and sawdust. |  |  | If yes, see Table 1, Section 1. |
| 8.7 Are drums, totes or similar containers stored outdoors that are open, deteriorating or leaking? | Examples: raw materials or intermediate products materials from process or materials contained in open, deteriorated or leaking storage drums, barrels, tanks and similar containers. |  |  | If yes, see Table 1, Section 1. |
| 8.8 Are any materials or products handled or stored on roads or railways owned or maintained by the facility. Are any by-products being land applied at this facility? | Examples: stockpiles of materials, land applied by-product. |  |  | If yes, see Table 1, Sections 1 and 11. |
| 8.9 Are there any open, unplugged, uncovered, or deteriorating dumpsters at this facility? | Examples: dumpsters, bins, or roll-offs that contain sawdust, spent equipment, scrap metal/metal turnings or any other process waste. Also included are garbage/waste compactors with leaking hydraulic lines, contents of the compactor leaking onto the ground. (this does not include dumpsters which receive office waste or materials not related to the industrial activities). A rusted out dumpster constitutes deterioration. Covered containers must be permanent and keep out all precipitation. |  |  | If yes, see Table 1, Section 1. |
| 8.10 Does the facility discharge process wastewater without an NPDES/SDS permit? | Examples: land application of wastewater, or industrial wastewater discharge |  |  | If yes, see Table 1, Section 1 and 11. |
| 8.11 Does the facility have roof vents or stacks where there is evidence of visible particulate buildup that come in contact with stormwater? If there are any baghouses at the facility is there any evidence of residual dust on the ground from spillage and transfer of canisters that could come in contact with stormwater? | Examples: Bag-house dust, smokestack residue, where the materials have fallen on the ground. Evidence of buildup can include rusting of vents, discoloration, or residual dusts. It includes particulate matter or visible deposits of residuals from roof stacks and/or vents regardless if facility has air permit. |  |  | If yes, see Table 1, Section 1. |

Inspector comments/corrective actions:

Table 1: Violation Groups

Section 1:  Minn. R. 7090.3010, subp. 1, Permit required: an industrial stormwater permit is required for industrial activity.

Section 2:  MNR05. Part II A. Application Deadlines: An Owner/Operator of a facility that has a stormwater discharge associated with industrial activity for any primary SIC code, and/or narrative activities and co-located industrial activities regulated under 40 CFR § 122.26(b)(14) (i)-(xi), except (x), as summarized in Table 5 of Appendix D, must apply to obtain authorization under this permit or a separate NPDES/SDS permit. Prior to application for this permit, a SWPPP that meets the requirements of Part IV must be completed.

Minn. R. 7090.3040, Industrial Activity Minimum Requirements. subpart 1., Stormwater pollution prevention plan required.

Owners or operators of industrial activities required to have an industrial stormwater permit under part Minn. R. 7090.3010 (found on the Office of the Revisor of Status webpage at: https://www.revisor.mn.gov/rules?id=7090.3010), subpart 1, must complete a stormwater pollution prevention plan before submitting a permit application.

Section 3: MNR05. Part IV, B.2.a Stormwater Pollution Prevention Plan (SWPPP); Specific SWPPP Requirements; Facility Description. The SWPPP shall include: A narrative description of the industrial activities conducted at the facility.

MNR05. Part IV, B.2.a Stormwater Pollution Prevention Plan (SWPPP); Specific SWPPP Requirements; A General SWPPP Requirements; Facility Map(s): A SWPPP shall be developed, implemented, and maintained for each facility authorized by this permit.

MNR05. Part IV, B.3.c., e., f., g., h., and i. Stormwater Pollution Prevention Plan (SWPPP);

- Location in relation to surface waters.

- Location of impervious surfaces within the facility.

- Directions of stormwater flow indicated arrows.

- Location of all activities and materials identified in Part IV.B.4.

- Location of all structural BMPs.

- Location of impaired waters within one mile of monitoring location.

- Location of any waters described in Appendix A, if waters receive industrial stormwater

- Location of all storm sewer inlets.

- Location of all loading dock drains, including those that connect to storm sewer.

- Location of each benchmark monitoring location.

- Location of each effluent monitoring location.

- Location of any non-stormwater discharges.

MNR05. Part IV, B.4 Stormwater Pollution Prevention Plan (SWPPP); Specific SWPPP Requirements; Facility Assessment of Activities and Materials;

Assessment of Activities: The facility SWPPP shall include an assessment and inventory/list of activities that can potentially be sources of pollutants to stormwater discharges associated with industrial activity.

Assessment of Materials and Associated Pollutants: The SWPPP shall include documentation of an assessment and inventory/list of materials handled or stored at the facility that can potentially be a source of pollutants to stormwater discharges associated with industrial activity. The assessment shall also include pollutant constituents (e.g., crankcase oil, zinc, sulfuric acid, cleaning solvents, etc.) associated with each type of material identified below.

- Raw materials

- Intermediate products.

- By-products.

- Final products.

- Waste products.

Section 4:  MNR05. Part III, Stormwater Control Measures: The Permittee shall design and implement BMPs for each stormwater control measure outlined below. All stormwater control measures, including BMPs, shall be designed and implemented to eliminate or reduce contact or exposure of pollutants to stormwater or remove pollutants from stormwater prior to discharge from the facility.

MNR05. Part III, G.1, Stormwater Control Measures; Maintenance Requirements; BMP Maintenance: The Permittee shall maintain all stormwater BMPs identified in the SWPPP and implemented at the facility, to ensure BMP effectiveness.

MNR05. Part III, F.1, Stormwater Control Measures; Facility Inspection Requirements: Unless Part III.F.2 applies, the Permittee shall develop and implement an inspection schedule that includes a minimum of one (1) facility inspection per calendar month that the facility is active and staffed. A minimum of one (1) inspection per calendar year shall be conducted during a runoff event.

MNR05. Part III, F.3.a, Stormwater Control Measures; All facility inspections shall include the following:

An evaluation of the facility to determine that the SWPPP accurately reflects site conditions as described in Part IV.B.1-4. At a minimum, the Permittee shall inspect storage tank areas, waste disposal areas, maintenance areas, loading/unloading areas, and raw material, intermediate product, by-product and final product storage areas.

An evaluation of all structural and non-structural BMPs to determine effectiveness and proper function.

MNR05. Part III.F.4: All inspections shall be documented…shall be stored with the SWPPP.

MNR05. Part III, G.1.b, Stormwater Control Measures; Maintenance Requirements; BMP Maintenance: If the Permittee identifies BMPs that are not functioning properly, the Permittee shall replace, maintain, or repair the BMPs within seven (7) calendar days of discovery. If BMP replacement, maintenance, or repair cannot be completed within seven (7) calendar days, the Permittee shall implement effective backup BMPs (temporary or permanent) until effectiveness of the original BMPs can be restored.

MNR05. Part III, K, Stormwater Control Measures; Employee Training Program: The Permittee shall develop and implement a training program for employees. Training shall cover stormwater control measures, components and goals of the SWPPP, monitoring procedures, and other applicable requirements of the permit. The program shall include a training schedule that includes training at least annually. A record of the trainer’s name and trainer’s organization (internal or external), and the names of trained individual(s) and dates that the individual(s) received training must be maintained, either in the SWPPP or in a separate record stored with the SWPPP. Training shall be commensurate with the job function of the employee.

Section 5:  MNR05. PART V.A. Benchmark Monitoring Requirements: The Permittee shall monitor each benchmark monitoring location for all benchmark parameters specified for the facility’s primary SIC code and/or narrative activity and any co-located industrial activity as outlined in Part VII, unless exempted by Part V.B.6.

An exceedance of an applicable benchmark value does not constitute a violation under this permit. However, the Permittee is required to perform any necessary corrective action(s) to address stormwater control measures, including the maintenance or implementation of BMPs, when an exceedance of an applicable benchmark value occurs.

Failure to respond to benchmark value exceedances is a violation of the permit.

Section 6:  PART VI. Effluent Monitoring Requirements

- Any Permittee that conducts the activities listed in Table 3 below and that has surface water discharges shall comply with the effluent limitations prescribed in the sector specific requirements of Part VII. The Permittee shall identify an effluent monitoring location any place at the facility where industrial activity with an effluent limit occurs. The Permittee shall monitor each effluent monitoring location identified in the SWPPP, in accordance with the procedures outlined in Part VI.B.

- Part VI. Effluent Limit Exceedances: If sampling by the Permittee indicates a violation of any effluent limitation specified in this permit, the Permittee shall immediately make every effort to verify the violation by collecting additional samples; if appropriate, investigate the cause of the violation and take action to prevent future violations.

Section 7: Waters of the State (WOS) definition: all streams, lakes, ponds, marshes, watercourses, waterways, wells, springs, reservoirs, aquifers, irrigation systems, drainage systems and all other bodies or accumulations of water, surface or underground, natural or artificial, public or private, which are contained within, flow through, or border upon the state or any portion thereof.

Section 8:  Minn. R. Ch. 7050.0210, Subpart 2. Nuisance conditions prohibited: the presence of significant amounts of floating solids, scum, visible oil film, excessive suspended solids, material discoloration, obnoxious odors, gas ebullition, deleterious sludge deposits, undesirable slimes or fungus growths, aquatic habitat degradation, excessive growths of aquatic plants, or other offensive or harmful effects.

Minn. R. Ch. 7050.0210, Subpart 13. Pollution prohibited: No sewage, industrial waste, or other wastes shall be discharged from either a point or a nonpoint source into the waters of the state in such quantity or in such manner alone or in combination with other substances as to cause pollution as defined by law.

Section 9:  Minn. R. 7060.0600, Subpart 2. Prohibition against discharge into unsaturated zone: No sewage, industrial waste, other waste, or other pollutants shall be allowed to be discharged to the unsaturated zone or deposited in such place, manner, or quantity that the effluent or residue there from, upon reaching the water table, may actually or potentially preclude or limit the use of the underground waters as a potable water supply, nor shall any such discharge or deposit be allowed which may pollute the underground waters.

Section 10:  Minn. Stat. § 115.061, Duty To Notify And Avoid Water Pollution: (a) Except as provided in paragraph (b), it is the duty of every person to notify the agency immediately of the discharge, accidental or otherwise, of any substance or material under its control which, if not recovered, may cause pollution of waters of the state, and the responsible person shall recover as rapidly and as thoroughly as possible such substance or material and take immediately such other action as may be reasonably possible to minimize or abate pollution of waters of the state caused thereby.

Section 11:  Minn. R. 7001.1030, Subpart 1, Permit required: no person may discharge a pollutant from a point source into the waters of the state without obtaining a National Pollutant Discharge Elimination System permit from the agency.

Minn. R. 7001.0030, Permit Required: No person required by statute or rule to obtain a permit may construct, install, modify, or operate the facility to be permitted, nor shall a person commence an activity for which a permit is required by statute or rule until the agency has issued a written permit for the facility or activity.

Minn. Stat. § 115.07, Subdivision 1, Obtain permit: It shall be unlawful for any person to construct, install or operate a disposal system, or any part thereof, until plans therefore shall have been submitted to the agency unless the agency shall have waived the submission thereof to it and a written permit therefore shall have been granted by the agency.

Table 2

Section 1:  MNR05. Part VII. Sector-Specific Requirements. The Permittee shall comply with Part VII (sector-specific requirements) for any primary SIC code and/or narrative activity and co-located industrial activities as defined in Appendix E of this permit. The sector-specific requirements apply to those areas of the Permittee’s facility where those sector-specific activities occur. These sector-specific requirements are in addition to requirements specified elsewhere in this permit.

Section 2:  MNR05. Part IV.A.5:  The Permittee shall incorporate into the SWPPP, a section specific to any mobile industrial activities conducted away from the permitted facility. The section shall address each stormwater control measure required by Part III of the permit, and requirements in Part VII, 1-6 of all applicable sectors. The Permittee shall ensure a copy of this section of the SWPPP is kept at the location where the mobile industrial activity occurs.

MNR05. Part IV. B.7.a.9:  If applicable, a summary of all mobile industrial activities conducted by the facility. At a minimum, the summary shall include a description (including SIC code and/or narrative activity), locations where the mobile industrial activity occurred (including latitude and longitude coordinates), and length of time the mobile industrial activity operated at each location.

Section 3:  MNR05. Part III.J:  Mercury Minimization Plan:  The Permittee shall evaluate the facility to determine if any sources containing mercury are exposed to stormwater. Any time mercury sources or devices are found to be exposed to stormwater, a Mercury Minimization Plan shall be developed that describes how mercury sources will be managed at the site to eliminate exposure to precipitation and stormwater runoff. To the extent feasible, mercury sources and devices shall be removed from stormwater exposure and managed in accordance with Minn. R. 7045, Hazardous Waste, and any additional applicable state and federal rules.

Section 4:  MNR05. Part V.B.6:  Benchmark Monitoring Waivers

- General Benchmark Monitoring Waiver

Unless precluded by Part VII of the permit, the Permittee is not required to conduct benchmark monitoring in accordance with Part V of this permit if the Permittee documents in the facility’s SWPPP, and the appropriate sections of a Stormwater Monitoring Report submitted to the Agency (a Stormwater Monitoring Report may be submitted at any time for this purpose), that one or more of the following options is being met at the facility or a portion of the facility.

b.	Run-On Demonstration Waiver

If the average concentration of any benchmark parameter(s) sampled over the course of a sampling year shows that an applicable benchmark value has been exceeded at a specific benchmark monitoring location, and the Permittee believes that drainage onto the site from up-gradient sources (run-on) may have significantly contributed to or caused the benchmark value exceedance, the Permittee can discontinue monitoring for that pollutant parameter if terms and conditions of this part are met. To qualify for this waiver, the Permittee shall demonstrate that the average of all samples taken of a specific pollutant parameter of the run-on is significantly contributing to, and causing, the pollutant parameter exceedance at the benchmark monitoring location. At a minimum, the Permittee must conduct the following activities to complete the demonstration.

c.	Natural Background Pollutant Waiver

If during the course of benchmark monitoring the average concentration of a benchmark parameter exceeds a benchmark value, and the Permittee demonstrates to the Agency that the exceedance of the benchmark value is attributable to the presence of that pollutant in the natural background (pollutants from former site operations or run-on are not natural background), the Permittee is not required to perform corrective actions or additional benchmark monitoring of that benchmark parameter.

Table 3: Corrective Actions

Section 1:  Within 30 days of receipt of this checklist, submit an Industrial Stormwater (ISW) Multi-Sector General Permit application to obtain an ISW permit, or certify “No Exposure” on the submitted ISW application.

Section 2:  Within 30 days of receipt of this checklist, the Regulated party shall develop or update a Stormwater Pollution Prevention Plan (SWPPP) and implement the SWPPP. Submit a copy of the SWPPP to the MPCA.

Section 3:  Within 30 days of receipt of this checklist, the Regulated Party shall ensure narrative descriptions of all industrial activities are included in its SWPPP.

Section 4: Within 30 days of receipt of this checklist, submit a map that includes items a-i below:

- Location in relation to surface waters

- Location of impervious surfaces within the facility

- Directions of stormwater flow indicated arrows.

- Location of all activities and materials identified in Part IV.B.4

- Location of BMPs. Location of all activities and materials identified in Part IV.B.4

- Location of impaired waters within one mile of monitoring location

- Location of any waters described in Appendix A, if waters receive industrial stormwater

- Location of all storm sewer inlets

- Location of all loading dock drains, including those that connect to storm sewer.

Section 5:  Within 30 days of receipt of this checklist, the Regulated Party shall incorporate in its SWPPP, a list of all significant materials and a description of the pollutants contributed by each significant material.

Section 6:  Within 30 days of receipt of this checklist, the Regulated Party shall implement BMPs that will reduce or eliminate exposure of pollutants from its stormwater. Submit a report to the MPCA that confirms this corrective action has been completed (include photographs where applicable).

Section 7:  Within 30 days of receipt of this checklist, the Regulated Party shall develop and implement procedures that will ensure BMPs are maintained in a timely manner (replace, maintain, or repair the BMPs within seven (7) calendar days of discovery) and adequately treating discharges.

Section 8:  Within 30 days of receipt of this checklist, the Regulated Party shall submit a report to the MPCA that details what steps (including inspection frequency and identifying components of inspection) the Regulated Party will take to ensure it conducts inspections in accordance with its ISW permit.

Section 9:  Within 30 days of receipt of this checklist, the Regulated Party shall provide training to all employees and contractors that work in area covered by its ISW permit. This training must include all aspects of the SWPPP.

Section 10:  Within 30 days of receipt of this checklist, the Regulated Party shall submit a report to the MPCA that details what steps it will take ensure benchmark monitoring is conducted in accordance with its ISW permit.

Section 11:  Within 30 days of receipt of this checklist, the Regulated Party shall submit a report to the MPCA that details what steps it will take to ensure it take corrective action in response to monitoring results when an exceedance of an applicable benchmark value occurs.

Section 11:  Within 30 days of receipt of this checklist, the Regulated Party shall immediately implement control measures to prevent the discharge of non-stormwater to the saturated zone, surface water, or infiltration to possible groundwater. Submit a report to the MPCA that confirms this corrective action has been completed (including photographs where applicable).

Section 12:  Within 30 days of receipt of this checklist, the Regulated Party shall immediately implement measures to stop pollutants from industrial activity from entering WOS. Submit a report to the MPCA that confirms this corrective action has been completed (including photographs where applicable).

Section 13:  Within 30 days of receipt of this checklist, the Regulated Party shall submit a plan to the MPCA that details (where possible) how it will conduct an evaluation to determine the extent of pollution it caused to the unsaturated zone, WOS (including groundwater).Section 14:  Within 30 days of receipt of this checklist, the Regulated Party shall submit a plan to the MPCA that details (where possible) how it will remediate the pollution or nuisance conditions it caused to the unsaturated zone, WOS (including groundwater).

Section 15:  Within 30 days of receipt of this checklist, the Regulated Party shall submit a report to the MPCA that details what steps it will take ensure it complies with the requirement of Minn. Stat.§ 115.061 Duty To Notify And Avoid Water Pollution.

Immediately notify the MPCA; rapidly and as thoroughly as possible recover discharge material; and take immediate action to minimize and abate pollution of waters of the state.

Section 16:  Within 30 days of receipt of this checklist, the Regulated Party shall take immediate measures to eliminate all discharges of industrial waste and other industrial non-stormwaters to WOS. Submit a report to the MPCA that confirms the Regulated Party has completed this corrective action (include photographs where applicable)

Section 17:  Within 30 days of receipt of this checklist, the Regulated Party shall submit the appropriate plans and specifications and permit application for its disposal system. The Regulated Party must receive a written permit prior to commencing operations of its disposal system. This corrective action only needs to be completed if the Regulated Party intends to discharge industrial waste or other industrial non-stormwater to the land or WOS.

Section 18:  Within 30 days of receipt of this checklist, submit an Industrial Stormwater (ISW) Multi-Sector General Permit application to obtain an ISW permit, or implement measures that would allow for “No Exposure” Certification” and submit an ISW application that certifies “No Exposure”. Also, submit a report to the MPCA that confirms this corrective action has been completed (including photographs where applicable).

Appendix A:  SWPPP Checklist

|  | General SWPPP Requirements | Permit Reference | Yes | No |
| --- | --- | --- | --- | --- |
| 1.0 | Have all individuals responsible for managing, implementing, maintaining, modifying, and ensuring compliance with the SWPPP been identified? | Part IV.A.4. |  |  |
| 2.0 | If applicable, has a section been included in your SWPPP for mobile industrial activities? | Part IV.A.5. |  |  |
|  | General SWPPP Requirements | Permit Reference | Yes | No |
| 3.0 | Have all applicable sector-specific requirements outlined in Part VII of the permit been included in the SWPPP? | Part IV.A.6. |  |  |
| 4.0 | Have all personnel been listed who are trained to conduct facility inspections? | Part IV.A.7. |  |  |
| 5.0 | Have all inspections been recorded and are attached with the SWPPP? | Part IV.A.8. |  |  |
| 6.0 | Has all BMP maintenance been recorded in the SWPPP? | Part IV.A.9. |  |  |
| 7.0 | Has all documentation about the elimination of unauthorized discharges been included in the SWPPP? | Part IV.A.10. |  |  |
| 8.0 | Has spill response procedure been included or attached to the SWPPP? | Part IV.A.11. |  |  |
| 9.0 | If applicable, has a Mercury Minimization Plan been attached or included in the SWPPP? | Part IV.A.12. |  |  |
| 10.0 | Has all information about employee training program been attached or included in the SWPPP? | Part IV.A.13. |  |  |
|  | Specific SWPPP Requirements | Permit Reference | Yes | No |
| 11.0 | Have all BMPs used to comply with Part III of the permit been listed and described in the SWPPP including both structural and non-structural? | Part IV.B.1.a. and b. |  |  |
| 12.0 | Has the SWPPP included a facility description? | Part IV.B.2. |  |  |
| 12.1 | Does the facility description include narrative explanation of industrial activities? | Part IV.B.2.a. |  |  |
| 12.2 | Total facility acreage? | Part IV.B.2.b. |  |  |
| 12.3 | A calculation of new or expanded industrial activity since January 1, 1988? | Part IV.B.2.c. |  |  |
| 13.0 | Have you created a facility map? | Part IV.B.3. |  |  |
| 13.1 | Does it include location of the facility in relation to surface waters? | Part IV.B.3.a |  |  |
| 13.2 | Impervious surfaces within facility boundary? | Part IV.B.3.b. |  |  |
| 13.3 | Direction of stormwater flow? | Part IV.B.3.c. |  |  |
| 13.4 | Location of all activities and material? | Part IV.B.3.d. |  |  |
| 13.5 | Location of all structural BMPs? | Part IV.B.3.e. |  |  |
| 13.6 | Location of all impaired waters within a mile, including name and impairment? | Part IV.B.3.f. |  |  |
| 13.7 | Location of all Appendix A waters within a mile of a monitoring location and which flow to the Appendix A water? | Part IV.B.3.g. |  |  |
| 13.8 | Location of stormwater sewer inlets? | Part IV.B.3.h. |  |  |
| 13.9 | Location of all loading docks? | Part IV.B.3.i. |  |  |
| 13.10 | Location of all Benchmark Monitoring Locations? Numbering each as BML01, BML02, etc., Including labeling of those within a mile of impaired water? | Part IV.B.3.j. |  |  |
| 13.11 | Location of all Effluent Monitoring Locations? Numbering of each as EML01, EML02, etc. | Part IV.B.3.k. |  |  |
| 13.12 | Location of all non-stormwater discharges and description? | Part IV.B.3.l. |  |  |
| 14.0 | Has an assessment been made and have industrial activities and significant materials been inventoried and listed with potential pollutants sources from these materials and activities? | Part IV.B.4.a. and b. |  |  |
| 15.0 | Have all SWPPP modifications been noted and listed? | Part IV.B.5. |  |  |