|  | Industrial Stormwater Pollution Prevention Plan Checklist NPDES/SDS Industrial Stormwater Permit Doc Type: Permitting Checklist |
| --- | --- |

## Purpose:  A Stormwater Pollution Prevention Plan (SWPPP) must be written before a facility can apply for and receive an industrial stormwater permit. Use this checklist to make sure a completed SWPPP contains the required information. A template for creating a SWPPP is available on the Minnesota Pollution Control Agency (MPCA) website at http://www.pca.state.mn.us/8393q9y.

| SWPPP template section | SWPPP requirements | Part of permit with more info | Yes | No | N/A |
| --- | --- | --- | --- | --- | --- |
|  | The SWPPP was completed before the permit application was submitted to the MPCA. | Part IV.A.2 |  |  |  |
|  | The SWPPP is kept at the facility and can be made available for review within three days of a request. | Part IV.B.6 |  |  |  |
| 1 | Individuals responsible for managing, implementing, maintaining, modifying and ensuring compliance with the SWPPP are identified. | Part IV.A.4 |  |  |  |
| 1 | Personnel who are trained to conduct facility inspections are listed. | Part IV.A.7 |  |  |  |
| 2 | There is a place to record updates to the SWPPP. | Part IV.B.5 |  |  |  |
| 3 | Facility description includes a description of facility activities, total acreage and acreage of industrial activities and materials. | Part IV.B.2 |  |  |  |
| 5 | Industry-specific requirements listed in Part VII of the permit have been included. | Part IV.A.6 and Part VII |  |  |  |
| 6 | Activities and materials that could come in contact with stormwater have been inventoried; possible pollutants are documented. | Part IV.B.4 |  |  |  |
| 6 | Ways to reduce or eliminate stormwater pollution from the facility have been identified and are described. | Part IV.B.1 |  |  |  |
| 7 | There is a place to record inspections or attach completed inspection forms. | Part IV.A.8 |  |  |  |
| 8 | There is a place to record maintenance of stormwater management methods. | Part IV.A.9 |  |  |  |
| 9 | Elimination of unauthorized discharges is documented. | Part IV.A.10 |  |  |  |
| 10 | A spill response procedure is included or attached. | Part IV.A.11 |  |  |  |
| 11 | Information about the employee training program is included or attached. | Part IV.A.13 |  |  |  |
| 12 | If applicable: Mercury Minimization Plan is included or attached. | Part IV.A.12 |  |  |  |
| 13 | If applicable: Section for mobile industrial activities is included and kept at the mobile locations. | Part IV.A.5 |  |  |  |
| Section 4 | Facility map is included. | Part IV.B.3.a |  |  |  |
|  | Impervious areas on the property are shown. | Part IV.B.3.b |  |  |  |
|  | Storm sewer inlets are shown. | Part IV.B.3.h |  |  |  |
|  | Loading dock drains are shown. | Part IV.B.3.i |  |  |  |
|  | Stormwater flow directions are indicated by arrows. | Part IV.B.3.c |  |  |  |
|  | Non-stormwater discharges are identified and locations shown. | Part IV.B.3.l |  |  |  |
|  | Locations of industrial activities and materials are shown. | Part IV.B.3.d |  |  |  |
|  | Locations of structural management methods are shown. | Part IV.B.3.e |  |  |  |
|  | Surface water body that receives the facility’s stormwater discharges is identified. An arrow is placed in the direction of the water and the name is identified if the receiving water is beyond the scale of the map. | Part IV.B.3.a |  |  |  |

| SWPPP template section | SWPPP requirements | Part of permit with more info | Yes | No | N/A |
| --- | --- | --- | --- | --- | --- |
| Section 4 | Benchmark monitoring locations are named and labeled. | Part IV.B.3.j |  |  |  |
|  | If applicable: Benchmark monitoring locations within a mile of impaired water are identified. | Part IV.B.3.j |  |  |  |
|  | If applicable: Effluent monitoring locations are named and labeled. | Part IV.B.3.k |  |  |  |
|  | If applicable: Effluent monitoring locations within a mile of impaired water are identified. | Part IV.B.3.k |  |  |  |
|  | If applicable: Impaired waters within a mile of the facility are labeled and the impairment is identified. | Part IV.B.3.g |  |  |  |
|  | If applicable: Appendix A waters within a mile of a monitoring location are labeled. | Part IV.B.3.k |  |  |  |