| <Insert Logo/address here> | Operating Permit Subsurface Sewage Treatment System (SSTS) Operating Permit No. XX |
| --- | --- |

| Double-click on checkbox, then under Default value, click “checked: | Strike one: |  | Strike two: |  | Strike three: |  |
| --- | --- | --- | --- | --- | --- | --- |

According to compliance criteria for existing systems (Minn. R. 7080.1500, subp. 4.C and Minn. R. 7081.0080, subp. 6) a subsurface sewage treatment system (SSTS) must be operated, meet performance standards, and be managed according to this operating permit in order to be compliant. Failure to renew this operating permit and failure to comply with permit conditions are violations. The system must be retested within 30 days of the notice of noncompliance, unless a compliance plan is submitted to and approved by the Local Unit of Government (LGU). The period of noncompliance begins at the date of the initial noncompliant test. Therefore, the homeowner must take immediate measures to minimize emissions without waiting for the formal notification from the LGU.

## Facility information

| Permittee name: |  |  |  |  |  |  |  | Phone number: |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Mailing address: |  |  |  |  |  |  |  |  |  |  |  |  |
| City: |  |  |  |  | State: |  |  |  | Zip code: |  |  |  |
| Property ID number: |  |  |  |  |  |  |  |  |  |  |  |  |
| Site address (if different than above): |  |  |  |  |  |  |  |  |  |  |  |  |
| City: |  |  |  |  | State: |  |  |  | Zip code: |  |  |  |

|  | authorizes the Permittee to operate an SSTS at the address named above in |
| --- | --- |
| accordance with the requirements of this operating permit. |  |

| Issuance date (mm/dd/yyyy): |  |  |  |  |  |  | Expiration date (mm/dd/yyyy): |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| System type: |  |  |  | Treatment level: |  |  |  |  |  |
| System design flow: |  |  |  |  | Residential/Other Establishment: |  |  |  |  |
| System components: |  |  |  |  |  |  |  |  |  |

## Monitoring protocol

Any sampling and laboratory testing procedures shall be performed in accordance with the proprietary treatment product’s protocol, standard methods, and at a Minnesota Department of Health approved laboratory. Results shall be submitted to the permitting authority at: (Fill in this field with the name and address of the LGU) and to the treatment product manufacturer at least 60 days prior to the permit’s expiration date.

## Monitoring requirements

| ## Parameter | ## Effluent limits | ## Sample Ranges | ## Frequency | ## Location |
| --- | --- | --- | --- | --- |
| ## Design flow (gpd) |  |  |  |  |
| ## Average flow (gpd) |  |  |  |  |
| ## CBOD5 (mg/L) |  |  |  |  |
| ## TSS (mg/L) |  |  |  |  |
| ## Fecal Coliform Bacteria (#/100mL) (UV Light) |  |  |  |  |
| ## Fecal Coliform Bacteria (#/100mL) (Chlorine tablet feeder) |  |  |  |  |
| ## Total Residual Chlorine (TRC) after chlorination tablet feeder, in chlorine contact tank |  |  |  |  |
| ## (TRC) after dechlorination tablet feeder, in pump tank |  |  |  |  |
| ## Oil and Grease (O & G) (mg/L) |  |  |  |  |
| ## Total Nitrogen (mg/L) |  |  |  |  |
| ## Total Phosphorus |  |  |  |  |
| ## Temperature |  |  |  |  |
| ## Dissolved Oxygen |  |  |  |  |
| ## pH |  |  |  |  |
| ## Ponding/Surfacing in soil treatment |  |  |  |  |

## Monitoring requirements comment field

Maintenance Requirements

Maintenance requirements shall be performed as specified in the Management Plan.

| ## System component | ## Maintenance | ## Frequency |
| --- | --- | --- |
| ## Collection system |  |  |
| External grease interceptor |  |  |
| Septic, Pretreatment, and Recirc tank |  |  |
| Effluent screen |  |  |
| Advanced Treatment product |  |  |
| UV light disinfection device |  |  |
| Chlorine disinfection and dechlorination tablet feeder components |  |  |
| Pump tank and controls |  |  |
| Soil treatment and dispersal |  |  |

## Contingency Plan

The first two (2) years of operation after issuance of the operating permit requires quarterly sampling and maintenance by a licensed service provider. If the sampling results during the first two (2) years are compliant with the operating permit requirements, the sampling frequency may be reduced to every six (6) months. The frequency of additional servicing will be determined by the service provider and LGU but shall be no less frequent than every six (6) months. If there are limit violations that occur, the sampling frequency will be increased to monthly until the problem has been addressed and the effluent quality can meet the design standards for three (3) consecutive months. At that time, the frequency can be revised to quarterly or every six (6) months at the LGU’s discretion.

If the average flow in the system exceeds the design flow, the source of the additional flow must be found. If the flow cannot be reduced to design flow, the design of the system must be evaluated and additional capacity may be required in tanks, drainfield square footage or both depending on the amount of excess flow beyond design standards.

One of the goals of this operating permit is to protect surface and ground water. We understand that bad samples can occur, however it is important to keep in mind that if the effluent leaving this system is not treated to the level agreed upon, the system would be a potential risk to the public health, safety, and general welfare from the discharge of inadequately treated sewage to the groundwater. If a bad sample is taken due to outside control (outside contamination, exceeded holding times, wrong sampling locations), there is opportunity to resample the system without a strike against the system. If a component of the system is broken but fixable, or water usage was outside the parameter of the designed system a strike might occur. In the event the SSTS does not meet required performance requirements as contained in this operating permit; the owner shall notify the LGU within 30 days of receiving non-compliance information. The owner is responsible to obtain the services of a Minnesota Pollution Control Agency (MPCA)-licensed Service Provider or other qualified practitioner to complete the required corrective measures to bring the system into compliance. This may require additional sampling and analytical testing at the discretion of the service provider. Re-sampling should be completed within 30 days of receiving the original laboratory results. If the limits cannot be met within 30 days, the sewage will be required to be hauled to a municipal system for disposal until the system can be brought back into compliance. Every system is allowed 3 strikes at the discretion of the LGU before the system would be considered officially noncompliant and subject to a compliance schedule. This might mean a redesign or major alterations at the discretion of the service provider, intermediate/advanced designer and LGU. We only want to replace the system when the system is truly broken. The number of strikes on a system may be removed after 3 years of samples meeting the design standards without resampling.

The permitting authority may approve a mitigation plan for the septic system when notified of or is made aware of noncompliance. Effluent sample results being outside of the effluent limits may result in an issuance of a Notice of Noncompliance. The owner is responsible to obtain the services of a MPCA-licensed Service Provider or other qualified practitioner to complete the required corrective measures.

## Authorization

This permit is effective on the issuance date identified above. This permit and the authorization of the SSTS shall expire in _____ year(s). The Permittee is not authorized to discharge after the expiration date. The Permittee shall submit monitoring information and forms as required by (Fill in this field with the name of the LGU) no later than 60 days prior to the permit’s expiration. This permit is not transferable.

The owner is required to obtain the services of an MPCA-licensed Service Provider to provide ongoing system operation, maintenance, and monitoring. The owner is also required to obtain the services of an MPCA-licensed Maintainer to pump the system’s sewage tanks and components. The owner has secured the services of (Fill in this field with the name of the Service Provider company) as the Service Provider for this system (signed Service Provider contract attached).

For systems that generate high strength waste, the following items should be added to the operating permit: “If there is a change of use within the facility (i.e., change in menu, increase in food capacity, change in water use fixtures, etc.), the permittee is required to notify the LGU and the Service Provider before any change occurs. Changes to the facility that could potentially impact performance of the SSTS shall not take place until appropriate evaluation has been completed and SSTS adjustments have been made.”

I hereby certify with my signature as the Permittee that I understand the provisions of the SSTS operating permit including maintenance and monitoring requirements. I agree to indemnify and hold (Fill in this field with the name of the LGU) harmless from all loss, damages, costs and charges that may be incurred by the use of this system. If I fail to comply with the provisions of this operating permit, I understand that penalties may be issued. If I sell this property during the life of the permit, I will inform the new owner(s) of the permit requirements and the need to renew the operating permit.

| The Operating Permit is hereby granted to: |  |
| --- | --- |

| Permittee (please print): |  |  |  |  |  |  | Permitting Authority (please print): |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Title: |  |  |  | Date: |  |  | Title: |  |  |  | Date: |  |
| Signature: |  |  |  |  |  |  | Signature: |  |  |  |  |  |

| Service Provider (please print): |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| License No.: |  |  |  | Date (mm/dd/yyyy): |  |
| Signature: |  |  |  |  |  |