| <Insert logo/address here> | Temporary Septage Storage Operating Permit Operating Permit No. ____________ Doc Type: Agency Generated |
| --- | --- |

## Facility Information

| Permittee name: |  |  |  |  |  |  |  |  |  | Phone number: |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Business name (if applicable): |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Mailing address: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| City: |  |  |  |  |  |  | State: |  |  |  | Zip code: |  |  |  |
| Facility location: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | authorizes the Permittee to operate a storage facility for the temporary holding of septage |  |  |  |  |  |  |  |  |  |
| at the location identified above, in accordance with the requirements of this operating permit. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Issuance date (mm/dd/yyyy): |  |  |  |  |  |  |  | Expiration date (mm/dd/yyyy): |  |  |  |  |  |  |
| Septage storage capacity: |  |  |  |  |  | gallons |  |  |  |  |  |  |  |  |

## Summary Information

## Operating Permit Conditions

| 1. | The Permitttee is required to maintain a valid SSTS Business License by the Minnesota Pollution Control Agency (MPCA). |
| --- | --- |
| 2. | Only domestic septage pumped and transported by the Permittee is allowed to be temporarily stored at the site. |
| 3. | No freezing of the tanks or its contents is permitted to occur. |
| 4. | No build-up of solids in the tanks is permitted that would prevent the near complete removal of solids from the tanks. |
| 5. | An alarm device must be maintained and periodically tested to determine if it is operational. The owner shall provide a visual inspection of the tank each time septage is transferred from the truck to the holding tank to ensure the tank is never overfilled. |
| 6. | The Permittee shall maintain an accurate inventory record for each day the tanks are used. |
| 7. | All land application practices shall include the liming of septage prior to land application and not before storage in the tanks. |
| 7. | All records shall be made available to County for review upon request. |
| 8. | County has the authority to inspect the temporary septage storage facility and land application site(s) to ensure compliance with the Operating Permit. |
| 9. | Failure to maintain a valid operating permit shall require the tanks to be removed by the Permittee within 60 days upon notification by County. |
| 10. | No spillage, over flow, or subsurface discharge of septage at the facility is permitted. |
| 11. | In the event of a spill, overflow, or suspected or known subsurface discharge, the Permittee is required to promptly notify County at and the MPCA Duty Officer at 800-422-0798 or 651-649-5451 within 24 hours. |
| 12. | The Permittee is required to adequately train employees in facility operations, safety and emergency procedures. |

## Authorization

This operating permit is effective on the issuance date identified above. This permit and the authorization to store domestic septage temporarily shall expire in       year(s). The Permittee is not authorized to continue septage storage after the above date of expiration. This operating permit is not transferable.

I hereby certify with my signature as the Permittee that I understand the provisions of the septage storage facility operating permit. I agree to indemnify and hold       County harmless from all loss, damages, costs and charges that may be incurred by the use of this facility.  If I fail to comply with the provisions of this operating permit, I understand that penalties may be issued.

| The Operating Permit is hereby granted to: |  |
| --- | --- |

| Permittee (please print): |  |  |  |  |  |  | Permitting Authority (please print): |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Title: |  |  |  | Date: |  |  | Title: |  |  |  | Date: |  |
| Signature: |  |  |  |  |  |  | Signature: |  |  |  |  |  |

## Instructions for Completing an Operating Permit for

## Septage Storage with Total Tank Volume up to 50,000 gallons

## The following instructions provide an explanation for local units of government to complete this operating permit template. The template is intended to provide some guidance to local units of governments (LGU) in developing operating permits for the temporary storage of septage in sewage tanks with volumes less than 50,000 gallons (per MPCA’s Program Management Decision, dated January 2012).

LGU Name, Department and Address – fill in the name, department and address of local unit of government at the top of the operating permit.

Operating Permit No. – assign an operating permit number to be able to track the system over the years.

Facility Information

Permittee Name, Business Name, Telephone Number, and Address – fill in the name, address and phone number of the permittee.

Facility Location – these are simply identifiers used by the local unit of government, including an address of the facility. It could include coordinate location.

Issuance Date – fill in the date the operating permit is issued. The operating permit should not be issued until all required information is submitted.

Expiration Date – fill in the date when this operating permit expires.

Septage Storage Capacity – fill in the total sewage tank capacity, in gallons.

Summary Information

Fill in information about the storage facility, such as number of sewage tanks, tank manufacturer, and size of the sewage tanks.

Operating Permit Conditions

There are 12 conditions specified in the operating permit template. The LGU can use these conditions as a starting point and use the conditions that apply.  In the blanks, fill in the name of the LGU. The conditions are meant to help determine what may be appropriate for the facility being permitted.

Authorization

Fill in the length of time of the operating permit; this is typically one to five years. Note that this permit is identified as non-transferable. Fill in the name of the local unit of government; it contains a general indemnification statement.

The Operating Permits Hereby Granted to – print the name of the owner who signed the operating permit.

Signature of Permittee (and date of signature) – the owner signs and dates the operating permit.

By Order of – signature of the permitting authority, title, and date.