## START HERE
Intended Use: This Action Tree is a tool designed to support mercury source identification and reduction in water treated and discharged by a given wastewater treatment facility. The actions identified in this tool can be used to inform and develop a Permittee's Mercury Pollutant Minimization Plan (Plan) and to identify long-term potential solutions a Permittee can apply to eventually meet the underlying mercury water quality standard at Minn. R. 7052.0100, subp. 2-5.
The Plan, in addition to the identification of an interim effluent mercury limit that reflects the Highest Achievable Condition (HAC), is required by the MPCA as one of the conditions to grant a mercury variance under 40 CFR § 131.14(b)(1)(iii). Plans are due to the MPCA within 180 days of final permit issuance and subsequent approval of the mercury variance request.
Any actions identified in this tool will be included in reissued NPDES/SDS permits for facilities with an approved mercury variance. Completing the action tool is not, in and of itself, sufficient to satisfy the terms of a reissued permit or mercury variance.
Questions: If you have any questions regarding the Action Tree or instructions, contact the MPCA variance coordinators by email at WQSvariances.mpca@state.mn.us.
Action Tree for
mercury variance approach
Wastewater Permit Program
Doc Type: Variance Request Forms & Submittals
wq-wwprm2-89a (4/25/25)

## Instructions
Instructions:
Starting in the "Action Tree" tab, work down the list of possible actions or activities that would be possible actions that would allow the Permittee to achieve mercury source and/or treatment reductions. This tool is intended to be used such that the Permittee is able to identify the best mercury reduction options for their community, understanding that not all potential actions will be workable, but there still has to be progress made towards meeting the mercury water quality standard.
Note that some of the listed actions or activities are locked in the spreadsheet and cannot be removed from the list. Some of those activities are required of all Permittees seeking a mercury variance, and each will automatically be included and enforceable in a final NPDES/SDS permit reissuance. The remainder of the actions and activities are selected by default. The MPCA is available to work through the Action Tree with a Permittee, if desired.
Once a Permittee has identified actions and activities that can be taken to reduce mercury, move onto the "Top 5 Sources" tab. In this tab, identify the top five mercury sources in your community. These may be municipal, industrial, commercial sources, residential and/or nonpoint sources. Some communities may have fewer than five sources, while some may have more. The top five list is intended as a start to source identification and as a means to focus reduction efforts. This list may be revised if source contribution identification efforts identify a need to change priority mercury sources.
The "Source Reduction Examples" tab identifies potential source categories contributing mercury to the collection system and a non-exhaustive list of potential actions to be taken by the permittee to reduce contributions from said sources.
The "ReadMe" tab defines and describes each of the components of the Action Tree. Further questions can be directed to variance coordinators at WQSvariances.mpca@state.mn.us.

## Action Tree
City of Grand Marais Mercury Variance Approach Action Tree
|  |  | Anticipated Year(s) of Action - checkmarks will correspond to required documentation for report submittals to MPCA. | [5 empty] | Anticipated Outcome(s) and/or report deliverable | MPCA Comments (post-review)
Permit years
Source Category | funding | Activities (education, outreach, monitoring, ordinances, etc.) | Within 180 Days of Issuance | 1 | 2 | 3 | 4 | 5
Total Facility | Permit | Begin drafting and complete the permit-required Mercury Pollutant Minimization Plan (Plan) | x | [5 empty] | Completed Mercury Pollutant Minimization Plan, submitted for review and approval by MPCA staff. This is a permit requirement.
Total Facility | Sampling | Calculate current mercury load to facility headworks using influent mercury concentration sampling and influent flow sampling, and mercury load in the discharge using effluent mercury concentration sampling and effluent flow sampling. | x | x | x | x | x | x | Identify existing mercury load to the WWTP and in the effluent. Influent and effluent flow and mercury monitoring are permit requirements.
Total Facility | Analysis | Determine total facility load reduction needed to meet final WQBEL. | x | [5 empty] | focus I/I efforts on priority sites for most effective reductions of high flow events.
Total Facility | Permit | Draft and submit annual progress report by January 31st of each year. |  | x | x | x | x | x | This is a permit requirement.
Top 5 | Analysis | Identify top five suspected sources of mercury in the community. This should include an evaluation of potential industrial, municipal, commercial, residential and institutional sources. Consider ways to work with those sources to propose a control strategy to reduce mercury at the source. | x | x |  |  |  |  | gather actual loading data from likely sources. We will need to discuss best way to montior groundwater concenttration and flow.
Top 5 | Analysis | Monitor concentration and flow, then calculate mercury load, for each of the sources identified in the Top 5 inventory. |  | x |  |  |  |  | Gather actual loading data from likely sources. We will need to discuss best way to montior groundwater concenttration and flow.
Top 5 | Implementation | Determine actions that could be taken at each of the sources in inventory. Choose and implement activities from "Source Reduction Examples" tab*. Estimate load reduction anticipated through implementation of each activity. |  | x | x |  |  |  | Determine reduction actions and estimated reductions, if applicable.
Top 5 | Funding | Coordinate with local facilities with high mercury discharge to determine how/if mercury can be reduced (check with MPCA to determine if a MnTAP intern or other resources are available to help). |  |  | x |  |  |  | Explore potential options for funding mercury reduction actions at top sources. If no funding sources are identified, note that in the relevant annual report.
Top 3 | Implementation | Implement specific actions* to reduce mercury at top (3) facilities. |  |  |  | x |  |  | Implement reduction actions as described in the Plan and estimated reductions, if applicable.
Top 3 | Sampling | Monitor concentration and flow, then calculate mercury load, for the top (3) sources identified, following implementation of reduction actions. |  |  |  | x |  |  | Determine if actions had impact on mercury loadings from Top Sources. Analyze results and re-evaluate actions, if applicable.
Top 3 | Analysis | Review need for and/or revise user agreements at top (3) facilities. |  |  |  | x |  |  | Evaluate opportunities through user agreements to improve mercury reductions.
Next 2 | Implementation | Implement specific actions* to reduce mercury at next (2) facilities. |  |  |  |  | x |  | Implement reduction actions as described in the Plan and estimated reductions, if applicable.
Next 2 | Sampling | Monitor concentration and flow, then calculate mercury load, for the next (2) sources identified, following implementation of reduction actions. |  |  |  |  | x |  | Determine if actions had impact on mercury loadings from Top Sources. Analyze results and re-evaluate actions, if applicable.
Next 2 | Analysis | Review need for and/or revise user agreements at next (2) facilities. |  |  |  |  | x |  | Evaluate opportunities through user agreements to improve mercury reductions.
Residential | Education/Outreach | Coordinate with Cook County to continue offering mercury clean sweep events for the community to properly dispose of mercury-containing products |  | x | x | x | x | x | Properly disposing of and recycling mercury-laden products.
Institutional
Residential | Education/Outreach | Develop educational materials to better engage with the community through public service announcements, targeted local ads, etc. to encourage mercury reduction practices. Document distribution and implementation of these actions. |  | x | x | x | x | x | Develop educational mercury reduction materials to share with the public.
Institutional |  |  |  | x | x | x | x | x
Inflow & Infiltration | Permit | Submit an inflow and infiltration (I/I) reduction plan detailing efforts to identify and reduce sources of I/I to the collection and treatment system. | x | [5 empty] | Expect less operational disruptions from high flow events, resulting in decreased mercury effluent concentrations. Development of the plan will help guide permittee decisions to achieve the best flow and mercury reductions.
Inflow & Infiltration | Sampling | Investigate source contribution of I/I into the collection and treatment system. |  | x | x |  |  |  | Determine location and volume of I/I contributions to the system.
Inflow & Infiltration | Analysis | Identify priority locations for I/I reduction and elimination efforts. |  |  | x | x |  |  | Focus I/I efforts on priority sites for most effective reductions of high flow events.
Inflow & Infiltration | Implementation | Execute I/I reduction and elimination plans as funding becomes available. |  |  |  | x | x | x | See actual reduction in operational disruptions from high flow events commensuarate with level of funding received.
Inflow & Infiltration | Funding | Find and apply for funding opportunities to finance I/I reduction and elimination efforts. |  |  | x | x | x |  | Explore potential options for funding I/I efforts to reduce mercury. If no funding sources are identified, note that in the relevant annual report.
Inflow & Infiltration | Implementation | Review existing I/I ordinance. Consider options for monitoring and updates to collection systems by municipal customers; look for ways to fund reduced I/I from private users by inspecting and addressing lateral service lines, sump pumps, and foundation drains, among others. Example: Western Lake Superior Sanitary District's 2017 Ordinance Establishing Standards for Reduction of Inflow and Infiltration. |  |  |  | x |  |  | Expect less operational disruptions from high flow events resulting in decreased mercury effluent concentrations.
Total Facility | Analysis | Evaluate potential correlations between effluent total mercury concentrations with TSS, biosolids, and dissolved mercury concentrations. |  | x | x | x | x | x | Improved understanding of potential areas for treatment train optimization and improvements, like increased solids removal, to reduce effluent mercury concentrations.
Total Facility | Implementation | Investigate potential treatment technologies to remove sufficient mercury to meet the WQBEL. |  | x | x |  |  |  | Determine feasibility of potential treatment technologies to meet the mercury WQBEL.
Total Facility | Implementation | Perform different scale testing of possible treatment options. |  |  | x | x |  |  | Determine feasibility of potential treatment technologies to meet the mercury WQBEL.
Total Facility | Funding | Find and apply for funding opportunities to finance treatment technology upgrades. |  | x | x | x | x | x | Explore potential options for funding treatment technologies that improve mercury reduction to meet the mercury WQBEL.
|  | Total number of annual actions | 5 | 10 | 11 | 13 | 11 | 7
* Specific actions may include implementation of best management practices (BMPs), modifying user agreements, educating users, adapting general permits, and/or updating ordinances. Examples can be found in the next tab "Source Reduction Examples."

## Top 5 Sources
Top 5 sources of mercury
Rank | Name
1
2
3
4
5
Note: the inventory of mercury sources will be different for each community. Some may only have a few - others over 20. The intent here is to provide a place on the individual city's action plan to rank and inventory potential mercury sources. The rank references determine the order of implementing actions in the Action Tree.

## Source Reduction Examples
Top 5 Source Category | Source Category Examples | Permittee Actions | Performance Measure | Goal
Commercial | Medical – hospitals, clinics, nursing homes, veterinarians | · Mail out American Hospital Association (AHA) best management practices (BMP) literature | · Date/content of mailing | Mercury-free wherever practicable.
|  | · Workshops | · Participation/Reduction | Spill management.
|  | · Onsite visits | · Progress, quantity recycled
|  | · BMP requirements | · Adoption/implementation
· Permits
| Dental Clinics | · Mail appropriate BMP literature | · Date/content | Capture and recycle mercury used or generated.
|  | · Meetings with dentists | · Participation | Minimize mercury discharges.
· Onsite visits
· Survey(s)
|  | · Adherence to American Dental Association’s (ADA’s) BMPs (voluntary or mandatory) | · Adoption/implementation
|  | · Mercury recycling (voluntary or mandatory) | · Quantity recycled
|  | · Adoption of removal equipment meeting ISO standards (voluntary or mandatory) | · Adoption/implementation
· Permits
· Adopt dental amalgam separator ordinance
(Note: Certain facilities do not use or generate mercury, some measures may not apply.)
Institutional | Schools – secondary | · Mail BMP literature | · Date/content | Mercury free wherever practicable.
|  | · Workshops | · Participation | Spill management.
|  | · Onsite visits | · Reduction progress
|  | · Permits | · Quantity of mercury recycled
Institutional/ Commercial | Schools – Colleges/Technical, laboratories | · See Medical and School Sectors | · See Medical and School Sectors
Industrial | Other industries and businesses with potential for mercury contributions, such as pulp & paper processing facilities | · Mail chemical/equipment literature | · Reduction progress | Phase out of mercury containing devices and chemicals.
|  | · Onsite visit during pretreatment inspection | · Quantity recycled | Spill management.
· Application of local limits and/or require BMPs for IUs
· Require PMPs in IU permits
Residential | General Public | · Promote mercury clean sweeps | · Date/contents | Reduced use of mercury containing products.
|  | · Displays at community events | · Quantity of mercury recycled | Recycling of mercury products.
|  | · Public service announcements |  | Spill management.
· Outreach at schools
|  | · Establish local mercury website | · Website hits

## ReadMe
This sheet describes each of the components of the Action Tree, and is intended to help those filling it out to better understand the options presented.
Column heading | Description
Source Category | The broadly-defined source of mercury impacting effluent concentrations at the facility in question
Activity Category | The broad classification of the tool or resource that will be used to implement actions
Activities | Specific actions that will be used to reduce mercury contributions to surface water and, subsequently, wastewater effluent
Anticipated year(s) of action | The relative year during which time an activity will be conducted
Anticipated outcomes and/or deliverables | Specific reason and explanation for why a chosen activity is relevant and/or what that activity will result in
Source Category | Description
Total Facility | These are conditions that will be included in the permit and are non-negotiable for Permittees requesting a mercury variance due to economic reasons.
Industrial | Privately-owned, for-profit entities that engage in manufacturing/production
Municipal | Municipally-owned land and facilities, including wastewater treatment plants
Commercial | Retail or other privately-owned, for-profit entities that engage in the direct-to-consumer sale of goods and services
Residential | Domestic use or disposal of mercury-containing products by the general public
Institutional | Schools, churches, or other non-Government entities
Infiltration & Inflow | Water entering the collection system through unintended and/or excessive groundwater and stormwater infiltration & inflow
Top 5 | The five sources that contribute (or could be reasonably assumed to contribute) the most mercury in wastewater treated by the permittee - these could include, but are not limited to industrial, commercial, and/or institutional sources. There may be fewer or more than five sources in a given community.
Top 3 | The three sources that contribute (or could reasonably assumed to contribute) the most mercury in wastewater treated by the permittee
Next 2 | The fourth and fifth sources identified as contributors (or potential contributors) to mercury in wastewater treated by the permittee
Activity Categories | Description
Analysis | Activity requires review of information that could lead to a decrease in the mercury concentration in the effluent
Education/Outreach | Activity requires providing or suggesting educational opportunities or other resources to encourage the pre-treatment/prevention of mercury pollution in water pre-treatment
Implementation | Activities requiring a specific action to reduce mercury in facility effluent
Funding | Activity requires reaching out to PCA staff, MnTAP, or other potential funding mechanisms for assistance with reaching mercury reduction goals
Policy | Activity requires the development and proposal of a city or county ordinance that will lead to mercury reduction
Permit | Activity required by a facility permit
Sampling | Activity requires monitoring and collecting data to inform whether or not actions are working to reduce mercury
Activities | Each row includes a different, unique potential activity that a permittee can support in order to reduce mercury.
Anticipated year(s) of action | Description
180 Days/Immediately Upon Issuance | An "X" in this column indicates that the permittee is responsible for completing this activity, including submitting the deliverable to the MPCA, within 180 days of permit issuance/reissuance
Permit Term | Mercury variances approved for dischargers in the Great Lakes Basin can be no longer than 5 years, generally aligned with the five-year permit term. The permit term is then further divided to indicate the year each action/activity must be completed.
Anticipated outcomes and/or deliverables | Each row includes the specific reason the associated action/activity was chosen and what outcome and/or deliverable of that specific action/activity is expected.