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	CWRF plans and specs submittal checklist
Clean Water Revolving Fund (CWRF) Program
Submissions required for a complete submittal
Minn. R. 7077.0274
Doc Type: Construction Project/Plans and Specifications/Design Checklists


Instructions:  The Plans and Specifications may be submitted via email at ppl.submittals.pca@state.mn.us or to the assigned MPCA Review Engineer.
Plans and specifications, forms, and other required documents must be submitted as separate individual PDF files. Do not combine individual documents into a single file. Email has a limited capacity; you may email a link to a file share site where the documents can be retrieved.
If all the following items are not included, the submittal will be deemed incomplete, and review may not begin until all required submittals are received. See Minn. R. 7077 for more information about submittal requirements: https://www.revisor.mn.gov/rules/7077/ 
Plans cannot be approved and projects cannot be certified until all items have been received and any necessary permits issued. Available forms can be found on the MPCA website at https://www.pca.state.mn.us/water/wastewater-financial-assistance
Facility Information
	Applicant name:
	[bookmark: Text112]     

	Project name:
	     
	PPL Project Number:
	     

	Project Proposer authorized representative:
	     
	Title:
	     

	Email:
	     
	Telephone:
	     

	Technical agent or engineer:
	[bookmark: Text238]     
	Name of firm/ organization:
	[bookmark: Text237]     

	Email:
	     
	Telephone:
	     


Check Yes or No for the following questions:
	Yes
	No
	

	|_|
	|_|
	Are the plans and specifications the final as-bid documents?

	
	
	If no, when will the as-bid documents be submitted?
	[bookmark: Text239]     

	|_|
	|_|
	Have any addenda been issued for the project? If yes, all addenda must be submitted

	|_|
	|_|
	Has a permit application or a permit modification application been submitted for the project?

	
	
	If no, when will the application be submitted?
	[bookmark: Text240]     

	|_|
	|_|
	Will this WW project be constructed in conjunction with a DWSRF project?
Submit cost split sheet calculations for all funding sources in spreadsheet format


Check the boxes below if the items have been included with the submittal:
Minn. R. 7077.0274 Plans and specifications, Contents, subp. 2:
	|_|
	|_|
	A. (1) Plans and specifications signed by a professional engineer registered in Minnesota in the case of wastewater treatment and collection systems. All pages should be signed by the engineer responsible for the design. 

	
	|_|
	A. (2) Plans and specifications signed by a professional engineer or an evaluator/designer in the case of individual sewage treatment systems designed to treat 5,000 gallons or less of wastewater per day.

	[bookmark: Check34]|_| B.	A summary of design parameters for all treatment units.

	|_|
	Include all applicable design review checklists: 
https://www.pca.state.mn.us/business-with-us/engineering-and-technical-information-for-construction-or-expansion 

	|_| C.	A summary of flow conditions for average dry weather, average wet weather, peak hourly wet weather, and peak instantaneous wet weather on a form provided by the agency and, for individual sewage treatment systems, reported as average design flow or maximum design flow.

	
	|_|
	The design flow determination worksheet submitted in the facility plan is still valid.

	
	|_|
	A revised design flow and loading determination worksheet is attached.

	|_|
	D.	Hydraulic profile of the flow through the treatment system. For collection system projects, the plan and profile sheets meet this requirement.

	|_|
	E.	A plan for interim treatment to meet permit requirements during construction.

	|_|
	F.	The latest detailed cost estimate based on the plans and specifications submitted. Individual line items should identify funding program eligibility (CWRF, PSIG, WIF, ineligible items, etc.) and cost split sheet for funding sources if multiple funding sources used.

	|_|
	G.	Administrative, bidding, and contract documents according to the applicable requirements under Minnesota Statutes.

	|_|
	G.	A 100 percent performance bond is required from the contractors.


Minn. R. 7077.0274 Plans and specifications, Additional Submittals, subp. 3 
	|_|
	A. A project schedule on a form provided by the agency.

	|_|
	B. A certification statement from the municipality that full-time resident inspection will be provided during construction.

	|_|
	B. A certification statement from the municipality that written inspection reports, describing the construction inspected, construction problems, and the amount of inspection time required, shall be submitted on a monthly basis.

	|_|
	C. Finalized and executed intermunicipal agreements necessary for the successful implementation and administration of the project.


Minn. R. 7077.0280 Certification submittal requirements, Construction projects, subp. 4 
	|_|
	B. A certification on a form provided by the agency that a sewer use, sewer rate ordinance has been enacted .

	|_|
	C. (ISTS only:) Submit a certification that municipality has enacted and enforcing an ordinance that adopts 
Minn. R. ch. 7080, prohibits discharge from nonresidential structures, and establishes a maintenance plan.


Clean Water Revolving Fund PFA contract requirements
	PFA Contract Packets are on their webpage at:  https://mn.gov/deed/pfa/funds-programs/cleanwaterrevolvingfund.jsp 

	|_|
	|_|
	PFA Contract Packet, includes BABA requirements.

	
	|_|
	PFA Contract Packet, without BABA requirements.

	|_|
	Federal Davis Bacon wages must be PHYSICALLY included in all bidding solicitation and contract documents, including subcontracts.

	|_|
	Minnesota prevailing wages must be PHYSICALLY included in all bidding solicitation and contract documents, including subcontracts.

	|_|
	For PSIG eligible projects, submit line-item cost estimate with eligible components and percentage of eligible component costs.  Include cost percentage calculations.

	|_|
	GPR (Green Project Reserve), submit line-item cost estimate with eligible components and percentages identified.  Submit technical memo detailing how GPR eligible components meet EPA GPR guidance requirements.


Other State/Federal funding 
	Yes
	No
	

	|_|
	|_|
	Is there a State Special Appropriation (SPAP) earmark for this project?

	
	
	Amount of appropriation: $               Date appropriation awarded:      

	|_|
	|_|
	Is there a Federal Congressionally Directed Spending/Community Project Funding (CDS) earmark for this project?

	
	
	Amount of appropriation: $               Date appropriation awarded:      

	|_|
	|_|
	Will this project be constructed in conjunction with a lead service line (LSL) replacement project?

	|_|
	|_|
	Will the primary funding for the project be led by USDA Rural Development?

	If you have not included a required submittal, provide a schedule for when it will be submitted:
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Applicant name :             

Project name:             PPL Project Number:             

Project Proposer   authorized representative:             Title:             

Email:             Telephone:             

Technical agent or engineer:             Name of firm/   organization:             

Email:             Telephone:             

Check Yes or No   for the following questions :  

Yes  No   

  Are the plans and specification s   the final as - bid documents?  

  If no , when will the as - bid documents be submitted?             

  Have any addenda been issued for the project? If yes, all addenda must be submitted  

  Has a permit application or a permit modification application been submitted for the project?  

  If no, when will the application be submitted?             

  Will this WW project be constructed in conjunction with a DWSRF project?   Submit cost split sheet calculations  for all funding sources   in spreadsheet format  

Check the box es   below if the items ha ve   been included with the submittal :   Minn. R. 7077 .0274 Plans and specifications ,  Contents,  sub p. 2 :  

  A.   (1)  P lans and specification s   signed by a professional engineer registered in Minnesota in the case of wastewater  treatment  and collection s ystems . All pages should be signed  by  the engineer responsible for the design .    

 A.   (2)  P lans and specifications signed by a professional engineer or an evaluator/designer in the case of individual  sewage treatment systems designed to treat 5,000 gallons or less of wastewater per day .  

  B.   A   summary of design parameters for all treatment units .  

 Include all applicable design review checklists :     https://www.pca.state.mn.us/business - with - us/engineering - and - technical - information - for - construction - or - expansion    

  C.   A  summary  of flow  conditions for average dry weather, average wet weather, peak hourly wet weather, and peak  instantaneous wet weather on  a form provided by the agency   and, for individual sewage treatment systems, reported as  average design flow or maximum design flow .  

  The design flow determination worksheet submitted in the facility plan is still valid.  

  A revised design flow and loading determination worksheet is attached.  

